## mri_authorised_operator
row_name | intitals | date | competency_comments | observed | supervised | independently | comments | user_id
Topics
Introduction | max | 2023-10-22 | competent | 2023-11-23 | super | free | some comment | 25
Realistic expectations of training | C2KZsMM | 2023-11-22 | fYTgnTM | 2023-11-22 | ah66lHt | 6VpMmgG | ZxY5Gzo | 25
Identify local training supervisor/mentor | 5TQkoaB | 2023-11-22 | GvAHyl0 | 2023-11-22 | 3OsQDyt | aT7OcAH | 2EKO6sv | 25
Understanding the MR process | 8TC52jk | 2023-11-22 | TEJYsoA | 2023-11-22 | r0Ph4yC | m5Pujx0 | sDX6niQ | 25
Safety Information
Know the location of the MRI Quality Documentation | 2hyZZNS | 2023-11-22 | Z4SMS8V | 2023-11-22 | ilq6voA | ejRr5RH | wl7R82w | 25
Read and understood the MRI Quality Management System documentation | N1yjqwy | 2023-11-22 | KvkkfYJ | 2023-11-22 | sSHlo4h | 31z2IrS | gijOZq7 | 25
Know the Location of the MRI Local Rules | V42liaJ | 2023-11-22 | cbjLHEW | 2023-11-22 | ptldZBB | mZCrAhd | GIrkLIJ | 25
Have read and understood the MRI Local Rules | 7PWsmeX | 2023-11-22 | gQAebAZ | 2023-11-22 | y4eXiGA | vdVeAEn | PPnpwSL | 25
Know the Safety procedure for CARDIAC ARREST | gRZpOa7 | 2023-11-22 | 8g5C2Fz | 2023-11-22 | dSiKZFU | 5Gc9gUJ | jWkjtox | 25
Know the Safety procedure for FIRE | BdSsPX5 | 2023-11-22 | pJ7Ztcs | 2023-11-22 | 5j0M79G | 6GIvmzD | hRgUGAu | 25
Know the Safety procedure for contrast reactions | lnbuLbO | 2023-11-22 | YGyPUi5 | 2023-11-22 | O9V3bOa | CnG3Yc8 | ZUTGTcJ | 25
Know the Safety procedure for patients | DAypsAa | 2023-11-22 | V92pVzg | 2023-11-22 | VOPo5i9 | 8LGAbaA | c7DxuLF | 25
Know where the red electrical buttons are located | wMl2XLz | 2023-11-22 | J0z9WYZ | 2023-11-22 | LRp3DpK | EuL3Avh | IAb10lY | 25
Know when to press the electrical buttons as Quality document | oN2zdyZ | 2023-11-22 | 9Dwdnzn | 2023-11-22 | yap8Saj | RFHTytB | RPxYO3U | 25
Know where the magnet stop button is located | yGzD6xb | 2023-11-22 | GfLNSaW | 2023-11-22 | rfFTmcz | VWLb8Y9 | Homt66i | 25
Know when to press the magnet stop button as Quality document | PFwgvyG | 2023-11-22 | wn10VsM | 2023-11-22 | AL1ScwN | UyxDcIH | 7OvybRJ | 25
Understand the oxygen monitor for the MR scan room | 6B0AvxX | 2023-11-22 | uQPboMv | 2023-11-22 | oSVOUpN | PAU8mtM | CeBFyx4 | 25
Know how and where to record safety incidents | PCaIZZG | 2023-11-22 | a7fWfJJ | 2023-11-22 | hAn8DUA | ww9luvr | fLfR38L | 25
Know how and where to record equipment incidents | bRpMwn0 | 2023-11-22 | huo0Lbz | 2023-11-22 | HZydoPC | e8TQ9YR | ITz42pR | 25
Attend MRI safety Talk | 6a3ST8a | 2023-11-22 | voF12BR | 2023-11-22 | hOSlQ5W | FmWq6KL | K43diwD | 25
Tested on MR Safety Talk 100% needed | LbilVjm | 2023-11-22 | cW8Cs3Q | 2023-11-22 | e6nBuOw | fLk4UVX | 5g13Kxy | 25
Tested on MR questionnaires (20 100% correct) | CmcsKX8 | 2023-11-22 | Noc2W5v | 2023-11-22 | 2YTX1dc | GVFa0g6 | LooTnBg | 25
Patient needs during the examination
Preparation of the patient prior to the examination | uJbMqMq | 2023-11-22 | ncm3TqA | 2023-11-22 | o7niBBV | Hncq0VS | rgYr1aq | 25
Aware of the potential difficulties patient encounter | Zb5fa7z | 2023-11-22 | rqFFNGg | 2023-11-22 | Udrtr34 | 5vpC7kl | Hq3X2Gz | 25
The need to treat patients with respect and compassion | 07PZ3au | 2023-11-22 | sUf6NQ1 | 2023-11-22 | KNFRj2r | 236S7kx | sSmUEZR | 25
Patient two-way communication | X8NTUlS | 2023-11-22 | gnY4F2h | 2023-11-22 | ybg582J | e6EkX8g | V7GCM1R | 25
Music | OzpMOhS | 2023-11-22 | wxiOx4m | 2023-11-22 | TV7IcH3 | 9q00SpX | zsyyJnY | 25
Infection Control Issues | 8tgVr89 | 2023-11-22 | h6Z4XGV | 2023-11-22 | CcWP5Ex | 8kQZzfL | 716fgSs | 25
Completion of the patient screening questionnaire | 6naMAO9 | 2023-11-22 | xpzzz1K | 2023-11-22 | 6lYWg65 | sVATRrq | hImZvbL | 25
Dealing/queries regarding the answers to questionnaire | JRmkhrA | 2023-11-22 | 0ju68jI | 2023-11-22 | javdgYg | INJ1whW | kr2msM9 | 25
Manipulating Protocols
Able to find "routine" scanning protocol as required | x0sf5KD | 2023-11-22 | BBCj73N | 2023-11-22 | QKbX3PR | T05018G | DcjgtYM | 25
Able to select protocol manipulation pages | lYpTkhI | 2023-11-22 | RMsuq1g | 2023-11-22 | gqlYGj8 | Y4HYwnA | 4KCSsxN | 25
Able to adapt scanning protocols as appropriate | 4Bv8isN | 2023-11-22 | qeHzuEy | 2023-11-22 | 3cIuMpf | GZM9jCx | voxLesH | 25
Understand how protocol changes affect images | CVJlz8Y | 2023-11-22 | AmVgXpR | 2023-11-22 | wwFcICW | sBOVBUw | 8LGKmfI | 25
Signal to noise ratio and parameter manipulation | NgbDLe7 | 2023-11-22 | 3DT3th0 | 2023-11-22 | GtPYwzp | Zxwech9 | y2McPdp | 25
Able to manipulate scanning parameters as instructed | bnwhjeU | 2023-11-22 | 46bgPAG | 2023-11-22 | zHZdNAt | QtwlYbo | UeR8Km7 | 25
Aware of implications of SAR | Vcv8Spp | 2023-11-22 | SwMmUX9 | 2023-11-22 | WBld607 | ib2aozf | Lfdyge8 | 25
Able to locate and use "shortened " "quick" protocols | EDhGC2L | 2023-11-22 | s2KGMPv | 2023-11-22 | w9sY9NO | UIH8sAe | zUCu6aR | 25
Clear understanding of when to adapt protocols | ogw72Ps | 2023-11-22 | Sh5UGsA | 2023-11-22 | DaaQATh | weoFVlA | xA7o1fE | 25
Understanding the MR process | 8TC52jk | 2023-11-22 | TEJYsoA | 2023-11-22 | r0Ph4yC | m5Pujx0 | sDX6niQ | 25
MR QC
Able to set up daily QA | dsenBRA | 2023-11-22 | lQ3LMCb | 2023-11-22 | x6Zc3WQ | yrdaqNs | jIfbSIH | 25
Able to perform daily QA | CWUNCAZ | 2023-11-22 | FkuM6cC | 2023-11-22 | z6I6mVr | mDWNcrZ | OjL7TY5 | 25
Coils, accessories and positioning
I can identify coils and the examinations for which they are used. | 5bhnVtf | 2023-11-22 | mw8qmHH | 2023-11-22 | 97bPrLC | IjdgYeY | DaAQbfh | 25
I can inspect coils for damage and describe the effects of poor coil handling. | SqcuVTp | 2023-11-22 | LYOF9xP | 2023-11-22 | QjNx9JC | 0TgZYPD | 7pwHWCT | 25
I can connect coils in a manner that prevents damage to the coil, connectors, cable, and tabletop. | 7xWNZoW | 2023-11-22 | NQ7Hgdx | 2023-11-22 | djG3BVt | 1cTBHiK | qS0Tqow | 25
I can position coil cables and infusion lines to prevent injury to the patient during table movement. | k4zGSxK | 2023-11-22 | uWwDlFZ | 2023-11-22 | 1sSUu54 | nxByZkI | AqHXyOx | 25
I can demonstrate the correct positioning of flex coils. | TzK1L9V | 2023-11-22 | iFyrJeN | 2023-11-22 | gfHI9r1 | GY1DY2h | 0Nnvcps | 25
I can demonstrate the incorrect positioning of flex coils. | EXo7eKL | 2023-11-22 | T0kcAML | 2023-11-22 | q0Mb9W3 | 5IqtmNT | Z44MH1y | 25
I can find additional coil information in the Instructions for Use. | v0hTXhh | 2023-11-22 | UZXQHO8 | 2023-11-22 | XZ31MRG | MR87C49 | MxaoVbt | 25
I can safely store coils. | AXgOF6v | 2023-11-22 | pCLJHax | 2023-11-22 | 85XI612 | zJTeqky | l3hVDMv | 25
I can use accessories to:
Prevent skin to bore contact | cOZtj6u | 2023-11-22 | 7smzo1T | 2023-11-22 | WGi44e5 | muDWrGL | i1Th1Xp | 25
Prevent skin to skin contact | JS7PHZ8 | 2023-11-22 | g1lgvVN | 2023-11-22 | Nk8B391 | qeKIwss | lNYC5q7 | 25
Make the patient comfortable. | EomkGR3 | 2023-11-22 | J7J2wQr | 2023-11-22 | fPLx0CR | rgiMrjA | 62YhFjd | 25
Immobilize the patient to reduce movement during the examination. | aOYzbPd | 2023-11-22 | 0vi209e | 2023-11-22 | DJqCs7X | iIB9C37 | yBqpj8m | 25
Hearing protection and nurse call
I can apply hearing protection to the patient | lgvAISt | 2023-11-22 | gKtuDPU | 2023-11-22 | rZw8wpo | GoY210r | E58ojIc | 25
I recognize that passive headphones don’t allow for communication and may cause image artefacts. | xzVGWKb | 2023-11-22 | mJGcZWD | 2023-11-22 | V5Fe3py | 7QBc29m | YYb7MKU | 25
I can securely position the nurse call button and provide instructions to the patient for its use. | ZXsBbcj | 2023-11-22 | bdRtp43 | 2023-11-22 | eh98Nq2 | miPe3te | efRghO9 | 25
With my 1.5T system, I know to use both earplugs and headphones for hearing protection. | OcGcqbj | 2023-11-22 | 7154SER | 2023-11-22 | 2wvmJiW | UW9KP2s | RRLNyjt | 25
Emergency Magnet Stop Button
I can locate the emergency magnet off button. | 2Lsclov | 2023-11-22 | O46L5ip | 2023-11-22 | KdUxeWp | qA5b0LI | hrfCNzG | 25
I can describe the events and potential risks that occur when the emergency shut down is initiated. | 04zCZdK | 2023-11-22 | SLyT4kQ | 2023-11-22 | 7HbRJuw | fWX829q | UjiHE7j | 25
I recognize the asphyxiation and burn dangers associated with release of cryogens that occurs during emergency shut down. | TGJPdrQ | 2023-11-22 | H5J97yY | 2023-11-22 | 73C2O3C | rhfzZsa | CEMpCOJ | 25
I can identify emergencies when the emergency magnet off button is used and not used. | i6eITis | 2023-11-22 | qE0iZgH | 2023-11-22 | aqxOHoI | YNi07GR | rmCZjQl | 25
I recognize that the emergency magnet off button (quench) is used only when there is risk of imminent danger. | 7YQaIEe | 2023-11-22 | BYrElqf | 2023-11-22 | skDSHcb | ozOALru | 3NX0meF | 25