## philips_mri_competencies
row_name | intitals | date | competency_comments | observed | supervised | independently | comments | user_id
Essential Information
Able to turn scanner on from complete shutdown | K9vGPJI | 2023-10-10 | EYuuF7e | 2023-10-10 | qbeB34J | FVA1ZIA | FgaRWQl | 1350
Able to turn scanner on form stand-by-mode | NI2wvpQ | 2023-10-10 | UTU6Ku8 | 2023-10-10 | vGctX5v | 4iO2zqk | AqVl5Si | 1350
Able to turn scanner off by complete shutdown | yTUZuYA | 2023-10-10 | ELpKDyp | 2023-10-10 | hoNvXQF | qyqOCER | Az4dw8t | 1350
Able to turn scanner off into stand-by mode | vaurPim | 2023-10-10 | XnT6m8p | 2023-10-10 | I6wi7L0 | pzGS5so | NFfPcEc | 1350
Able to turn on/off remote consoles | 2EpiOEu | 2023-10-10 | PxD7UdI | 2023-10-10 | eBpMmIQ | ea6emvu | uzYNaIZ | 1350
Understand local data storage issues | yiHT2m0 | 2023-10-10 | bimWSYJ | 2023-10-10 | 3fnMIwJ | vD34qsl | Gg9kTjW | 1350
Know location of protocols on Quality system | D6Wq6YX | 2023-10-10 | 8OFBOp4 | 2023-10-10 | rZDgnJH | R9Bc9Y8 | dXE1st7 | 1350
Able to use patient table | xqHp5ln | 2023-10-10 | 2e69iIt | 2023-10-10 | pbeJFJk | Az5yG5B | 0mhotOz | 1350
Scanner Room
I can use the controls of the User Interface Module (UIM) and tabletop to:
I can manually move the tabletop out of the bore using the tabletop release button. | t6VHCWT | 2023-10-10 | o3De2xq | 2023-10-10 | hHXdQPb | xsCITPx | zGAoSjT | 1350
I can safely use the laser light to center to the anatomy of interest for the examination. | YmFNKkE | 2023-10-10 | yZBzVk1 | 2023-10-10 | rkWk3Lw | JGXokyr | KYTgsQv | 1350
I can move the table to isocenter. | kvY1zHg | 2023-10-10 | Uakx3yR | 2023-10-10 | 2JoCo9F | juDOEIk | 97d8lOK | 1350
I can use the markers on the tabletop to note the extent of table movement. | CpKokzQ | 2023-10-10 | Pc9cHpT | 2023-10-10 | RUw4yLa | bSIPInd | BFSjfSd | 1350
I can state the weight limit for the tabletop. (250kg) | KwteNuW | 2023-10-10 | E18g702 | 2023-10-10 | JuGwi6X | 2BkPXVA | c28UiEc | 1350
I can locate the head set and nurse call connection sockets | 0FhSsxP | 2023-10-10 | jo6r2G0 | 2023-10-10 | ELfbICz | wKIUToM | 505Dkql | 1350
VCG
I can identify VCG components. | xnY0HDx | 2023-10-10 | VUspyfN | 2023-10-10 | QG08owG | CQ7bjsb | JmwkqFa | 1350
I can position the ECG electrodes on the patient. | 090UZM8 | 2023-10-10 | uEbM4EC | 2023-10-10 | 9dpyeF7 | MDFAFNQ | WQgSajr | 1350
I can position the wireless module on the patient. | 5j2Tu2M | 2023-10-10 | if9LVEA | 2023-10-10 | ifioFen | PWi7DdX | lZM9PBF | 1350
I recognize that the VCG is not used for patient monitoring. | aLtehAK | 2023-10-10 | Bgt7klw | 2023-10-10 | 0zdq7E6 | dsWLaxy | 9ZdfPGy | 1350
I can change and charge the battery on VCG module. | S9qLJXX | 2023-10-10 | 0tBgckY | 2023-10-10 | 9LOxDQg | MTvUTkQ | vkWgAnZ | 1350
I can change the wireless network channel used by the VCG. | si41qQF | 2023-10-10 | kzf6wfM | 2023-10-10 | oOWacU0 | brKCQsa | kHvcTUI | 1350
Respiratory sensor
I can identify the components of the respiratory sensor. | jywJWCR | 2023-10-10 | n8GyqIw | 2023-10-10 | mRe2fis | 7oyNg7L | Yvjf7gB | 1350
I can position the respiratory sensor on the patient. | U89jRMe | 2023-10-10 | 7521I4X | 2023-10-10 | JnP3sDe | dU3yHXC | v0Sq7oV | 1350
I can change and charge the battery on respiratory sensor module. | t9GeDMg | 2023-10-10 | V94FPpS | 2023-10-10 | sPEgzsx | Y5AHvzT | JDZnEtk | 1350
I can change the wireless network channel used by the respiratory sensor. | DsTvDG6 | 2023-10-10 | lde668H | 2023-10-10 | ixHN6Wj | pQJX8jV | 6Rnx9e0 | 1350
Technical Room
I recognize that the MR system computer in the technical room controls the gradient amplifiers, magnet cooling system, RF transmitter, and receiver. | RCNyRfn | 2023-10-10 | mcKk6Ws | 2023-10-10 | 7JwpBuK | Esp5v4c | 0Tbu7OJ | 1350
I know how to contact a remote service engineer who can supervise a full system shutdown when it is required and advised by the remote service engineer. | p7X2Nvl | 2023-10-10 | wOlCDlR | 2023-10-10 | POTwZsH | gM6LEID | C1KEHSL | 1350
Operator Room
Helium Level and PIQT
I can locate the helium level display. | H8M9YXm | 2023-10-10 | suZCSHq | 2023-10-10 | vMQfeCb | q7xWye9 | goFo46J | 1350
I can respond to low helium levels message and notify. | PxMLhuw | 2023-10-10 | 0JVDuno | 2023-10-10 | zuS9Oxy | pV9NONm | W1coEHW | 1350
I can follow Periodic Image Quality Testing (PIQT) procedures to perform quality assurance testing. | F7KZPsP | 2023-10-10 | BRhj9TZ | 2023-10-10 | EMEctrE | SWbIA5o | vZI8tf9 | 1350
Communication with Patient
I can use the intercom system to:
I can use the intercom system to communicate with the patient. | HhUkASk | 2023-10-10 | zmMT7PF | 2023-10-10 | a1hCOQE | pYPO7OX | 33jzrGt | 1350
Stop and resume table movement in an emergency | 5hwTR2i | 2023-10-10 | Se7fsB7 | 2023-10-10 | VO3B0g1 | iL2GAKF | VWoNv1j | 1350
Adjust the music volume | zUYeGYW | 2023-10-10 | 67jSbAn | 2023-10-10 | jIyJrj7 | mMFcLr4 | Vq1VPd9 | 1350
Adjust the talk and listen volume | uiSWO1t | 2023-10-10 | PLe9bkI | 2023-10-10 | BuduxN7 | sr3baO3 | aIUbDBV | 1350
Turn the music on and off | OMZm4eV | 2023-10-10 | HNP9R2C | 2023-10-10 | DOW9PyB | 3LMBWKA | GUhHqyb | 1350
View the nurse call light ring | BF94RFP | 2023-10-10 | ywn39RK | 2023-10-10 | uNyzDyq | AdFeoA4 | Tkp8Ln6 | 1350
I can visually monitor the patient during an examination | vjVx6w7 | 2023-10-10 | a9gJ1n2 | 2023-10-10 | VvjDsYd | JaZTByK | H1ng0oG | 1350
I can pause and resume a scan so that I can enter the scan room during the examination. | WDKLhJB | 2023-10-10 | uqwqmXs | 2023-10-10 | 1SRNPd3 | gdzujR1 | wXORr1Z | 1350
Online Help and instructions for use
I can display and navigate the online help. | FFGSjCi | 2023-10-10 | IrdXsf2 | 2023-10-10 | XOR383e | n63koCL | zYpceK2 | 1350
I can access parameter help via the F1 key. | jJ1Lykb | 2023-10-10 | NJHOY87 | 2023-10-10 | 6y7nyml | AqGiiKf | Av2H4vr | 1350
I can find and navigate the Instructions for Use. | TBwImk0 | 2023-10-10 | 1metBDq | 2023-10-10 | gwhXY0x | TzYq3Yl | T9MndGN | 1350
I can find additional information on the info page. | Ym6WHRc | 2023-10-10 | 1N5XKIb | 2023-10-10 | oGKfcH3 | SEAG0dq | 23itxDq | 1350
I can display information about the coils for my system | 4AT9zUD | 2023-10-10 | CMqKcNx | 2023-10-10 | 2ulUUom | ioq07oN | v6ugyjE | 1350
Operator Console
Navigating the interface and using the mouse functions
I can navigate the user interface to:
Enter a new patient | VxWXDhC | 2023-10-10 | AIt78xm | 2023-10-10 | ugenpJf | SVBOvYY | W5WDijD | 1350
View the Exam Card databases | 7puuacP | 2023-10-10 | A4C1YYg | 2023-10-10 | 1dOWKfy | EGWc7eX | xnPa9PD | 1350
View the Scan List | 4lDD2ho | 2023-10-10 | EvPkkfv | 2023-10-10 | YAtJNqH | wiSZHNo | Ni0oqAP | 1350
Review examination images | SCFsMsl | 2023-10-10 | vMsr79B | 2023-10-10 | fTEAMw4 | EtY6AgQ | cnaZyvl | 1350
Switch between list view and thumbnail view | RstjMXf | 2023-10-10 | LWVGfUH | 2023-10-10 | y6OkW5j | ktGP3Lx | 1J4IenE | 1350
I can use the mouse to:
View the shortcut menu (right-click) | sftueWP | 2023-10-10 | esoJpid | 2023-10-10 | iO0HFY5 | kMp3BLq | XCQJ6u2 | 1350
Window the display (middle button) | JmUlmGC | 2023-10-10 | zzS2erR | 2023-10-10 | 1JKEmnr | 4M3DmpH | LsE0Ak7 | 1350
Zoom the display (middle and right button) | BThHd2y | 2023-10-10 | ghL2g0d | 2023-10-10 | OaM1hhQ | q9PE0Z5 | fIuVBBn | 1350
Pan the display (left and middle button) | xgPk3Iz | 2023-10-10 | gnzvvBT | 2023-10-10 | TsEpbCm | 7WPuxmJ | W9GNLrz | 1350
Adjusting patient ventilation control
I can view the patient ventilation control. | 7KkiQmS | 2023-10-10 | zHsLltW | 2023-10-10 | RWpxi5p | whQvTip | bJuERNi | 1350
I can adjust the patient ventilation as needed for patient comfort:
Using controls on the system and console. From the UIM. | r6BxYvp | 2023-10-10 | QGnu29G | 2023-10-10 | BZugytv | SvmPFYK | Z8vw3Jb | 1350
I recognize the recommended patient ventilation level is Level 5. | GSUUrpS | 2023-10-10 | Aw17NgR | 2023-10-10 | e5D5ylq | 7UMsJoS | ZeIZuG8 | 1350
Patient
I can enter a new patient for scanning:
I can enter a new patient for scanning. | LcYnxCT | 2023-10-10 | 3H2Il4b | 2023-10-10 | TJ8WGGK | OrTpYBE | rr6JU4h | 1350
I can select from the RIS, a patient for scanning. (If applicable) | cwMgS6C | 2023-10-10 | kdRr1aH | 2023-10-10 | RwpPL1L | fGvHVkZ | bUnvCqS | 1350
I recognize that the system will scan in Normal SAR mode by default when the Pregnant Yes check box is selected. | dqEhlps | 2023-10-10 | 5I8bYVE | 2023-10-10 | mk50oO5 | TEGTiAe | 1uc6Gj4 | 1350
I can use Scan Wise Implant to safely enter a new patient who has an MR Safe or MR Conditional implant. | 2MCJP0o | 2023-10-10 | mbA3xeh | 2023-10-10 | pzs4QgM | kJucwUa | cohqJqN | 1350
I can navigate the patient tab to:
View the current patient | qK5pVUn | 2023-10-10 | qVjgkfp | 2023-10-10 | DxdwrkG | zgdFn3u | nULeYrs | 1350
Review the previous patient | E4gSsZW | 2023-10-10 | 6lsDnUd | 2023-10-10 | J0TBK4R | Rpj3Amk | yeFtPLO | 1350
Preset protocol database
I recognize the types of Exam Cards and sequences contained in each Exam Card database
Philips preset procedures and Example Cards | xMgE3ea | 2023-10-10 | z49zda3 | 2023-10-10 | vnXV1vn | l3VA9RC | pcNAJzw | 1350
Hospital | WZRhuKW | 2023-10-10 | jwO0ucI | 2023-10-10 | 6BBsB4i | 3qmyWMx | 31sgPHM | 1350
Other | kjD7ZnB | 2023-10-10 | weQN4Lo | 2023-10-10 | 9pTLZkE | EtRfP0s | FwK8pIl | 1350
I can display and navigate the Exam Card database to find an Exam Card or sequence:
I can view sequences in an Exam Card. | SrtmEL4 | 2023-10-10 | jZaIBbn | 2023-10-10 | 2CxbjbM | EmFyvOB | ugrvJWM | 1350
I can add the following to the Scan List:
Exam Card | vdxeCxh | 2023-10-10 | fLbXTsz | 2023-10-10 | U094VmE | mmAgdhK | B0LbdRa | 1350
Example Card (Philips predefined Exam Card) | NGG1vw6 | 2023-10-10 | bJ9IKHq | 2023-10-10 | nOJzXnh | I8pGsB0 | 1QXXP3q | 1350
Scan Protocols
Preset protocol database
I can save an Exam Card to the:
Hospital database | R8bx0zW | 2023-10-10 | z7AsWMk | 2023-10-10 | Gz11mbp | AiFhghe | rXpeghj | 1350
To another database | UAj8inp | 2023-10-10 | qfMpH0f | 2023-10-10 | qFMKOVQ | gi5qCjF | BRnzcYY | 1350
I can use a password to restrict access to the Hospital Exam Card database. | 02aCklz | 2023-10-10 | Ep4xxyB | 2023-10-10 | a5sver6 | 6YyyYOw | dfbLl8B | 1350
I can unlock the Hospital database to save an Exam Card (if needed). | umzIS1M | 2023-10-10 | Cm2f2GD | 2023-10-10 | 3RSRxIG | VavFXUR | Ide1olW | 1350
I can create a new subfolder in the Hospital and Other databases. | RH0cFUk | 2023-10-10 | z9Nc6lt | 2023-10-10 | zgzgR3f | cXev19j | bBLMmiJ | 1350
Scan List
I can view the Exam Card properties. | Q9cNqPg | 2023-10-10 | iaveRfi | 2023-10-10 | TFIq20B | ztUMxM8 | Zfm0YTo | 1350
I can modify the Scan List to:
Change the order of sequences | dQyYiU5 | 2023-10-10 | KDKCHqr | 2023-10-10 | B8uaUbK | pfC47Uw | iRsJRop | 1350
Repeat a sequence | fZM0xtT | 2023-10-10 | IqcWMSO | 2023-10-10 | 74pQf6W | UBxSDko | B7zFGkE | 1350
Copy a sequence | Jn68Nud | 2023-10-10 | nKzrtCd | 2023-10-10 | YdzZQ2B | a3kixrW | JZJNiUu | 1350
Delete a sequence | ENJcuCB | 2023-10-10 | 3x5MXek | 2023-10-10 | DRdJC1d | cQmHfWL | pUu0WLZ | 1350
I can hover the icons and labels on the Exam Card to identify their meaning. | MkBBOMJ | 2023-10-10 | pmbBEqE | 2023-10-10 | BIm6rh8 | JhfYY4d | 2CBaTpr | 1350
I can view the status icons of a sequence to determine if the sequence:
Needs planning | QyhZxAS | 2023-10-10 | 9D8J7XY | 2023-10-10 | NnuiWcB | zvHvsWi | rb6qCqO | 1350
Is ready to run | QuXm1Jn | 2023-10-10 | f2jAUIc | 2023-10-10 | 0Ymc7Yl | KgKGBOt | iLrkO3J | 1350
Is paused | 52aqa1j | 2023-10-10 | muGt92S | 2023-10-10 | QZ7oAAJ | aKPKis2 | WqPjxLD | 1350
Is scanning | em8IQsl | 2023-10-10 | taXe53f | 2023-10-10 | lEzKOrY | xPIV8a6 | btnH8Pg | 1350
Is completed | 94cwHBo | 2023-10-10 | L8BGQZ5 | 2023-10-10 | 7QPUqBp | P6Nv8mH | AC0cqiz | 1350
I can identify high SAR sequences. | pRWsJ8u | 2023-10-10 | A4z5Adh | 2023-10-10 | gx2KkoY | fm1BsK2 | luABTGe | 1350
I can override normal SAR mode when my patient might be pregnant. | RVzfSgh | 2023-10-10 | fAPOr78 | 2023-10-10 | aUZxgnD | Kq4fXa0 | Xo3sdmn | 1350
I can view the SED indicator display to know when the SED level is low, medium, and high. | 3ACuV1X | 2023-10-10 | NORhIkl | 2023-10-10 | Ux4EXnF | DFSvSUr | PidodMh | 1350
Scan List I can:
Save an Exam Card | 9PYxTxw | 2023-10-10 | vGjgZzy | 2023-10-10 | ibnVjPV | daJY0ua | LlBI9Gq | 1350
Rename the Exam Card | DYoFa2A | 2023-10-10 | kepcqJS | 2023-10-10 | z0YYeAw | xUemGyL | Vh0Twil | 1350
Copy the Exam Card | fb4JVBY | 2023-10-10 | HeJOX0J | 2023-10-10 | HfQgzw7 | XUNjVBj | JW7iOVj | 1350
Delete an Exam Card | KnEzUcl | 2023-10-10 | 1RmmoMs | 2023-10-10 | bNVQEGD | YAJ8nXE | u2V51zY | 1350
Planning
Plan a sequence
I recognize that SmartSelect automatically selects the coils used in the examination. | JY8a168 | 2023-10-10 | W9PZnlu | 2023-10-10 | Gk36gEk | iDkm7aN | 9x0zoyY | 1350
I recognize that scans with the same geometry name (GeoName) within an ExamCard have the same:
Number of stacks | ZBMZiLB | 2023-10-10 | OpSzbml | 2023-10-10 | sN0chkX | ixJXSI0 | xufZSVj | 1350
Off-center values for each stack | 4nPEQlO | 2023-10-10 | WF0j6DV | 2023-10-10 | pebaN1l | iWcOpNo | f1gZdiZ | 1350
Angulations for each stack | tiHFXIS | 2023-10-10 | GKIRroC | 2023-10-10 | 05m4Vjc | 1T06ndr | VRkL7ql | 1350
Orientation | xmyWcSl | 2023-10-10 | yqsJm1p | 2023-10-10 | 73SJbT0 | fdfPaCc | Xx7TYc8 | 1350
I can use propagate coverage to plan scans with the same GeoName. | aAk9Cl9 | 2023-10-10 | E1hUVYN | 2023-10-10 | s4HSZ0M | w9IIBFY | 3Pa39Jz | 1350
I can use Propagate Coverage to share FOV, foldover direction, and coverage | U6PfvuL | 2023-10-10 | jF8a6T6 | 2023-10-10 | WKzPQyS | QNi9Yi5 | 8JcGD9j | 1350
I recognize that I should not use Propagate Coverage in a DWI series. | EAeeMvb | 2023-10-10 | umu3YDG | 2023-10-10 | 2ehSj4C | Db0m12R | 6kUEPih | 1350
I can assign the correct GeoName to a scan. | YqYzvmK | 2023-10-10 | 4Nvzfm6 | 2023-10-10 | IT7iCUQ | dUv2XiI | f7nN65B | 1350
I can add, delete, and modify the GeoName of a sequence. | lWZYpHb | 2023-10-10 | AcGXbRj | 2023-10-10 | gcfdSjc | s4sQ159 | MqjbMRF | 1350
I can display and hide the Planscan overlay (volume or the stack(s) of slices, REST slab, shim box, navigator). | lMxDKFB | 2023-10-10 | 6JwHE8L | 2023-10-10 | 3Yu7TaY | y3UQw7E | hWbrVT1 | 1350
I can use the Planscan toolbar and shortcut menu to plan the examination. | HN7kcF2 | 2023-10-10 | 1QLvgcc | 2023-10-10 | h2IGRMp | Kz1dk95 | vkUBJh1 | 1350
I can adjust the:
Slice gap. | Hj6apo5 | 2023-10-10 | h7tJUL2 | 2023-10-10 | 2kuTzpX | MTjx2CV | ZBgnTrH | 1350
Number of slices | y0wJemW | 2023-10-10 | Bw4D3Ow | 2023-10-10 | AXelQ6D | BcAhvHb | vYcEEZ8 | 1350
Field of view (FOV) | GYyuX3L | 2023-10-10 | 3Bkw9Ap | 2023-10-10 | zMq56eA | Ihx45Ot | zfFhBGr | 1350
I can use flexible oversampling to ensure the entire anatomy is covered. | 5TQ49B6 | 2023-10-10 | uR4lafV | 2023-10-10 | hV9m1Wa | lNMdCNb | df41yhQ | 1350
I can display and hide:
Box | lQFG6jC | 2023-10-10 | yJyjACQ | 2023-10-10 | hpofWve | 7DOUCPR | 3LnPZiP | 1350
3D view | 7TPVmnN | 2023-10-10 | spTLqGN | 2023-10-10 | xsRIpNS | DYxfEXv | GuGWSUI | 1350
All midplanes | h6kEhKA | 2023-10-10 | cpv6DoU | 2023-10-10 | hbeRBvs | FIN47Kw | 9MkTYLz | 1350
Stack | imrhcsK | 2023-10-10 | tNDp9b2 | 2023-10-10 | WbWLt84 | Fthq820 | c9KOoE9 | 1350
Volume | iKTGrr3 | 2023-10-10 | kIgMvOf | 2023-10-10 | xaff2kI | ytmF7ke | Z73byUJ | 1350
Slab | JOvbMjM | 2023-10-10 | sFiy0Ky | 2023-10-10 | S0isneu | zE1KpcG | OXDXqHi | 1350
I can view the Dashboard to see the effects of the planned protocol on:
Scan time | N9ZHfvU | 2023-10-10 | M9a2aci | 2023-10-10 | KOz7oQG | zHGNVt5 | Hb0axKI | 1350
SAR | yehH5jq | 2023-10-10 | FeoKI74 | 2023-10-10 | OWC2vSL | k3iu04Z | evIPBON | 1350
SED | 9NqScKF | 2023-10-10 | hZam38W | 2023-10-10 | KASEQ50 | cHsgtL1 | LwJ6qKO | 1350
Rel SNR | aRBTLXu | 2023-10-10 | 2cR7uJx | 2023-10-10 | VP2yO01 | 7hVHW6P | ZkKfCPh | 1350
PNS | DseM4xO | 2023-10-10 | qFuwc5U | 2023-10-10 | j0adnc5 | h531GLA | qgTY6nQ | 1350
Technical Room
TR | NlHdZRZ | 2023-10-10 | tPhwmJG | 2023-10-10 | UcjFr0o | zXUbWDA | E3o7mgv | 1350
I can view the SAR level for the scan. | 7HbQ6nf | 2023-10-10 | 1TMyxQe | 2023-10-10 | u4j0Nfe | ojqRkyg | 23fYi65 | 1350
I can view the SED level for the examination. | IFybGjZ | 2023-10-10 | OrLqC5u | 2023-10-10 | 60ay78e | wD1fxkk | EEQZvUN | 1350
I can use the buttons in the Dashboard to undo, redo, accept, reset, and cancel changes. | gRmvOjd | 2023-10-10 | R8RiiOW | 2023-10-10 | PeAvPS1 | fQsbypn | WuNHAFt | 1350
I can view and change planning settings on the Summary tab:
FOV | 4dbwv0z | 2023-10-10 | 2Peaybq | 2023-10-10 | DVavtkY | oYaYagQ | CYNOj8W | 1350
Voxel | T6Kxi4U | 2023-10-10 | XPbByD3 | 2023-10-10 | iGIU34U | TjVeA3S | g6U6c1q | 1350
Matrix | aVuepVi | 2023-10-10 | PZa90Vz | 2023-10-10 | c8k3s1i | ipwWsnD | s5tfmfO | 1350
Slice thickness and gap | emEwEqx | 2023-10-10 | 1Lxzrv1 | 2023-10-10 | vJpIbP1 | GHYGWU9 | Tw0mgKX | 1350
NSA | Cuh29c7 | 2023-10-10 | 6kyR6cl | 2023-10-10 | vZgg7k6 | 8fh0trc | 87q2sPc | 1350
Fat Suppression (SPIR) | B7rpCsS | 2023-10-10 | 09v5jgR | 2023-10-10 | kXPci50 | 0cXRa7S | 0lguNUl | 1350
I can view advanced parameter setting tabs. | gzL3Pl3 | 2023-10-10 | aDjUDbQ | 2023-10-10 | fGSNqh4 | 4POv9WD | tVqIzuv | 1350
I can reset the sequence settings to their original state using the undo button. | 0n9b0Wx | 2023-10-10 | lSs9Ewa | 2023-10-10 | NZE14dD | v2vHXNu | IYwxMqu | 1350
I can identify ExamCard items that use Propagate Coverage. | RLV1KWA | 2023-10-10 | Bolsuxb | 2023-10-10 | FLX7vrz | HnYOF3a | qA8os7u | 1350
I can view conflicts and access assistance on the Conflicts tab. | AkN8jgg | 2023-10-10 | 6GRLBD9 | 2023-10-10 | KnAenZR | itTCE4U | ZNntVt0 | 1350
I can enable AutoView for a sequence to view images during reconstruction. | Mqw23ap | 2023-10-10 | atDpICH | 2023-10-10 | cSrLYIS | 1F54tqL | VH8R2gC | 1350
I can identify sequences that have SmartLine (inline) postprocessing enabled. | k5KLn4e | 2023-10-10 | eu7SF1g | 2023-10-10 | YFSp5Gb | CnykEC7 | mvWv08k | 1350
I can view and modify the Info page to add site-specific notes regarding the ExamCard and scan. | pHlPE4v | 2023-10-10 | Y7vaVkv | 2023-10-10 | 1Jdp7oJ | kGZp4bv | Q7g1bT9 | 1350
Scan
I can manually start, pause, and restart a scan. | yxagJ6p | 2023-10-10 | aSs2r14 | 2023-10-10 | L2i8uyV | 4hfYlQ6 | b1gKpsk | 1350
I recognize that pause scan and stop scan have different outcomes. | eHLDR2W | 2023-10-10 | M5qcVQh | 2023-10-10 | II8WVAY | JborLsy | 4PK1LoE | 1350
I can view in the Patient Status area:
Patient name | y7uWE3p | 2023-10-10 | 7k1TXGU | 2023-10-10 | 9AGywW9 | utWsSfP | vUNqnvc | 1350
Physiology signal (if connected) | 9fbR7yu | 2023-10-10 | VU0SvUe | 2023-10-10 | JYCQsY8 | denmigJ | y8FRbP6 | 1350
Scan progress bar | UWpAzpo | 2023-10-10 | xNoNIuY | 2023-10-10 | dCsjaE5 | aGxA6Ed | YYoDAhG | 1350
Exam card progress bar | pWo2oMq | 2023-10-10 | prI6eiH | 2023-10-10 | UTAdQjc | RxQ9bur | j7udtdr | 1350
Message line | pZl5Who | 2023-10-10 | as06Ptm | 2023-10-10 | vRywFG5 | MdnJCcD | wqVovnb | 1350
SED | 9NqScKF | 2023-10-10 | hZam38W | 2023-10-10 | KASEQ50 | cHsgtL1 | LwJ6qKO | 1350
I can rescan failed scans. | 5sDsA7j | 2023-10-10 | 4w7RvLG | 2023-10-10 | DRQ7m6F | psIAx8o | S01FDSX | 1350
Viewing Images
ImageView
I can use ImageView to view images. | 3nt3MNY | 2023-10-10 | WHJnfGQ | 2023-10-10 | NKCv3y4 | IBJFTMk | AlUJAXJ | 1350
I can switch between the thumbnail and ScanList views. | H0YWrrT | 2023-10-10 | dHcryQb | 2023-10-10 | UcOpjBa | SAMfSkV | ubrxNEC | 1350
I can use the ImageView toolbar and the shortcut (right-click) menu to modify view settings.
Add and remove rows and columns | 0OecDvL | 2023-10-10 | xILCtXG | 2023-10-10 | izyKW7N | StFpzeX | 9r1AEDT | 1350
Use standard layouts | nOoHmZa | 2023-10-10 | J7gfde5 | 2023-10-10 | 6BOV0JV | jsFCyfh | dsz2bVF | 1350
Play and pause a movie | Nw7981c | 2023-10-10 | SDLQuqs | 2023-10-10 | bH9HNl4 | 065tydZ | 4DucTdO | 1350
Create text box | 86Q3PHA | 2023-10-10 | 8aMT6Oi | 2023-10-10 | bZIu4Mq | q3C7z0c | kRQlby6 | 1350
Measure the image | gWvLs1J | 2023-10-10 | XZ0EIxL | 2023-10-10 | 2s5ye7r | K93AOTj | VgEBku1 | 1350
Select viewing display modes | o1zDxXk | 2023-10-10 | R9XMZ7e | 2023-10-10 | AdoJfit | nm7MqJg | SMm6SLb | 1350
Change settings | 9n6Pydd | 2023-10-10 | 2FaxzuT | 2023-10-10 | quHrQMR | GdDFa1q | SoFOUuF | 1350
Review
I can display Review environment. | O9UoFkm | 2023-10-10 | O2NLpDE | 2023-10-10 | dfUtZAk | qSMIo1k | 0K6SrTi | 1350
I can switch between List view and Thumbnail view. | r3X7zb1 | 2023-10-10 | 2bj3ayl | 2023-10-10 | QL0KBZP | cbSPcOp | 3LfTsFW | 1350
I can use the various methods to navigate the image viewports and change the way the viewports display images using options in the:
Menu bar | 2gUZNFW | 2023-10-10 | PLgQjFb | 2023-10-10 | I8gwuAD | THm5y6Q | aZ1fGEV | 1350
Panel controls | So6EkJ7 | 2023-10-10 | E3j9btT | 2023-10-10 | DAXsPwh | nkAxinf | w2TuaRJ | 1350
Short cut (right-click) menus | WJo21G8 | 2023-10-10 | N1FBqzl | 2023-10-10 | nWLleDz | q8IUUxy | 9qnu7oB | 1350
Keyboard keys | i3i9edF | 2023-10-10 | 26unjQH | 2023-10-10 | QlwfdOE | ocuKshl | 3Bxn1Jk | 1350
I can use the mouse to:
Scroll | RVEF8pm | 2023-10-10 | xeJbH9E | 2023-10-10 | NPm2WZ7 | vg9DEBG | oRf3pCY | 1350
Zoom the display (middle and right button) | BThHd2y | 2023-10-10 | ghL2g0d | 2023-10-10 | OaM1hhQ | q9PE0Z5 | fIuVBBn | 1350
Panel controls | So6EkJ7 | 2023-10-10 | E3j9btT | 2023-10-10 | DAXsPwh | nkAxinf | w2TuaRJ | 1350
Change the window width and level | vZCznlX | 2023-10-10 | FlBot4C | 2023-10-10 | m72Rbv6 | hYMDFia | SYXZAnf | 1350
Reset the window, zoom and pan | G7GUSQH | 2023-10-10 | AqTQXli | 2023-10-10 | UOq74uQ | 4bHhITk | QvImoKb | 1350
I can use the Review toolbar and shortcut (right-click) menu to modify review settings.
Change the display to tiled or tabbed layout. | HPJld67 | 2023-10-10 | xQmmQqt | 2023-10-10 | D1kaI50 | TyuJWbx | tiD971V | 1350
Link and unlink selected imaging series. | fiN6Hnw | 2023-10-10 | EG1gptM | 2023-10-10 | oH4p4PR | iOQM75h | wRZH3X6 | 1350
Capture a screen image and save it as a DICOM file. | gfuKxdg | 2023-10-10 | JBz8iFK | 2023-10-10 | uPaNWJv | jK1G1u6 | DZ8Bkbm | 1350
Enable cross reference as:
Stack display | S0AyxSc | 2023-10-10 | YPDA3zs | 2023-10-10 | gk3Hika | DUMXn1p | a4v7Yrr | 1350
Box view | z6vh3W1 | 2023-10-10 | ky26cBs | 2023-10-10 | keQLpft | Kuzwrmo | QxA7hyk | 1350
Slice mode | aSKgGjC | 2023-10-10 | bFrn0Sg | 2023-10-10 | PDepHHE | Nb4aZhn | lOEnihT | 1350
3D mode | LHgBRXx | 2023-10-10 | SGqhbeS | 2023-10-10 | yJmLVUo | 2xl8LnE | bP6Bxcc | 1350
I can use the Package Manager to switch between examinations/views and to stop the execution of packages. | ypyR3HG | 2023-10-10 | JnCZKvG | 2023-10-10 | tSk5Bx7 | t67OBrr | m5pwaci | 1350
I can display image information. | AOuPSVZ | 2023-10-10 | GlJrVsj | 2023-10-10 | JDMytIs | wNYMwHT | tN6cMNj | 1350
I can expand Series information. | CvP7QVM | 2023-10-10 | ee2IxFR | 2023-10-10 | BfGO3iV | 4MFewy3 | 2XrUmqF | 1350
I can display and hide Review Planscan to show planning. | gb4K8Pn | 2023-10-10 | UvBMR7K | 2023-10-10 | BZl4QJX | 4ylGBWm | fOABtK2 | 1350
I can annotate an image to show ROI, add labels, and lines. | lVQL3Om | 2023-10-10 | dc1Ftzr | 2023-10-10 | C8HveMW | aqkit98 | Me6uHbc | 1350
I can use tools to measure in the image. | WBFwWn8 | 2023-10-10 | CPPVn7V | 2023-10-10 | aWuT4yJ | iBzJVwu | kkyk4th | 1350
I can use print screen to capture an image. | fMoT2Ue | 2023-10-10 | et0p0uU | 2023-10-10 | QPPR9rO | DBWzQFP | bn4ewU9 | 1350
I can use the Movie Toolbox to play, pause, and restart a movie. | 66EUEd7 | 2023-10-10 | P6vQcVO | 2023-10-10 | k6YmnUT | mJAfpc0 | VjB1IrH | 1350
I can save the reformatted images to the database. | G9avWnp | 2023-10-10 | mlHcs1G | 2023-10-10 | MT9N9Xe | 8xyBTRe | XRO9IiM | 1350
Postprocessing
VolumeView
I can use VolumeView to select render modes (algorithms) to calculate projections and reformats of the source images. | I9ggC0k | 2023-10-10 | t95Wk14 | 2023-10-10 | CnAHo4F | yvBqw7E | XE2SnrL | 1350
I can choose the appropriate VolumeView render mode:
Maximum Intensity Projections (MIP) | NgmtOzh | 2023-10-10 | LYpMSTv | 2023-10-10 | 9YZB5cz | 3A18Nro | cox6ago | 1350
Minimum Intensity Projections (MinIP) | 6s9FQt9 | 2023-10-10 | 2eF8pXd | 2023-10-10 | lOdydZl | CzJBYA1 | Fhqor63 | 1350
Multiplanar Reformatting (MPR) rendering for 3D scans | 5FIeD9b | 2023-10-10 | hehprpf | 2023-10-10 | SMK55aQ | 82gQANk | 2a2nuD5 | 1350
Surface Rendering (shaded and unshaded surface) | 2fSELgn | 2023-10-10 | Z5ZzgXk | 2023-10-10 | Xw9kyf9 | VzRKrIT | 4cKZteU | 1350
I can use the tools in VolumeView to:
Navigate the view | yejQel9 | 2023-10-10 | dFiLxyc | 2023-10-10 | 8zrAWBn | bvpcFo8 | qrPmEN5 | 1350
Navigate the reference images | rBSXuJ9 | 2023-10-10 | k2mTVUS | 2023-10-10 | RsaToN6 | eQ0GPRm | 5Yj95er | 1350
Change the reference views and lines. | xdtRRE0 | 2023-10-10 | x68QrMH | 2023-10-10 | zS23mDv | C1K1f2S | MVdK7aL | 1350
Change the layout of a view | wygCWDs | 2023-10-10 | l727aAv | 2023-10-10 | XW5vfBz | qB6dWSY | ke7tBpu | 1350
Draw contours. | bxYYaCu | 2023-10-10 | Lu3bwEc | 2023-10-10 | 1WKeJIZ | BxlbIkh | gOKWTSQ | 1350
Reset all settings | 7iPkfzJ | 2023-10-10 | DV0ZAIP | 2023-10-10 | ixYS4Fy | cDSGIY5 | k4WlYww | 1350
I can use presets:
Orientation | xmyWcSl | 2023-10-10 | yqsJm1p | 2023-10-10 | 73SJbT0 | fdfPaCc | Xx7TYc8 | 1350
Zoom the display (middle and right button) | BThHd2y | 2023-10-10 | ghL2g0d | 2023-10-10 | OaM1hhQ | q9PE0Z5 | fIuVBBn | 1350
Slab thickness | VYYunVu | 2023-10-10 | cchVhKQ | 2023-10-10 | p2X6YCx | 8gOGnE2 | e6FEYYU | 1350
PicturePlus
I can use PicturePlus to apply a filter to images to customize the appearance of the image for the radiologists preferences. | zE31oXW | 2023-10-10 | pdvPxN9 | 2023-10-10 | 2FDwjvg | SNUS6rp | Fmlrlu1 | 1350
I can apply a Picture Plus preset to the image. | ZxkOnPb | 2023-10-10 | 4PCjq52 | 2023-10-10 | RjMU3fF | yTNWs05 | XQcq345 | 1350
I can use the mouse to adjust smoothing and edge enhancement. | MvX8lOR | 2023-10-10 | 1PYaune | 2023-10-10 | s3E9Cu9 | XtzAYbe | 7TCmvVy | 1350
I can create a custom preset to define smoothing and edge enhancement values. | MLmMwtv | 2023-10-10 | CsM49WH | 2023-10-10 | M3ghrn1 | 8FHZOvu | ybYArmp | 1350
I can generate the modified series to save the new imaging series to the examination. | 1exYGLz | 2023-10-10 | zHsptti | 2023-10-10 | BnsCDqr | IIS63qW | DEHerbq | 1350
I recognize a series with prefix “e” in the series name has been enhanced by PicturePlus. | 4awIvge | 2023-10-10 | tgONotC | 2023-10-10 | UpxqyAU | Mwjjy6J | lTWFnOh | 1350
MobiView
I can use the MobiView postprocessing package to fuse multi-station datasets. | ITCjlSF | 2023-10-10 | mv4D8Fs | 2023-10-10 | qSqb7eY | iVHZ2PP | s8BdBwZ | 1350
I recognize that images must be acquired as different stacks in Head-Feet direction in order to use the MobiView postprocessing package. | EF3Os9l | 2023-10-10 | ENRLtzl | 2023-10-10 | s46R31U | Nt1jPD0 | 8WM7HCn | 1350
I recognize that it is a best practice to keep the source images as well as the fused image. | pY4Qr7u | 2023-10-10 | ODYXzHK | 2023-10-10 | T7U4Jz1 | corhHRz | mPiy93k | 1350
I can check for artifacts before fusing images so that they are not mistakenly interpreted as pathologies. | qAjo2K3 | 2023-10-10 | aW57lY0 | 2023-10-10 | g5dNLuV | 8mExPeI | SVJf2k0 | 1350
Prior to fusing, I can select the best window option for the image series:
None | OwP0JLp | 2023-10-10 | hh7LZIx | 2023-10-10 | b2oMQCl | IYkHFXY | SxvGX4d | 1350
Automatic | B3kJAdV | 2023-10-10 | WeQbtLC | 2023-10-10 | Tdn04dL | eGOSirj | OlD1iDn | 1350
MIP | 02VuRLs | 2023-10-10 | joecBmi | 2023-10-10 | HKh631k | CvWXLJd | zDNCPEV | 1350
I can select the appropriate fuse mode for the examination:
Fuse Hardcut | tl9b9Mz | 2023-10-10 | ktYlVoW | 2023-10-10 | 0tmP2eI | mSR9nqo | 78Yh8yD | 1350
Fuse Smooth | s2NbOJr | 2023-10-10 | ExMnhRb | 2023-10-10 | NtEcQfb | NtJRqLR | oLQiPCQ | 1350
Merge series | LhEP15O | 2023-10-10 | 4InU0ZW | 2023-10-10 | WI9iY8O | 90nbkzT | 7cqJDVH | 1350
I can save the fused images to the patient database. | Y0yLBLg | 2023-10-10 | oy8XwwU | 2023-10-10 | xh1NQQz | wn9Ktpa | SeeJMS7 | 1350
I can fuse a multi-station imaging series that includes multiple image types. | ItFWRel | 2023-10-10 | rJcqZXq | 2023-10-10 | wkf9MBu | hlUASbi | vseFKYR | 1350
Administration
Saving examination data
I can save the examination to: | OYO68WD | 2023-10-10 | 90CXxVG | 2023-10-10 | YprkcK7 | egqa6Mv | MiESYyU | 1350
Local patient database | 7gdODMY | 2023-10-10 | 6SWkWdu | 2023-10-10 | MOWTJht | pEycn7O | MCDagEK | 1350
Queue DVD | OfC0VZF | 2023-10-10 | AMFey6V | 2023-10-10 | R0MaJnh | dI733z9 | JCMQ4w6 | 1350
DICOM network node | J59VOD7 | 2023-10-10 | BKnVzCp | 2023-10-10 | XIRnLdP | JS5LJp0 | gfOc1P2 | 1350
PACS | jUrXSAl | 2023-10-10 | wlkxR3X | 2023-10-10 | tVTrgbn | g5nNj09 | UWhaahl | 1350
External hard drive | DkjSGSv | 2023-10-10 | X01Tjc2 | 2023-10-10 | w6t41A4 | 5xPphKz | T3AZrYb | 1350
I can archive and delete examinations from the patient database. | HRMmEGI | 2023-10-10 | y1pxhZW | 2023-10-10 | vDuRJpf | 4mWQeTn | QkQItxb | 1350
I can enable Autopush to DICOM node. | sUEimry | 2023-10-10 | Akl9EAf | 2023-10-10 | 47OEmPr | tJQwphr | DvljvQi | 1350
I can print:
The entire examination | pK48c15 | 2023-10-10 | Pr9Ly3I | 2023-10-10 | 9nyPtyU | SLfAygP | Ir5Z7DO | 1350
Selected images | Rdt42mc | 2023-10-10 | esf1mAE | 2023-10-10 | mBPhX3q | ILMci0e | 4qf8xju | 1350
Selected series | mxYwTlA | 2023-10-10 | D3xF92p | 2023-10-10 | KT6FeZ2 | SxxGULG | JS1QD8O | 1350
I can use Split Exam to save the examination images as multiple scan instances. | IkcMfCm | 2023-10-10 | lW5Zc0v | 2023-10-10 | Mwy3RPV | d5u0z7p | UeILumC | 1350
Storing and retrieving data from a USB drive | EaZyIhV | 2023-10-10 | mJJULjx | 2023-10-10 | VRD9tmM | X0Ci3mr | 0PKAOZA | 1350
I can enable access to a removable USB drive. | QsbZBgO | 2023-10-10 | ATcmtRE | 2023-10-10 | VmjBGbV | vAlygay | amTPgr8 | 1350
I can import and export an ExamCard stored to a USB drive. | jlPige7 | 2023-10-10 | ogwTjcS | 2023-10-10 | HsLbyqX | ciyFpzg | cFcbKtw | 1350
I can back-up the ExamCard database to a USB drive. | 8zsn1th | 2023-10-10 | vE1OBjy | 2023-10-10 | ebZODRM | gsqCs06 | i7UhieW | 1350
Data management
I can send and retrieve examination data from the data archive system (for example PACS). | 3ShNZUo | 2023-10-10 | q3kHche | 2023-10-10 | kwoQxGj | AykOH3O | JFSOx6n | 1350
I can send data to the data archive system and remove it from the database on the MR system to maintain good system performance. | PXenIvG | 2023-10-10 | 5TplBHZ | 2023-10-10 | PewnS0k | XOipoTP | qrOOkxa | 1350
I can save an examination to external media. | UKEHY2A | 2023-10-10 | ojGmq0b | 2023-10-10 | qWzUfTb | RAHrSpc | FcKKDMx | 1350
Examinations
Routine Brain
I can position the patient for a brain examination. | nC6MCAO | 2023-10-10 | mhJF8qB | 2023-10-10 | srcOFjn | Ip8jSbS | deXFmKI | 1350
I recognize that some passive headsets may cause image artifacts. | MezQX99 | 2023-10-10 | 7eMVjlg | 2023-10-10 | veYyZEV | ejnVHlb | hGEW1me | 1350
I can position the Head coil and accessories. | e1MNZxn | 2023-10-10 | y24Ck7S | 2023-10-10 | nHU7R8i | yU8FVHQ | NjufyoX | 1350
I can add a routine brain Exam Card to the Scan List. | n59MlFd | 2023-10-10 | zZ3lfhO | 2023-10-10 | sQAkDFG | tM0tvHL | sb574gV | 1350
I can plan the brain examination. | eAe5zec | 2023-10-10 | 06R6OGb | 2023-10-10 | tsEontq | e9X7H56 | MFKvfAk | 1350
I recognize that, when using SENSE, I must pay attention to the foldover direction and oversampling area to avoid foldover of anatomy outside the oversampling area. | i376G5J | 2023-10-10 | mJYtSG0 | 2023-10-10 | PFbaI6O | 3d9TO3j | yHERwt7 | 1350
I can post-process the brain examination using the Diffusion package. | EflAGQJ | 2023-10-10 | RzloLzI | 2023-10-10 | MjGfUb8 | R4aNUY0 | ybIp6Tr | 1350
Knee
See Knee Routine Workflow Guide | fXt5PMc | 2023-10-10 | bDtZngt | 2023-10-10 | LG3aXYS | 5URmb9p | wSQqPSQ | 1350
I can position the patient for a knee examination. | D4mRc4C | 2023-10-10 | 9poLUwP | 2023-10-10 | tkFEF2n | Cs4MbwX | O8cg7Pv | 1350
I can position the knee coil and accessories to reduce motion and improve patient comfort. | YPlHO6c | 2023-10-10 | I5WhiXI | 2023-10-10 | D8bLTIV | lVbRsOd | GILQg1b | 1350
I can add the knee Exam Card to the Scan List. | ctzm1Sb | 2023-10-10 | Q9NSkIK | 2023-10-10 | A49Kr3a | rlGb3FK | bKbywIj | 1350
I can plan the knee examination. | OAgpiJR | 2023-10-10 | CA5e7Bo | 2023-10-10 | ZCc6ytd | 6Sw6l3I | aeO7Jqc | 1350
I can post-process the examination images. | wirt261 | 2023-10-10 | f7pNZUz | 2023-10-10 | FjEiOHD | 7KohZsM | ZKOfYEx | 1350
Liver
I can position the patient for an abdomen examination. | Y98XAKL | 2023-10-10 | tBuTuu6 | 2023-10-10 | 9jbUpwR | W4m4A4A | Gb3uGtO | 1350
I can position the abdomen coil and accessories to reduce motion and improve patient comfort. | 2hS6dhw | 2023-10-10 | tr7kNad | 2023-10-10 | 916dXEn | O4Kod26 | PBuR2cw | 1350
I can position the respiratory sensor. | CTuUGEJ | 2023-10-10 | 8VlFLM1 | 2023-10-10 | m5LNuLO | yw7OEpV | UkhY7BG | 1350
I can add the abdomen ExamCard to the ScanList. | TwRlmNG | 2023-10-10 | jIdhwuS | 2023-10-10 | 4KoyVcs | vWhTfwp | ca2ivXg | 1350
I can plan the abdomen examination. | w5drWgJ | 2023-10-10 | rtd3RVl | 2023-10-10 | hPCytu2 | xN2xEe2 | 9N6p78o | 1350
I can use breathhold and free breathing techniques to perform the examination. | NJ1Pojm | 2023-10-10 | UjglnC2 | 2023-10-10 | oZqkKUc | sKnNJ7Q | Pt114RM | 1350
I can use AutoVoice (if purchased) to communicate breathhold instructions to the patient. | CL5QzuB | 2023-10-10 | W37XZrI | 2023-10-10 | 8J08EgG | ipLkXmj | 1bQPCwv | 1350
I can post-process the abdomen images. | pMoqon7 | 2023-10-10 | yAKfqrP | 2023-10-10 | YvSsXjc | 8vOa8Zf | zesp36Y | 1350
Spine
Refer to the Spine Workflow guide | UIqTScb | 2023-10-10 | fHewmYv | 2023-10-10 | lq8zSXE | 4hyX7kC | wuWmiZy | 1350
I can position the patient for a spine examination. | 4U30SMX | 2023-10-10 | eCd1kyg | 2023-10-10 | tk90Wf2 | XNmk7rw | n346mY7 | 1350
I can position the spine coil and accessories to reduce motion and improve patient comfort. | 5A25PXk | 2023-10-10 | MPsjwFI | 2023-10-10 | DRLBkuZ | Lt4MGFr | CN29pTu | 1350
I can add the spine ExamCard to the ScanList. | H66FLjA | 2023-10-10 | IrvTYcc | 2023-10-10 | r1ZrdGw | 2lbl58B | 4sEFFSW | 1350
I can plan the spine examination. | hShGFcd | 2023-10-10 | PUkr5Qt | 2023-10-10 | 5nQ068y | ebRiPZ9 | uqdbAwl | 1350
I can post-process the spine images:
Use MobiView to fuse images | R0OyRvx | 2023-10-10 | xevTwMz | 2023-10-10 | 9Jg5692 | qtinGa1 | BZeNbAV | 1350
Use PicturePlus to enhance images | DnoZZkY | 2023-10-10 | PmYCtfp | 2023-10-10 | HgkC7Jo | qVNqGQe | EHL1bxM | 1350
Use VolumeView for MPR and MIP reconstruction | fYTlDny | 2023-10-10 | he01wjt | 2023-10-10 | qNo4TPf | 7QEbya1 | B3RaBT9 | 1350
Ankle
I can position the patient for an ankle examination. | FdFHZQJ | 2023-10-10 | bGVYqJy | 2023-10-10 | 3U6sx6w | buYYnUp | X5wY8DK | 1350
I can position the ankle coil and accessories to reduce motion and improve patient comfort. | 6X23Dex | 2023-10-10 | 6fIjg1A | 2023-10-10 | YC0KN6m | w3HkjQe | X80xeoL | 1350
I can add the ankle ExamCard to the ScanList. | U5os1IO | 2023-10-10 | FpooNmp | 2023-10-10 | GTLb8og | un4b6q7 | sumNM8Q | 1350
I can plan the ankle examination. | Hvp8NeV | 2023-10-10 | JLXm6KD | 2023-10-10 | wxYEpQk | BoQdHyw | FzIHm16 | 1350
Position Shim volume | gzrT7vr | 2023-10-10 | pExTeeG | 2023-10-10 | DfdKeq7 | RQkPjC6 | XQ41uBQ | 1350
I can post-process the spine images | PbdR2BE | 2023-10-10 | vH0bk2X | 2023-10-10 | nWB61Ph | MF5D3Zu | zBli5O2 | 1350