## Sheet0
Essential Information
Able to turn scanner on from complete shutdown | updatedK9vGPJI | 2023-10-11 | updatedEYuuF7e | 2023-10-11 | updatedqbeB34J | updatedFVA1ZIA | updatedFgaRWQl
Able to turn scanner on form stand-by-mode | updatedNI2wvpQ | 2023-10-11 | updatedUTU6Ku8 | 2023-10-11 | updatedvGctX5v | updated4iO2zqk | updatedAqVl5Si
Able to turn scanner off by complete shutdown | updatedyTUZuYA | 2023-10-11 | updatedELpKDyp | 2023-10-11 | updatedhoNvXQF | updatedqyqOCER | updatedAz4dw8t
Able to turn scanner off into stand-by mode | updatedvaurPim | 2023-10-11 | updatedXnT6m8p | 2023-10-11 | updatedI6wi7L0 | updatedpzGS5so | updatedNFfPcEc
Able to turn on/off remote consoles | updated2EpiOEu | 2023-10-11 | updatedPxD7UdI | 2023-10-11 | updatedeBpMmIQ | updatedea6emvu | updateduzYNaIZ
Understand local data storage issues | updatedyiHT2m0 | 2023-10-11 | updatedbimWSYJ | 2023-10-11 | updated3fnMIwJ | updatedvD34qsl | updatedGg9kTjW
Know location of protocols on Quality system | updatedD6Wq6YX | 2023-10-11 | updated8OFBOp4 | 2023-10-11 | updatedrZDgnJH | updatedR9Bc9Y8 | updateddXE1st7
Able to use patient table | updatedxqHp5ln | 2023-10-11 | updated2e69iIt | 2023-10-11 | updatedpbeJFJk | updatedAz5yG5B | updated0mhotOz
Scanner Room
I can use the controls of the User Interface Module (UIM) and tabletop to:
I can manually move the tabletop out of the bore using the tabletop release button. | updatedt6VHCWT | 2023-10-11 | updatedo3De2xq | 2023-10-11 | updatedhHXdQPb | updatedxsCITPx | updatedzGAoSjT
I can safely use the laser light to center to the anatomy of interest for the examination. | updatedYmFNKkE | 2023-10-11 | updatedyZBzVk1 | 2023-10-11 | updatedrkWk3Lw | updatedJGXokyr | updatedKYTgsQv
I can move the table to isocenter. | updatedkvY1zHg | 2023-10-11 | updatedUakx3yR | 2023-10-11 | updated2JoCo9F | updatedjuDOEIk | updated97d8lOK
I can use the markers on the tabletop to note the extent of table movement. | updatedCpKokzQ | 2023-10-11 | updatedPc9cHpT | 2023-10-11 | updatedRUw4yLa | updatedbSIPInd | updatedBFSjfSd
I can state the weight limit for the tabletop. (250kg) | updatedKwteNuW | 2023-10-11 | updatedE18g702 | 2023-10-11 | updatedJuGwi6X | updated2BkPXVA | updatedc28UiEc
I can locate the head set and nurse call connection sockets | updated0FhSsxP | 2023-10-11 | updatedjo6r2G0 | 2023-10-11 | updatedELfbICz | updatedwKIUToM | updated505Dkql
VCG
I can identify VCG components. | updatedxnY0HDx | 2023-10-11 | updatedVUspyfN | 2023-10-11 | updatedQG08owG | updatedCQ7bjsb | updatedJmwkqFa
I can position the ECG electrodes on the patient. | updated090UZM8 | 2023-10-11 | updateduEbM4EC | 2023-10-11 | updated9dpyeF7 | updatedMDFAFNQ | updatedWQgSajr
I can position the wireless module on the patient. | updated5j2Tu2M | 2023-10-11 | updatedif9LVEA | 2023-10-11 | updatedifioFen | updatedPWi7DdX | updatedlZM9PBF
I recognize that the VCG is not used for patient monitoring. | updatedaLtehAK | 2023-10-11 | updatedBgt7klw | 2023-10-11 | updated0zdq7E6 | updateddsWLaxy | updated9ZdfPGy
I can change and charge the battery on VCG module. | updatedS9qLJXX | 2023-10-11 | updated0tBgckY | 2023-10-11 | updated9LOxDQg | updatedMTvUTkQ | updatedvkWgAnZ
I can change the wireless network channel used by the VCG. | updatedsi41qQF | 2023-10-11 | updatedkzf6wfM | 2023-10-11 | updatedoOWacU0 | updatedbrKCQsa | updatedkHvcTUI
Respiratory sensor
I can identify the components of the respiratory sensor. | updatedjywJWCR | 2023-10-11 | updatedn8GyqIw | 2023-10-11 | updatedmRe2fis | updated7oyNg7L | updatedYvjf7gB
I can position the respiratory sensor on the patient. | updatedU89jRMe | 2023-10-11 | updated7521I4X | 2023-10-11 | updatedJnP3sDe | updateddU3yHXC | updatedv0Sq7oV
I can change and charge the battery on respiratory sensor module. | updatedt9GeDMg | 2023-10-11 | updatedV94FPpS | 2023-10-11 | updatedsPEgzsx | updatedY5AHvzT | updatedJDZnEtk
I can change the wireless network channel used by the respiratory sensor. | updatedDsTvDG6 | 2023-10-11 | updatedlde668H | 2023-10-11 | updatedixHN6Wj | updatedpQJX8jV | updated6Rnx9e0
Technical Room
I recognize that the MR system computer in the technical room controls the gradient amplifiers, magnet cooling system, RF transmitter, and receiver. | updatedRCNyRfn | 2023-10-11 | updatedmcKk6Ws | 2023-10-11 | updated7JwpBuK | updatedEsp5v4c | updated0Tbu7OJ
I know how to contact a remote service engineer who can supervise a full system shutdown when it is required and advised by the remote service engineer. | updatedp7X2Nvl | 2023-10-11 | updatedwOlCDlR | 2023-10-11 | updatedPOTwZsH | updatedgM6LEID | updatedC1KEHSL
Operator Room
Helium Level and PIQT
I can locate the helium level display. | updatedH8M9YXm | 2023-10-11 | updatedsuZCSHq | 2023-10-11 | updatedvMQfeCb | updatedq7xWye9 | updatedgoFo46J
I can respond to low helium levels message and notify. | updatedPxMLhuw | 2023-10-11 | updated0JVDuno | 2023-10-11 | updatedzuS9Oxy | updatedpV9NONm | updatedW1coEHW
I can follow Periodic Image Quality Testing (PIQT) procedures to perform quality assurance testing. | updatedF7KZPsP | 2023-10-11 | updatedBRhj9TZ | 2023-10-11 | updatedEMEctrE | updatedSWbIA5o | updatedvZI8tf9
Communication with Patient
I can use the intercom system to:
I can use the intercom system to communicate with the patient. | updatedHhUkASk | 2023-10-11 | updatedzmMT7PF | 2023-10-11 | updateda1hCOQE | updatedpYPO7OX | updated33jzrGt
Stop and resume table movement in an emergency | updated5hwTR2i | 2023-10-11 | updatedSe7fsB7 | 2023-10-11 | updatedVO3B0g1 | updatediL2GAKF | updatedVWoNv1j
Adjust the music volume | updatedzUYeGYW | 2023-10-11 | updated67jSbAn | 2023-10-11 | updatedjIyJrj7 | updatedmMFcLr4 | updatedVq1VPd9
Adjust the talk and listen volume | updateduiSWO1t | 2023-10-11 | updatedPLe9bkI | 2023-10-11 | updatedBuduxN7 | updatedsr3baO3 | updatedaIUbDBV
Turn the music on and off | updatedOMZm4eV | 2023-10-11 | updatedHNP9R2C | 2023-10-11 | updatedDOW9PyB | updated3LMBWKA | updatedGUhHqyb
View the nurse call light ring | updatedBF94RFP | 2023-10-11 | updatedywn39RK | 2023-10-11 | updateduNyzDyq | updatedAdFeoA4 | updatedTkp8Ln6
I can visually monitor the patient during an examination | updatedvjVx6w7 | 2023-10-11 | updateda9gJ1n2 | 2023-10-11 | updatedVvjDsYd | updatedJaZTByK | updatedH1ng0oG
I can pause and resume a scan so that I can enter the scan room during the examination. | updatedWDKLhJB | 2023-10-11 | updateduqwqmXs | 2023-10-11 | updated1SRNPd3 | updatedgdzujR1 | updatedwXORr1Z
Online Help and instructions for use
I can display and navigate the online help. | updatedFFGSjCi | 2023-10-11 | updatedIrdXsf2 | 2023-10-11 | updatedXOR383e | updatedn63koCL | updatedzYpceK2
I can access parameter help via the F1 key. | updatedjJ1Lykb | 2023-10-11 | updatedNJHOY87 | 2023-10-11 | updated6y7nyml | updatedAqGiiKf | updatedAv2H4vr
I can find and navigate the Instructions for Use. | updatedTBwImk0 | 2023-10-11 | updated1metBDq | 2023-10-11 | updatedgwhXY0x | updatedTzYq3Yl | updatedT9MndGN
I can find additional information on the info page. | updatedYm6WHRc | 2023-10-11 | updated1N5XKIb | 2023-10-11 | updatedoGKfcH3 | updatedSEAG0dq | updated23itxDq
I can display information about the coils for my system | updated4AT9zUD | 2023-10-11 | updatedCMqKcNx | 2023-10-11 | updated2ulUUom | updatedioq07oN | updatedv6ugyjE
Operator Console
Navigating the interface and using the mouse functions
I can navigate the user interface to:
Enter a new patient | updatedVxWXDhC | 2023-10-11 | updatedAIt78xm | 2023-10-11 | updatedugenpJf | updatedSVBOvYY | updatedW5WDijD
View the Exam Card databases | updated7puuacP | 2023-10-11 | updatedA4C1YYg | 2023-10-11 | updated1dOWKfy | updatedEGWc7eX | updatedxnPa9PD
View the Scan List | updated4lDD2ho | 2023-10-11 | updatedEvPkkfv | 2023-10-11 | updatedYAtJNqH | updatedwiSZHNo | updatedNi0oqAP
Review examination images | updatedSCFsMsl | 2023-10-11 | updatedvMsr79B | 2023-10-11 | updatedfTEAMw4 | updatedEtY6AgQ | updatedcnaZyvl
Switch between list view and thumbnail view | updatedRstjMXf | 2023-10-11 | updatedLWVGfUH | 2023-10-11 | updatedy6OkW5j | updatedktGP3Lx | updated1J4IenE
I can use the mouse to:
View the shortcut menu (right-click) | updatedsftueWP | 2023-10-11 | updatedesoJpid | 2023-10-11 | updatediO0HFY5 | updatedkMp3BLq | updatedXCQJ6u2
Window the display (middle button) | updatedJmUlmGC | 2023-10-11 | updatedzzS2erR | 2023-10-11 | updated1JKEmnr | updated4M3DmpH | updatedLsE0Ak7
Zoom the display (middle and right button) | updatedBThHd2y | 2023-10-11 | updatedghL2g0d | 2023-10-11 | updatedOaM1hhQ | updatedq9PE0Z5 | updatedfIuVBBn
Pan the display (left and middle button) | updatedxgPk3Iz | 2023-10-11 | updatedgnzvvBT | 2023-10-11 | updatedTsEpbCm | updated7WPuxmJ | updatedW9GNLrz
Adjusting patient ventilation control
I can view the patient ventilation control. | updated7KkiQmS | 2023-10-11 | updatedzHsLltW | 2023-10-11 | updatedRWpxi5p | updatedwhQvTip | updatedbJuERNi
I can adjust the patient ventilation as needed for patient comfort:
Using controls on the system and console. From the UIM. | updatedr6BxYvp | 2023-10-11 | updatedQGnu29G | 2023-10-11 | updatedBZugytv | updatedSvmPFYK | updatedZ8vw3Jb
I recognize the recommended patient ventilation level is Level 5. | updatedGSUUrpS | 2023-10-11 | updatedAw17NgR | 2023-10-11 | updatede5D5ylq | updated7UMsJoS | updatedZeIZuG8
Patient
I can enter a new patient for scanning:
I can enter a new patient for scanning. | updatedLcYnxCT | 2023-10-11 | updated3H2Il4b | 2023-10-11 | updatedTJ8WGGK | updatedOrTpYBE | updatedrr6JU4h
I can select from the RIS, a patient for scanning. (If applicable) | updatedcwMgS6C | 2023-10-11 | updatedkdRr1aH | 2023-10-11 | updatedRwpPL1L | updatedfGvHVkZ | updatedbUnvCqS
I recognize that the system will scan in Normal SAR mode by default when the Pregnant Yes check box is selected. | updateddqEhlps | 2023-10-11 | updated5I8bYVE | 2023-10-11 | updatedmk50oO5 | updatedTEGTiAe | updated1uc6Gj4
I can use Scan Wise Implant to safely enter a new patient who has an MR Safe or MR Conditional implant. | updated2MCJP0o | 2023-10-11 | updatedmbA3xeh | 2023-10-11 | updatedpzs4QgM | updatedkJucwUa | updatedcohqJqN
I can navigate the patient tab to:
View the current patient | updatedqK5pVUn | 2023-10-11 | updatedqVjgkfp | 2023-10-11 | updatedDxdwrkG | updatedzgdFn3u | updatednULeYrs
Review the previous patient | updatedE4gSsZW | 2023-10-11 | updated6lsDnUd | 2023-10-11 | updatedJ0TBK4R | updatedRpj3Amk | updatedyeFtPLO
Preset protocol database
I recognize the types of Exam Cards and sequences contained in each Exam Card database
Philips preset procedures and Example Cards | updatedxMgE3ea | 2023-10-11 | updatedz49zda3 | 2023-10-11 | updatedvnXV1vn | updatedl3VA9RC | updatedpcNAJzw
Hospital | updatedWZRhuKW | 2023-10-11 | updatedjwO0ucI | 2023-10-11 | updated6BBsB4i | updated3qmyWMx | updated31sgPHM
Other | updatedkjD7ZnB | 2023-10-11 | updatedweQN4Lo | 2023-10-11 | updated9pTLZkE | updatedEtRfP0s | updatedFwK8pIl
I can display and navigate the Exam Card database to find an Exam Card or sequence:
I can view sequences in an Exam Card. | updatedSrtmEL4 | 2023-10-11 | updatedjZaIBbn | 2023-10-11 | updated2CxbjbM | updatedEmFyvOB | updatedugrvJWM
I can add the following to the Scan List:
Exam Card | updatedvdxeCxh | 2023-10-11 | updatedfLbXTsz | 2023-10-11 | updatedU094VmE | updatedmmAgdhK | updatedB0LbdRa
Example Card (Philips predefined Exam Card) | updatedNGG1vw6 | 2023-10-11 | updatedbJ9IKHq | 2023-10-11 | updatednOJzXnh | updatedI8pGsB0 | updated1QXXP3q
Scan Protocols
Preset protocol database | updated | 2023-11-23 | updated | 2023-11-23 | updated | updated | updated
I can save an Exam Card to the:
Hospital database | updatedR8bx0zW | 2023-10-11 | updatedz7AsWMk | 2023-10-11 | updatedGz11mbp | updatedAiFhghe | updatedrXpeghj
To another database | updatedUAj8inp | 2023-10-11 | updatedqfMpH0f | 2023-10-11 | updatedqFMKOVQ | updatedgi5qCjF | updatedBRnzcYY
I can use a password to restrict access to the Hospital Exam Card database. | updated02aCklz | 2023-10-11 | updatedEp4xxyB | 2023-10-11 | updateda5sver6 | updated6YyyYOw | updateddfbLl8B
I can unlock the Hospital database to save an Exam Card (if needed). | updatedumzIS1M | 2023-10-11 | updatedCm2f2GD | 2023-10-11 | updated3RSRxIG | updatedVavFXUR | updatedIde1olW
I can create a new subfolder in the Hospital and Other databases. | updatedRH0cFUk | 2023-10-11 | updatedz9Nc6lt | 2023-10-11 | updatedzgzgR3f | updatedcXev19j | updatedbBLMmiJ
Scan List
I can view the Exam Card properties. | updatedQ9cNqPg | 2023-10-11 | updatediaveRfi | 2023-10-11 | updatedTFIq20B | updatedztUMxM8 | updatedZfm0YTo
I can modify the Scan List to:
Change the order of sequences | updateddQyYiU5 | 2023-10-11 | updatedKDKCHqr | 2023-10-11 | updatedB8uaUbK | updatedpfC47Uw | updatediRsJRop
Repeat a sequence | updatedfZM0xtT | 2023-10-11 | updatedIqcWMSO | 2023-10-11 | updated74pQf6W | updatedUBxSDko | updatedB7zFGkE
Copy a sequence | updatedJn68Nud | 2023-10-11 | updatednKzrtCd | 2023-10-11 | updatedYdzZQ2B | updateda3kixrW | updatedJZJNiUu
Delete a sequence | updatedENJcuCB | 2023-10-11 | updated3x5MXek | 2023-10-11 | updatedDRdJC1d | updatedcQmHfWL | updatedpUu0WLZ
I can hover the icons and labels on the Exam Card to identify their meaning. | updatedMkBBOMJ | 2023-10-11 | updatedpmbBEqE | 2023-10-11 | updatedBIm6rh8 | updatedJhfYY4d | updated2CBaTpr
I can view the status icons of a sequence to determine if the sequence:
Needs planning | updatedQyhZxAS | 2023-10-11 | updated9D8J7XY | 2023-10-11 | updatedNnuiWcB | updatedzvHvsWi | updatedrb6qCqO
Is ready to run | updatedQuXm1Jn | 2023-10-11 | updatedf2jAUIc | 2023-10-11 | updated0Ymc7Yl | updatedKgKGBOt | updatediLrkO3J
Is paused | updated52aqa1j | 2023-10-11 | updatedmuGt92S | 2023-10-11 | updatedQZ7oAAJ | updatedaKPKis2 | updatedWqPjxLD
Is scanning | updatedem8IQsl | 2023-10-11 | updatedtaXe53f | 2023-10-11 | updatedlEzKOrY | updatedxPIV8a6 | updatedbtnH8Pg
Is completed | updated94cwHBo | 2023-10-11 | updatedL8BGQZ5 | 2023-10-11 | updated7QPUqBp | updatedP6Nv8mH | updatedAC0cqiz
I can identify high SAR sequences. | updatedpRWsJ8u | 2023-10-11 | updatedA4z5Adh | 2023-10-11 | updatedgx2KkoY | updatedfm1BsK2 | updatedluABTGe
I can override normal SAR mode when my patient might be pregnant. | updatedRVzfSgh | 2023-10-11 | updatedfAPOr78 | 2023-10-11 | updatedaUZxgnD | updatedKq4fXa0 | updatedXo3sdmn
I can view the SED indicator display to know when the SED level is low, medium, and high. | updated3ACuV1X | 2023-10-11 | updatedNORhIkl | 2023-10-11 | updatedUx4EXnF | updatedDFSvSUr | updatedPidodMh
Scan List I can:
Save an Exam Card | updated9PYxTxw | 2023-10-11 | updatedvGjgZzy | 2023-10-11 | updatedibnVjPV | updateddaJY0ua | updatedLlBI9Gq
Rename the Exam Card | updatedDYoFa2A | 2023-10-11 | updatedkepcqJS | 2023-10-11 | updatedz0YYeAw | updatedxUemGyL | updatedVh0Twil
Copy the Exam Card | updatedfb4JVBY | 2023-10-11 | updatedHeJOX0J | 2023-10-11 | updatedHfQgzw7 | updatedXUNjVBj | updatedJW7iOVj
Delete an Exam Card | updatedKnEzUcl | 2023-10-11 | updated1RmmoMs | 2023-10-11 | updatedbNVQEGD | updatedYAJ8nXE | updatedu2V51zY
Planning
Plan a sequence
I recognize that SmartSelect automatically selects the coils used in the examination. | updatedJY8a168 | 2023-10-11 | updatedW9PZnlu | 2023-10-11 | updatedGk36gEk | updatediDkm7aN | updated9x0zoyY
I recognize that scans with the same geometry name (GeoName) within an ExamCard have the same:
Number of stacks | updatedZBMZiLB | 2023-10-11 | updatedOpSzbml | 2023-10-11 | updatedsN0chkX | updatedixJXSI0 | updatedxufZSVj
Off-center values for each stack | updated4nPEQlO | 2023-10-11 | updatedWF0j6DV | 2023-10-11 | updatedpebaN1l | updatediWcOpNo | updatedf1gZdiZ
Angulations for each stack | updatedtiHFXIS | 2023-10-11 | updatedGKIRroC | 2023-10-11 | updated05m4Vjc | updated1T06ndr | updatedVRkL7ql
Orientation | updatedxmyWcSl | 2023-10-11 | updatedyqsJm1p | 2023-10-11 | updated73SJbT0 | updatedfdfPaCc | updatedXx7TYc8
I can use propagate coverage to plan scans with the same GeoName. | updatedaAk9Cl9 | 2023-10-11 | updatedE1hUVYN | 2023-10-11 | updateds4HSZ0M | updatedw9IIBFY | updated3Pa39Jz
I can use Propagate Coverage to share FOV, foldover direction, and coverage | updatedU6PfvuL | 2023-10-11 | updatedjF8a6T6 | 2023-10-11 | updatedWKzPQyS | updatedQNi9Yi5 | updated8JcGD9j
I recognize that I should not use Propagate Coverage in a DWI series. | updatedEAeeMvb | 2023-10-11 | updatedumu3YDG | 2023-10-11 | updated2ehSj4C | updatedDb0m12R | updated6kUEPih
I can assign the correct GeoName to a scan. | updatedYqYzvmK | 2023-10-11 | updated4Nvzfm6 | 2023-10-11 | updatedIT7iCUQ | updateddUv2XiI | updatedf7nN65B
I can add, delete, and modify the GeoName of a sequence. | updatedlWZYpHb | 2023-10-11 | updatedAcGXbRj | 2023-10-11 | updatedgcfdSjc | updateds4sQ159 | updatedMqjbMRF
I can display and hide the Planscan overlay (volume or the stack(s) of slices, REST slab, shim box, navigator). | updatedlMxDKFB | 2023-10-11 | updated6JwHE8L | 2023-10-11 | updated3Yu7TaY | updatedy3UQw7E | updatedhWbrVT1
I can use the Planscan toolbar and shortcut menu to plan the examination. | updatedHN7kcF2 | 2023-10-11 | updated1QLvgcc | 2023-10-11 | updatedh2IGRMp | updatedKz1dk95 | updatedvkUBJh1
I can adjust the:
Slice gap. | updatedHj6apo5 | 2023-10-11 | updatedh7tJUL2 | 2023-10-11 | updated2kuTzpX | updatedMTjx2CV | updatedZBgnTrH
Number of slices  | updatedy0wJemW | 2023-10-11 | updatedBw4D3Ow | 2023-10-11 | updatedAXelQ6D | updatedBcAhvHb | updatedvYcEEZ8
Field of view (FOV) | updatedGYyuX3L | 2023-10-11 | updated3Bkw9Ap | 2023-10-11 | updatedzMq56eA | updatedIhx45Ot | updatedzfFhBGr
I can use flexible oversampling to ensure the entire anatomy is covered. | updated5TQ49B6 | 2023-10-11 | updateduR4lafV | 2023-10-11 | updatedhV9m1Wa | updatedlNMdCNb | updateddf41yhQ
I can display and hide:
Box | updatedlQFG6jC | 2023-10-11 | updatedyJyjACQ | 2023-10-11 | updatedhpofWve | updated7DOUCPR | updated3LnPZiP
3D view | updated7TPVmnN | 2023-10-11 | updatedspTLqGN | 2023-10-11 | updatedxsRIpNS | updatedDYxfEXv | updatedGuGWSUI
All midplanes | updatedh6kEhKA | 2023-10-11 | updatedcpv6DoU | 2023-10-11 | updatedhbeRBvs | updatedFIN47Kw | updated9MkTYLz
Stack | updatedimrhcsK | 2023-10-11 | updatedtNDp9b2 | 2023-10-11 | updatedWbWLt84 | updatedFthq820 | updatedc9KOoE9
Volume | updatediKTGrr3 | 2023-10-11 | updatedkIgMvOf | 2023-10-11 | updatedxaff2kI | updatedytmF7ke | updatedZ73byUJ
Slab | updatedJOvbMjM | 2023-10-11 | updatedsFiy0Ky | 2023-10-11 | updatedS0isneu | updatedzE1KpcG | updatedOXDXqHi
I can view the Dashboard to see the effects of the planned protocol on:
Scan time | updatedN9ZHfvU | 2023-10-11 | updatedM9a2aci | 2023-10-11 | updatedKOz7oQG | updatedzHGNVt5 | updatedHb0axKI
SAR | updatedyehH5jq | 2023-10-11 | updatedFeoKI74 | 2023-10-11 | updatedOWC2vSL | updatedk3iu04Z | updatedevIPBON
SED | updated9NqScKF | 2023-10-11 | updatedhZam38W | 2023-10-11 | updatedKASEQ50 | updatedcHsgtL1 | updatedLwJ6qKO
Rel SNR | updatedaRBTLXu | 2023-10-11 | updated2cR7uJx | 2023-10-11 | updatedVP2yO01 | updated7hVHW6P | updatedZkKfCPh
PNS | updatedDseM4xO | 2023-10-11 | updatedqFuwc5U | 2023-10-11 | updatedj0adnc5 | updatedh531GLA | updatedqgTY6nQ
Technical Room | updated | 2023-11-23 | updated | 2023-11-23 | updated | updated | updated
TR | updatedNlHdZRZ | 2023-10-11 | updatedtPhwmJG | 2023-10-11 | updatedUcjFr0o | updatedzXUbWDA | updatedE3o7mgv
I can view the SAR level for the scan. | updated7HbQ6nf | 2023-10-11 | updated1TMyxQe | 2023-10-11 | updatedu4j0Nfe | updatedojqRkyg | updated23fYi65
I can view the SED level for the examination. | updatedIFybGjZ | 2023-10-11 | updatedOrLqC5u | 2023-10-11 | updated60ay78e | updatedwD1fxkk | updatedEEQZvUN
I can use the buttons in the Dashboard to undo, redo, accept, reset, and cancel changes. | updatedgRmvOjd | 2023-10-11 | updatedR8RiiOW | 2023-10-11 | updatedPeAvPS1 | updatedfQsbypn | updatedWuNHAFt
I can view and change planning settings on the Summary tab:
FOV | updated4dbwv0z | 2023-10-11 | updated2Peaybq | 2023-10-11 | updatedDVavtkY | updatedoYaYagQ | updatedCYNOj8W
Voxel | updatedT6Kxi4U | 2023-10-11 | updatedXPbByD3 | 2023-10-11 | updatediGIU34U | updatedTjVeA3S | updatedg6U6c1q
Matrix | updatedaVuepVi | 2023-10-11 | updatedPZa90Vz | 2023-10-11 | updatedc8k3s1i | updatedipwWsnD | updateds5tfmfO
Slice thickness and gap | updatedemEwEqx | 2023-10-11 | updated1Lxzrv1 | 2023-10-11 | updatedvJpIbP1 | updatedGHYGWU9 | updatedTw0mgKX
NSA | updatedCuh29c7 | 2023-10-11 | updated6kyR6cl | 2023-10-11 | updatedvZgg7k6 | updated8fh0trc | updated87q2sPc
Fat Suppression (SPIR) | updatedB7rpCsS | 2023-10-11 | updated09v5jgR | 2023-10-11 | updatedkXPci50 | updated0cXRa7S | updated0lguNUl
I can view advanced parameter setting tabs. | updatedgzL3Pl3 | 2023-10-11 | updatedaDjUDbQ | 2023-10-11 | updatedfGSNqh4 | updated4POv9WD | updatedtVqIzuv
I can reset the sequence settings to their original state using the undo button. | updated0n9b0Wx | 2023-10-11 | updatedlSs9Ewa | 2023-10-11 | updatedNZE14dD | updatedv2vHXNu | updatedIYwxMqu
I can identify ExamCard items that use Propagate Coverage. | updatedRLV1KWA | 2023-10-11 | updatedBolsuxb | 2023-10-11 | updatedFLX7vrz | updatedHnYOF3a | updatedqA8os7u
I can view conflicts and access assistance on the Conflicts tab. | updatedAkN8jgg | 2023-10-11 | updated6GRLBD9 | 2023-10-11 | updatedKnAenZR | updateditTCE4U | updatedZNntVt0
I can enable AutoView for a sequence to view images during reconstruction. | updatedMqw23ap | 2023-10-11 | updatedatDpICH | 2023-10-11 | updatedcSrLYIS | updated1F54tqL | updatedVH8R2gC
I can identify sequences that have SmartLine (inline) postprocessing enabled. | updatedk5KLn4e | 2023-10-11 | updatedeu7SF1g | 2023-10-11 | updatedYFSp5Gb | updatedCnykEC7 | updatedmvWv08k
I can view and modify the Info page to add site-specific notes regarding the ExamCard and scan. | updatedpHlPE4v | 2023-10-11 | updatedY7vaVkv | 2023-10-11 | updated1Jdp7oJ | updatedkGZp4bv | updatedQ7g1bT9
Scan
I can manually start, pause, and restart a scan. | updatedyxagJ6p | 2023-10-11 | updatedaSs2r14 | 2023-10-11 | updatedL2i8uyV | updated4hfYlQ6 | updatedb1gKpsk
I recognize that pause scan and stop scan have different outcomes. | updatedeHLDR2W | 2023-10-11 | updatedM5qcVQh | 2023-10-11 | updatedII8WVAY | updatedJborLsy | updated4PK1LoE
I can view in the Patient Status area:
Patient name | updatedy7uWE3p | 2023-10-11 | updated7k1TXGU | 2023-10-11 | updated9AGywW9 | updatedutWsSfP | updatedvUNqnvc
Physiology signal (if connected) | updated9fbR7yu | 2023-10-11 | updatedVU0SvUe | 2023-10-11 | updatedJYCQsY8 | updateddenmigJ | updatedy8FRbP6
Scan progress bar | updatedUWpAzpo | 2023-10-11 | updatedxNoNIuY | 2023-10-11 | updateddCsjaE5 | updatedaGxA6Ed | updatedYYoDAhG
Exam card progress bar | updatedpWo2oMq | 2023-10-11 | updatedprI6eiH | 2023-10-11 | updatedUTAdQjc | updatedRxQ9bur | updatedj7udtdr
Message line | updatedpZl5Who | 2023-10-11 | updatedas06Ptm | 2023-10-11 | updatedvRywFG5 | updatedMdnJCcD | updatedwqVovnb
SED | updated9NqScKF | 2023-10-11 | updatedhZam38W | 2023-10-11 | updatedKASEQ50 | updatedcHsgtL1 | updatedLwJ6qKO
I can rescan failed scans. | updated5sDsA7j | 2023-10-11 | updated4w7RvLG | 2023-10-11 | updatedDRQ7m6F | updatedpsIAx8o | updatedS01FDSX
Viewing Images
ImageView
I can use ImageView to view images. | updated3nt3MNY | 2023-10-11 | updatedWHJnfGQ | 2023-10-11 | updatedNKCv3y4 | updatedIBJFTMk | updatedAlUJAXJ
I can switch between the thumbnail and ScanList views. | updatedH0YWrrT | 2023-10-11 | updateddHcryQb | 2023-10-11 | updatedUcOpjBa | updatedSAMfSkV | updatedubrxNEC
I can use the ImageView toolbar and the shortcut (right-click) menu to modify view settings.
Add and remove rows and columns | updated0OecDvL | 2023-10-11 | updatedxILCtXG | 2023-10-11 | updatedizyKW7N | updatedStFpzeX | updated9r1AEDT
Use standard layouts | updatednOoHmZa | 2023-10-11 | updatedJ7gfde5 | 2023-10-11 | updated6BOV0JV | updatedjsFCyfh | updateddsz2bVF
Play and pause a movie | updatedNw7981c | 2023-10-11 | updatedSDLQuqs | 2023-10-11 | updatedbH9HNl4 | updated065tydZ | updated4DucTdO
Create text box | updated86Q3PHA | 2023-10-11 | updated8aMT6Oi | 2023-10-11 | updatedbZIu4Mq | updatedq3C7z0c | updatedkRQlby6
Measure the image | updatedgWvLs1J | 2023-10-11 | updatedXZ0EIxL | 2023-10-11 | updated2s5ye7r | updatedK93AOTj | updatedVgEBku1
Select viewing display modes | updatedo1zDxXk | 2023-10-11 | updatedR9XMZ7e | 2023-10-11 | updatedAdoJfit | updatednm7MqJg | updatedSMm6SLb
Change settings | updated9n6Pydd | 2023-10-11 | updated2FaxzuT | 2023-10-11 | updatedquHrQMR | updatedGdDFa1q | updatedSoFOUuF
Review
I can display Review environment. | updatedO9UoFkm | 2023-10-11 | updatedO2NLpDE | 2023-10-11 | updateddfUtZAk | updatedqSMIo1k | updated0K6SrTi
I can switch between List view and Thumbnail view. | updatedr3X7zb1 | 2023-10-11 | updated2bj3ayl | 2023-10-11 | updatedQL0KBZP | updatedcbSPcOp | updated3LfTsFW
I can use the various methods to navigate the image viewports and change the way the viewports display images using options in the:
Menu bar | updated2gUZNFW | 2023-10-11 | updatedPLgQjFb | 2023-10-11 | updatedI8gwuAD | updatedTHm5y6Q | updatedaZ1fGEV
Panel controls | updatedSo6EkJ7 | 2023-10-11 | updatedE3j9btT | 2023-10-11 | updatedDAXsPwh | updatednkAxinf | updatedw2TuaRJ
Short cut (right-click) menus | updatedWJo21G8 | 2023-10-11 | updatedN1FBqzl | 2023-10-11 | updatednWLleDz | updatedq8IUUxy | updated9qnu7oB
Keyboard keys | updatedi3i9edF | 2023-10-11 | updated26unjQH | 2023-10-11 | updatedQlwfdOE | updatedocuKshl | updated3Bxn1Jk
I can use the mouse to:
Scroll | updatedRVEF8pm | 2023-10-11 | updatedxeJbH9E | 2023-10-11 | updatedNPm2WZ7 | updatedvg9DEBG | updatedoRf3pCY
Zoom the display (middle and right button) | updatedBThHd2y | 2023-10-11 | updatedghL2g0d | 2023-10-11 | updatedOaM1hhQ | updatedq9PE0Z5 | updatedfIuVBBn
Panel controls | updatedSo6EkJ7 | 2023-10-11 | updatedE3j9btT | 2023-10-11 | updatedDAXsPwh | updatednkAxinf | updatedw2TuaRJ
Change the window width and level | updatedvZCznlX | 2023-10-11 | updatedFlBot4C | 2023-10-11 | updatedm72Rbv6 | updatedhYMDFia | updatedSYXZAnf
Reset the window, zoom and pan | updatedG7GUSQH | 2023-10-11 | updatedAqTQXli | 2023-10-11 | updatedUOq74uQ | updated4bHhITk | updatedQvImoKb
I can use the Review toolbar and shortcut (right-click) menu to modify review settings.
Change the display to tiled or tabbed layout. | updatedHPJld67 | 2023-10-11 | updatedxQmmQqt | 2023-10-11 | updatedD1kaI50 | updatedTyuJWbx | updatedtiD971V
Link and unlink selected imaging series. | updatedfiN6Hnw | 2023-10-11 | updatedEG1gptM | 2023-10-11 | updatedoH4p4PR | updatediOQM75h | updatedwRZH3X6
Capture a screen image and save it as a DICOM file. | updatedgfuKxdg | 2023-10-11 | updatedJBz8iFK | 2023-10-11 | updateduPaNWJv | updatedjK1G1u6 | updatedDZ8Bkbm
Enable cross reference as:
Stack display | updatedS0AyxSc | 2023-10-11 | updatedYPDA3zs | 2023-10-11 | updatedgk3Hika | updatedDUMXn1p | updateda4v7Yrr
Box view | updatedz6vh3W1 | 2023-10-11 | updatedky26cBs | 2023-10-11 | updatedkeQLpft | updatedKuzwrmo | updatedQxA7hyk
Slice mode | updatedaSKgGjC | 2023-10-11 | updatedbFrn0Sg | 2023-10-11 | updatedPDepHHE | updatedNb4aZhn | updatedlOEnihT
3D mode | updatedLHgBRXx | 2023-10-11 | updatedSGqhbeS | 2023-10-11 | updatedyJmLVUo | updated2xl8LnE | updatedbP6Bxcc
I can use the Package Manager to switch between examinations/views and to stop the execution of packages. | updatedypyR3HG | 2023-10-11 | updatedJnCZKvG | 2023-10-11 | updatedtSk5Bx7 | updatedt67OBrr | updatedm5pwaci
I can display image information. | updatedAOuPSVZ | 2023-10-11 | updatedGlJrVsj | 2023-10-11 | updatedJDMytIs | updatedwNYMwHT | updatedtN6cMNj
I can expand Series information. | updatedCvP7QVM | 2023-10-11 | updatedee2IxFR | 2023-10-11 | updatedBfGO3iV | updated4MFewy3 | updated2XrUmqF
I can display and hide Review Planscan to show planning. | updatedgb4K8Pn | 2023-10-11 | updatedUvBMR7K | 2023-10-11 | updatedBZl4QJX | updated4ylGBWm | updatedfOABtK2
I can annotate an image to show ROI, add labels, and lines. | updatedlVQL3Om | 2023-10-11 | updateddc1Ftzr | 2023-10-11 | updatedC8HveMW | updatedaqkit98 | updatedMe6uHbc
I can use tools to measure in the image. | updatedWBFwWn8 | 2023-10-11 | updatedCPPVn7V | 2023-10-11 | updatedaWuT4yJ | updatediBzJVwu | updatedkkyk4th
I can use print screen to capture an image. | updatedfMoT2Ue | 2023-10-11 | updatedet0p0uU | 2023-10-11 | updatedQPPR9rO | updatedDBWzQFP | updatedbn4ewU9
I can use the Movie Toolbox to play, pause, and restart a movie. | updated66EUEd7 | 2023-10-11 | updatedP6vQcVO | 2023-10-11 | updatedk6YmnUT | updatedmJAfpc0 | updatedVjB1IrH
I can save the reformatted images to the database. | updatedG9avWnp | 2023-10-11 | updatedmlHcs1G | 2023-10-11 | updatedMT9N9Xe | updated8xyBTRe | updatedXRO9IiM
Postprocessing
VolumeView
I can use VolumeView to select render modes (algorithms) to calculate projections and reformats of the source images. | updatedI9ggC0k | 2023-10-11 | updatedt95Wk14 | 2023-10-11 | updatedCnAHo4F | updatedyvBqw7E | updatedXE2SnrL
I can choose the appropriate VolumeView render mode:
Maximum Intensity Projections (MIP) | updatedNgmtOzh | 2023-10-11 | updatedLYpMSTv | 2023-10-11 | updated9YZB5cz | updated3A18Nro | updatedcox6ago
Minimum Intensity Projections (MinIP) | updated6s9FQt9 | 2023-10-11 | updated2eF8pXd | 2023-10-11 | updatedlOdydZl | updatedCzJBYA1 | updatedFhqor63
Multiplanar Reformatting (MPR) rendering for 3D scans | updated5FIeD9b | 2023-10-11 | updatedhehprpf | 2023-10-11 | updatedSMK55aQ | updated82gQANk | updated2a2nuD5
Surface Rendering (shaded and unshaded surface) | updated2fSELgn | 2023-10-11 | updatedZ5ZzgXk | 2023-10-11 | updatedXw9kyf9 | updatedVzRKrIT | updated4cKZteU
I can use the tools in VolumeView to:
Navigate the view | updatedyejQel9 | 2023-10-11 | updateddFiLxyc | 2023-10-11 | updated8zrAWBn | updatedbvpcFo8 | updatedqrPmEN5
Navigate the reference images | updatedrBSXuJ9 | 2023-10-11 | updatedk2mTVUS | 2023-10-11 | updatedRsaToN6 | updatedeQ0GPRm | updated5Yj95er
Change the reference views and lines. | updatedxdtRRE0 | 2023-10-11 | updatedx68QrMH | 2023-10-11 | updatedzS23mDv | updatedC1K1f2S | updatedMVdK7aL
Change the layout of a view | updatedwygCWDs | 2023-10-11 | updatedl727aAv | 2023-10-11 | updatedXW5vfBz | updatedqB6dWSY | updatedke7tBpu
Draw contours. | updatedbxYYaCu | 2023-10-11 | updatedLu3bwEc | 2023-10-11 | updated1WKeJIZ | updatedBxlbIkh | updatedgOKWTSQ
Reset all settings | updated7iPkfzJ | 2023-10-11 | updatedDV0ZAIP | 2023-10-11 | updatedixYS4Fy | updatedcDSGIY5 | updatedk4WlYww
I can use presets:
Orientation | updatedxmyWcSl | 2023-10-11 | updatedyqsJm1p | 2023-10-11 | updated73SJbT0 | updatedfdfPaCc | updatedXx7TYc8
Zoom the display (middle and right button) | updatedBThHd2y | 2023-10-11 | updatedghL2g0d | 2023-10-11 | updatedOaM1hhQ | updatedq9PE0Z5 | updatedfIuVBBn
Slab thickness | updatedVYYunVu | 2023-10-11 | updatedcchVhKQ | 2023-10-11 | updatedp2X6YCx | updated8gOGnE2 | updatede6FEYYU
PicturePlus
I can use PicturePlus to apply a filter to images to customize the appearance of the image for the radiologists preferences. | updatedzE31oXW | 2023-10-11 | updatedpdvPxN9 | 2023-10-11 | updated2FDwjvg | updatedSNUS6rp | updatedFmlrlu1
I can apply a Picture Plus preset to the image. | updatedZxkOnPb | 2023-10-11 | updated4PCjq52 | 2023-10-11 | updatedRjMU3fF | updatedyTNWs05 | updatedXQcq345
I can use the mouse to adjust smoothing and edge enhancement. | updatedMvX8lOR | 2023-10-11 | updated1PYaune | 2023-10-11 | updateds3E9Cu9 | updatedXtzAYbe | updated7TCmvVy
I can create a custom preset to define smoothing and edge enhancement values. | updatedMLmMwtv | 2023-10-11 | updatedCsM49WH | 2023-10-11 | updatedM3ghrn1 | updated8FHZOvu | updatedybYArmp
I can generate the modified series to save the new imaging series to the examination. | updated1exYGLz | 2023-10-11 | updatedzHsptti | 2023-10-11 | updatedBnsCDqr | updatedIIS63qW | updatedDEHerbq
I recognize a series with prefix “e” in the series name has been enhanced by PicturePlus. | updated4awIvge | 2023-10-11 | updatedtgONotC | 2023-10-11 | updatedUpxqyAU | updatedMwjjy6J | updatedlTWFnOh
MobiView
I can use the MobiView postprocessing package to fuse multi-station datasets. | updatedITCjlSF | 2023-10-11 | updatedmv4D8Fs | 2023-10-11 | updatedqSqb7eY | updatediVHZ2PP | updateds8BdBwZ
I recognize that images must be acquired as different stacks in Head-Feet direction in order to use the MobiView postprocessing package. | updatedEF3Os9l | 2023-10-11 | updatedENRLtzl | 2023-10-11 | updateds46R31U | updatedNt1jPD0 | updated8WM7HCn
I recognize that it is a best practice to keep the source images as well as the fused image. | updatedpY4Qr7u | 2023-10-11 | updatedODYXzHK | 2023-10-11 | updatedT7U4Jz1 | updatedcorhHRz | updatedmPiy93k
I can check for artifacts before fusing images so that they are not mistakenly interpreted as pathologies. | updatedqAjo2K3 | 2023-10-11 | updatedaW57lY0 | 2023-10-11 | updatedg5dNLuV | updated8mExPeI | updatedSVJf2k0
Prior to fusing, I can select the best window option for the image series:
None | updatedOwP0JLp | 2023-10-11 | updatedhh7LZIx | 2023-10-11 | updatedb2oMQCl | updatedIYkHFXY | updatedSxvGX4d
Automatic | updatedB3kJAdV | 2023-10-11 | updatedWeQbtLC | 2023-10-11 | updatedTdn04dL | updatedeGOSirj | updatedOlD1iDn
MIP | updated02VuRLs | 2023-10-11 | updatedjoecBmi | 2023-10-11 | updatedHKh631k | updatedCvWXLJd | updatedzDNCPEV
I can select the appropriate fuse mode for the examination:
Fuse Hardcut | updatedtl9b9Mz | 2023-10-11 | updatedktYlVoW | 2023-10-11 | updated0tmP2eI | updatedmSR9nqo | updated78Yh8yD
Fuse Smooth | updateds2NbOJr | 2023-10-11 | updatedExMnhRb | 2023-10-11 | updatedNtEcQfb | updatedNtJRqLR | updatedoLQiPCQ
Merge series | updatedLhEP15O | 2023-10-11 | updated4InU0ZW | 2023-10-11 | updatedWI9iY8O | updated90nbkzT | updated7cqJDVH
I can save the fused images to the patient database. | updatedY0yLBLg | 2023-10-11 | updatedoy8XwwU | 2023-10-11 | updatedxh1NQQz | updatedwn9Ktpa | updatedSeeJMS7
I can fuse a multi-station imaging series that includes multiple image types. | updatedItFWRel | 2023-10-11 | updatedrJcqZXq | 2023-10-11 | updatedwkf9MBu | updatedhlUASbi | updatedvseFKYR
Administration
Saving examination data
I can save the examination to: | updatedOYO68WD | 2023-10-11 | updated90CXxVG | 2023-10-11 | updatedYprkcK7 | updatedegqa6Mv | updatedMiESYyU
Local patient database | updated7gdODMY | 2023-10-11 | updated6SWkWdu | 2023-10-11 | updatedMOWTJht | updatedpEycn7O | updatedMCDagEK
Queue DVD | updatedOfC0VZF | 2023-10-11 | updatedAMFey6V | 2023-10-11 | updatedR0MaJnh | updateddI733z9 | updatedJCMQ4w6
DICOM network node | updatedJ59VOD7 | 2023-10-11 | updatedBKnVzCp | 2023-10-11 | updatedXIRnLdP | updatedJS5LJp0 | updatedgfOc1P2
PACS | updatedjUrXSAl | 2023-10-11 | updatedwlkxR3X | 2023-10-11 | updatedtVTrgbn | updatedg5nNj09 | updatedUWhaahl
External hard drive | updatedDkjSGSv | 2023-10-11 | updatedX01Tjc2 | 2023-10-11 | updatedw6t41A4 | updated5xPphKz | updatedT3AZrYb
I can archive and delete examinations from the patient database. | updatedHRMmEGI | 2023-10-11 | updatedy1pxhZW | 2023-10-11 | updatedvDuRJpf | updated4mWQeTn | updatedQkQItxb
I can enable Autopush to DICOM node. | updatedsUEimry | 2023-10-11 | updatedAkl9EAf | 2023-10-11 | updated47OEmPr | updatedtJQwphr | updatedDvljvQi
I can print:
The entire examination | updatedpK48c15 | 2023-10-11 | updatedPr9Ly3I | 2023-10-11 | updated9nyPtyU | updatedSLfAygP | updatedIr5Z7DO
Selected images | updatedRdt42mc | 2023-10-11 | updatedesf1mAE | 2023-10-11 | updatedmBPhX3q | updatedILMci0e | updated4qf8xju
Selected series | updatedmxYwTlA | 2023-10-11 | updatedD3xF92p | 2023-10-11 | updatedKT6FeZ2 | updatedSxxGULG | updatedJS1QD8O
I can use Split Exam to save the examination images as multiple scan instances. | updatedIkcMfCm | 2023-10-11 | updatedlW5Zc0v | 2023-10-11 | updatedMwy3RPV | updatedd5u0z7p | updatedUeILumC
Storing and retrieving data from a USB drive | updatedEaZyIhV | 2023-10-11 | updatedmJJULjx | 2023-10-11 | updatedVRD9tmM | updatedX0Ci3mr | updated0PKAOZA
I can enable access to a removable USB drive. | updatedQsbZBgO | 2023-10-11 | updatedATcmtRE | 2023-10-11 | updatedVmjBGbV | updatedvAlygay | updatedamTPgr8
I can import and export an ExamCard stored to a USB drive. | updatedjlPige7 | 2023-10-11 | updatedogwTjcS | 2023-10-11 | updatedHsLbyqX | updatedciyFpzg | updatedcFcbKtw
I can back-up the ExamCard database to a USB drive. | updated8zsn1th | 2023-10-11 | updatedvE1OBjy | 2023-10-11 | updatedebZODRM | updatedgsqCs06 | updatedi7UhieW
Data management
I can send and retrieve examination data from the data archive system (for example PACS). | updated3ShNZUo | 2023-10-11 | updatedq3kHche | 2023-10-11 | updatedkwoQxGj | updatedAykOH3O | updatedJFSOx6n
I can send data to the data archive system and remove it from the database on the MR system to maintain good system performance. | updatedPXenIvG | 2023-10-11 | updated5TplBHZ | 2023-10-11 | updatedPewnS0k | updatedXOipoTP | updatedqrOOkxa
I can save an examination to external media. | updatedUKEHY2A | 2023-10-11 | updatedojGmq0b | 2023-10-11 | updatedqWzUfTb | updatedRAHrSpc | updatedFcKKDMx
Examinations
Routine Brain
I can position the patient for a brain examination. | updatednC6MCAO | 2023-10-11 | updatedmhJF8qB | 2023-10-11 | updatedsrcOFjn | updatedIp8jSbS | updateddeXFmKI
I recognize that some passive headsets may cause image artifacts. | updatedMezQX99 | 2023-10-11 | updated7eMVjlg | 2023-10-11 | updatedveYyZEV | updatedejnVHlb | updatedhGEW1me
I can position the Head coil and accessories. | updatede1MNZxn | 2023-10-11 | updatedy24Ck7S | 2023-10-11 | updatednHU7R8i | updatedyU8FVHQ | updatedNjufyoX
I can add a routine brain Exam Card to the Scan List. | updatedn59MlFd | 2023-10-11 | updatedzZ3lfhO | 2023-10-11 | updatedsQAkDFG | updatedtM0tvHL | updatedsb574gV
I can plan the brain examination. | updatedeAe5zec | 2023-10-11 | updated06R6OGb | 2023-10-11 | updatedtsEontq | updatede9X7H56 | updatedMFKvfAk
I recognize that, when using SENSE, I must pay attention to the foldover direction and oversampling area to avoid foldover of anatomy outside the oversampling area. | updatedi376G5J | 2023-10-11 | updatedmJYtSG0 | 2023-10-11 | updatedPFbaI6O | updated3d9TO3j | updatedyHERwt7
I can post-process the brain examination using the Diffusion package. | updatedEflAGQJ | 2023-10-11 | updatedRzloLzI | 2023-10-11 | updatedMjGfUb8 | updatedR4aNUY0 | updatedybIp6Tr
Knee
See Knee Routine Workflow Guide | updatedfXt5PMc | 2023-10-11 | updatedbDtZngt | 2023-10-11 | updatedLG3aXYS | updated5URmb9p | updatedwSQqPSQ
I can position the patient for a knee examination. | updatedD4mRc4C | 2023-10-11 | updated9poLUwP | 2023-10-11 | updatedtkFEF2n | updatedCs4MbwX | updatedO8cg7Pv
I can position the knee coil and accessories to reduce motion and improve patient comfort. | updatedYPlHO6c | 2023-10-11 | updatedI5WhiXI | 2023-10-11 | updatedD8bLTIV | updatedlVbRsOd | updatedGILQg1b
I can add the knee Exam Card to the Scan List. | updatedctzm1Sb | 2023-10-11 | updatedQ9NSkIK | 2023-10-11 | updatedA49Kr3a | updatedrlGb3FK | updatedbKbywIj
I can plan the knee examination. | updatedOAgpiJR | 2023-10-11 | updatedCA5e7Bo | 2023-10-11 | updatedZCc6ytd | updated6Sw6l3I | updatedaeO7Jqc
I can post-process the examination images. | updatedwirt261 | 2023-10-11 | updatedf7pNZUz | 2023-10-11 | updatedFjEiOHD | updated7KohZsM | updatedZKOfYEx
Liver
I can position the patient for an abdomen examination. | updatedY98XAKL | 2023-10-11 | updatedtBuTuu6 | 2023-10-11 | updated9jbUpwR | updatedW4m4A4A | updatedGb3uGtO
I can position the abdomen coil and accessories to reduce motion and improve patient comfort. | updated2hS6dhw | 2023-10-11 | updatedtr7kNad | 2023-10-11 | updated916dXEn | updatedO4Kod26 | updatedPBuR2cw
I can position the respiratory sensor. | updatedCTuUGEJ | 2023-10-11 | updated8VlFLM1 | 2023-10-11 | updatedm5LNuLO | updatedyw7OEpV | updatedUkhY7BG
I can add the abdomen ExamCard to the ScanList. | updatedTwRlmNG | 2023-10-11 | updatedjIdhwuS | 2023-10-11 | updated4KoyVcs | updatedvWhTfwp | updatedca2ivXg
I can plan the abdomen examination. | updatedw5drWgJ | 2023-10-11 | updatedrtd3RVl | 2023-10-11 | updatedhPCytu2 | updatedxN2xEe2 | updated9N6p78o
I can use breathhold and free breathing techniques to perform the examination. | updatedNJ1Pojm | 2023-10-11 | updatedUjglnC2 | 2023-10-11 | updatedoZqkKUc | updatedsKnNJ7Q | updatedPt114RM
I can use AutoVoice (if purchased) to communicate breathhold instructions to the patient. | updatedCL5QzuB | 2023-10-11 | updatedW37XZrI | 2023-10-11 | updated8J08EgG | updatedipLkXmj | updated1bQPCwv
I can post-process the abdomen images. | updatedpMoqon7 | 2023-10-11 | updatedyAKfqrP | 2023-10-11 | updatedYvSsXjc | updated8vOa8Zf | updatedzesp36Y
Spine
Refer to the Spine Workflow guide | updatedUIqTScb | 2023-10-11 | updatedfHewmYv | 2023-10-11 | updatedlq8zSXE | updated4hyX7kC | updatedwuWmiZy
I can position the patient for a spine examination. | updated4U30SMX | 2023-10-11 | updatedeCd1kyg | 2023-10-11 | updatedtk90Wf2 | updatedXNmk7rw | updatedn346mY7
I can position the spine coil and accessories to reduce motion and improve patient comfort. | updated5A25PXk | 2023-10-11 | updatedMPsjwFI | 2023-10-11 | updatedDRLBkuZ | updatedLt4MGFr | updatedCN29pTu
I can add the spine ExamCard to the ScanList. | updatedH66FLjA | 2023-10-11 | updatedIrvTYcc | 2023-10-11 | updatedr1ZrdGw | updated2lbl58B | updated4sEFFSW
I can plan the spine examination. | updatedhShGFcd | 2023-10-11 | updatedPUkr5Qt | 2023-10-11 | updated5nQ068y | updatedebRiPZ9 | updateduqdbAwl
I can post-process the spine images:
Use MobiView to fuse images | updatedR0OyRvx | 2023-10-11 | updatedxevTwMz | 2023-10-11 | updated9Jg5692 | updatedqtinGa1 | updatedBZeNbAV
Use PicturePlus to enhance images | updatedDnoZZkY | 2023-10-11 | updatedPmYCtfp | 2023-10-11 | updatedHgkC7Jo | updatedqVNqGQe | updatedEHL1bxM
Use VolumeView for MPR and MIP reconstruction | updatedfYTlDny | 2023-10-11 | updatedhe01wjt | 2023-10-11 | updatedqNo4TPf | updated7QEbya1 | updatedB3RaBT9
Ankle
I can position the patient for an ankle examination. | updatedFdFHZQJ | 2023-10-11 | updatedbGVYqJy | 2023-10-11 | updated3U6sx6w | updatedbuYYnUp | updatedX5wY8DK
I can position the ankle coil and accessories to reduce motion and improve patient comfort. | updated6X23Dex | 2023-10-11 | updated6fIjg1A | 2023-10-11 | updatedYC0KN6m | updatedw3HkjQe | updatedX80xeoL
I can add the ankle ExamCard to the ScanList. | updatedU5os1IO | 2023-10-11 | updatedFpooNmp | 2023-10-11 | updatedGTLb8og | updatedun4b6q7 | updatedsumNM8Q
I can plan the ankle examination. | updatedHvp8NeV | 2023-10-11 | updatedJLXm6KD | 2023-10-11 | updatedwxYEpQk | updatedBoQdHyw | updatedFzIHm16
Position Shim volume | updatedgzrT7vr | 2023-10-11 | updatedpExTeeG | 2023-10-11 | updatedDfdKeq7 | updatedRQkPjC6 | updatedXQ41uBQ
I can post-process the spine images | updatedPbdR2BE | 2023-10-11 | updatedvH0bk2X | 2023-10-11 | updatednWB61Ph | updatedMF5D3Zu | updatedzBli5O2