## philips_mri_competencies
row_name | intitals | date | competency_comments | observed | supervised | independently | comments | user_id
Essential Information
Able to turn scanner on from complete shutdown | updatedupdated5yUNihf | 2023-11-24 | updatedupdated4fdMmv2 | 2023-11-24 | updatedupdated7htBooE | updatedupdatedSG3dwjf | updatedupdatedPCd93pM | 25
Able to turn scanner on form stand-by-mode | updatedupdatedJcZbxtX | 2023-11-24 | updatedupdatedQ5qTBQJ | 2023-11-24 | updatedupdatedrMCRZsW | updatedupdatedXVnVhTq | updatedupdatedfh7Wk2d | 25
Able to turn scanner off by complete shutdown | updatedupdated2FyKFeG | 2023-11-24 | updatedupdatedNR67Miy | 2023-11-24 | updatedupdatedXE97dd6 | updatedupdatedkZl2ixO | updatedupdatedpuqJdfp | 25
Able to turn scanner off into stand-by mode | updatedupdatedUFesggH | 2023-11-24 | updatedupdatedh9UzdgP | 2023-11-24 | updatedupdated8eH8kXl | updatedupdatedug1UsBl | updatedupdatedUS0H5h5 | 25
Able to turn on/off remote consoles | updatedupdated5R9fdlS | 2023-11-24 | updatedupdatedpZPgteT | 2023-11-24 | updatedupdatedq4G40fv | updatedupdatedOClAP2Z | updatedupdated54skeik | 25
Understand local data storage issues | updatedupdatedooc8YzQ | 2023-11-24 | updatedupdatedzLHBoSX | 2023-11-24 | updatedupdatediqrwGXc | updatedupdatedD1ZMtO0 | updatedupdatedWb0HwcL | 25
Know location of protocols on Quality system | updatedupdatedlniWPQt | 2023-11-24 | updatedupdatedklQ2V5p | 2023-11-24 | updatedupdatedujF4fmn | updatedupdatedqlOiqGb | updatedupdatediUvcbiW | 25
Able to use patient table | updatedupdatedFQ46T1R | 2023-11-24 | updatedupdatedbJfSgkz | 2023-11-24 | updatedupdated63njGHL | updatedupdatednZmdmq7 | updatedupdatedkgkSlWs | 25
Scanner Room
I can use the controls of the User Interface Module (UIM) and tabletop to:
I can manually move the tabletop out of the bore using the tabletop release button. | updatedupdatedR1TQT0I | 2023-11-24 | updatedupdated97cS6b3 | 2023-11-24 | updatedupdatedXa23Iff | updatedupdated6SAZ5zu | updatedupdated04QncSH | 25
I can safely use the laser light to center to the anatomy of interest for the examination. | updatedupdatedSj6OOmB | 2023-11-24 | updatedupdatedyuX0Fse | 2023-11-24 | updatedupdatedeu9vxAs | updatedupdatedGnvuuKQ | updatedupdatedmsUFPKQ | 25
I can move the table to isocenter. | updatedupdated6MYmVzW | 2023-11-24 | updatedupdatedwzqtKdv | 2023-11-24 | updatedupdated4TzHBFe | updatedupdatedBjStaOq | updatedupdatedpRdu1Jh | 25
I can use the markers on the tabletop to note the extent of table movement. | updatedupdatedtkzhsPX | 2023-11-24 | updatedupdated302iuLw | 2023-11-24 | updatedupdatedVKq4x0X | updatedupdated5O21cQa | updatedupdatedLaIvGJX | 25
I can state the weight limit for the tabletop. (250kg) | updatedupdated6qYR2FZ | 2023-11-24 | updatedupdated3fTwWpl | 2023-11-24 | updatedupdated79B9uUv | updatedupdatedXUCYqeD | updatedupdatedEMpv9jU | 25
I can locate the head set and nurse call connection sockets | updatedupdated66pxKR1 | 2023-11-24 | updatedupdatedpMGGLsZ | 2023-11-24 | updatedupdatedHi8BYWm | updatedupdatedIkjRwRy | updatedupdatedC4opLq0 | 25
VCG
I can identify VCG components. | updatedupdatedk8tHFlg | 2023-11-24 | updatedupdatedIcXbAlU | 2023-11-24 | updatedupdatediZ3UIla | updatedupdatedR88h7Uk | updatedupdatedJ0q25tk | 25
I can position the ECG electrodes on the patient. | updatedupdated4P1CSKp | 2023-11-24 | updatedupdatedIpWP5GT | 2023-11-24 | updatedupdatedlA8mAjq | updatedupdatedgS4sta2 | updatedupdatedaiqzvxZ | 25
I can position the wireless module on the patient. | updatedupdatedkJPLt3G | 2023-11-24 | updatedupdatedYk3MSmV | 2023-11-24 | updatedupdatedHESoohT | updatedupdatedpkfiY2T | updatedupdateduo6rKmy | 25
I recognize that the VCG is not used for patient monitoring. | updatedupdated3GStwut | 2023-11-24 | updatedupdatedYqJugpM | 2023-11-24 | updatedupdateduHG7fwR | updatedupdated1UbbbPr | updatedupdated1w90p8X | 25
I can change and charge the battery on VCG module. | updatedupdatedST3Gh5F | 2023-11-24 | updatedupdatedj5Abbsk | 2023-11-24 | updatedupdated518mka0 | updatedupdatedkY3I8Xh | updatedupdatedszBAdXQ | 25
I can change the wireless network channel used by the VCG. | updatedupdatedKvmxa6U | 2023-11-24 | updatedupdated3b6s7eQ | 2023-11-24 | updatedupdatedLfR1YZ9 | updatedupdatedikHPJAP | updatedupdatedS1wiLbw | 25
Respiratory sensor
I can identify the components of the respiratory sensor. | updatedupdatedBo0WOl8 | 2023-11-24 | updatedupdatedllZy5OF | 2023-11-24 | updatedupdatedV4kmh4v | updatedupdatedmJQYjQb | updatedupdatedtlfR00B | 25
I can position the respiratory sensor on the patient. | updatedupdatedbe32i4V | 2023-11-24 | updatedupdatedyYXaogl | 2023-11-24 | updatedupdatedMQwmEBf | updatedupdatedyNuHLxe | updatedupdatedSfsjnuY | 25
I can change and charge the battery on respiratory sensor module. | updatedupdatedqmSPyup | 2023-11-24 | updatedupdatedSDZ9zkS | 2023-11-24 | updatedupdatedCxtV3fk | updatedupdated0v7bSP4 | updatedupdatedc9iDxQh | 25
I can change the wireless network channel used by the respiratory sensor. | updatedupdatedg35shJ1 | 2023-11-24 | updatedupdated0relIFN | 2023-11-24 | updatedupdatedt0QIezH | updatedupdated8lzuhFr | updatedupdatedU7snGey | 25
Technical Room
I recognize that the MR system computer in the technical room controls the gradient amplifiers, magnet cooling system, RF transmitter, and receiver. | updatedupdatedc1dt4O8 | 2023-11-24 | updatedupdatedsqWgi8Q | 2023-11-24 | updatedupdatedL5Jj0x7 | updatedupdatedVpYqwMo | updatedupdatedG81ELyL | 25
I know how to contact a remote service engineer who can supervise a full system shutdown when it is required and advised by the remote service engineer. | updatedupdatedM4e1fCQ | 2023-11-24 | updatedupdatedq5Zb2I0 | 2023-11-24 | updatedupdatedqhZLbVp | updatedupdatedwOqz6QG | updatedupdatedJJcJTye | 25
Operator Room
Helium Level and PIQT
I can locate the helium level display. | updatedupdatedlpvqmm4 | 2023-11-24 | updatedupdatedik42SHk | 2023-11-24 | updatedupdatedjXPp8Bu | updatedupdatedMbXq6qP | updatedupdatedBRgy1UH | 25
I can respond to low helium levels message and notify. | updatedupdatedErTQv5i | 2023-11-24 | updatedupdated2AW2P5k | 2023-11-24 | updatedupdatedGTw8WDS | updatedupdatedYmAUptO | updatedupdatedbyaEhE4 | 25
I can follow Periodic Image Quality Testing (PIQT) procedures to perform quality assurance testing. | updatedupdatedCfPOtCm | 2023-11-24 | updatedupdated9wGpZUS | 2023-11-24 | updatedupdateduNQt5Vh | updatedupdatedoAJgyw4 | updatedupdateddRRzsbv | 25
Communication with Patient
I can use the intercom system to:
I can use the intercom system to communicate with the patient. | updatedupdatedV3JoXVu | 2023-11-24 | updatedupdatedTuITtgj | 2023-11-24 | updatedupdatedVgeP3Gt | updatedupdatedXZt01px | updatedupdatedUuTjbtL | 25
Stop and resume table movement in an emergency | updatedupdatedFl06beI | 2023-11-24 | updatedupdated6YAE8kj | 2023-11-24 | updatedupdatedL5UYbbh | updatedupdated7Wd1dMI | updatedupdatedHLY2ydG | 25
Adjust the music volume | updatedupdatedioIJCdy | 2023-11-24 | updatedupdatedmj3ZeOf | 2023-11-24 | updatedupdatedcvwEeET | updatedupdatedmkwvX0U | updatedupdatedfmYOvHx | 25
Adjust the talk and listen volume | updatedupdatedHyvEOqs | 2023-11-24 | updatedupdatedF5rvBtr | 2023-11-24 | updatedupdatedBKXbLbB | updatedupdated7Neig17 | updatedupdatedoNGvVnW | 25
Turn the music on and off | updatedupdatedg2EOmkv | 2023-11-24 | updatedupdated6l9c9PS | 2023-11-24 | updatedupdatedqzaE46p | updatedupdatedYad1JFK | updatedupdatedD653wsB | 25
View the nurse call light ring | updatedupdatedJyOawMq | 2023-11-24 | updatedupdatedYOpAqQw | 2023-11-24 | updatedupdatedhE7TTL5 | updatedupdatedrRJRkFW | updatedupdatedTHczbtH | 25
I can visually monitor the patient during an examination | updatedupdatedxOxxp6r | 2023-11-24 | updatedupdatedOgwk7Ye | 2023-11-24 | updatedupdatedIvbDHBG | updatedupdated30KyCMR | updatedupdatedz15Huxe | 25
I can pause and resume a scan so that I can enter the scan room during the examination. | updatedupdated0gaULwV | 2023-11-24 | updatedupdatedhcxNai4 | 2023-11-24 | updatedupdatedLZDSWnU | updatedupdatedV9bduO7 | updatedupdatedHQhzTKr | 25
Online Help and instructions for use
I can display and navigate the online help. | updatedupdatedj72k0Zf | 2023-11-24 | updatedupdatednN3FF2V | 2023-11-24 | updatedupdatedFUbUZFl | updatedupdatedkmXXkoe | updatedupdatedOKTTsq4 | 25
I can access parameter help via the F1 key. | updatedupdatedytTXKtX | 2023-11-24 | updatedupdatedgSIGdLc | 2023-11-24 | updatedupdated85pcLlI | updatedupdatedPoBlphr | updatedupdated8CfGU77 | 25
I can find and navigate the Instructions for Use. | updatedupdatedqh1koPD | 2023-11-24 | updatedupdatedaCT87ON | 2023-11-24 | updatedupdatedBio83OK | updatedupdatedIbciyka | updatedupdatedf97aGk7 | 25
I can find additional information on the info page. | updatedupdatedDn3gAGx | 2023-11-24 | updatedupdatedBGSOPPe | 2023-11-24 | updatedupdatedhJhHCDL | updatedupdatedrNiw7zD | updatedupdatedo4eCf57 | 25
I can display information about the coils for my system | updatedupdatedBWmV8XD | 2023-11-24 | updatedupdateduYajZcR | 2023-11-24 | updatedupdatedDAZWelf | updatedupdatedPI44UsV | updatedupdated0Ruk0gD | 25
Operator Console
Navigating the interface and using the mouse functions
I can navigate the user interface to:
Enter a new patient | updatedupdatedpobSaZb | 2023-11-24 | updatedupdated8aHJuJT | 2023-11-24 | updatedupdatedcQSKaEV | updatedupdatedRR9RPqe | updatedupdatedvFEwNNJ | 25
View the Exam Card databases | updatedupdated4gSqosi | 2023-11-24 | updatedupdatedMOUhfg5 | 2023-11-24 | updatedupdatedTE60r16 | updatedupdatedAuxBbc4 | updatedupdatedz2DavD9 | 25
View the Scan List | updatedupdatedx3aKmFB | 2023-11-24 | updatedupdatedHmf7dXn | 2023-11-24 | updatedupdated1FskEhw | updatedupdatedWI7dhiD | updatedupdatedTk4gZ2Z | 25
Review examination images | updatedupdatedhRRb8vT | 2023-11-24 | updatedupdatedvFUJNS9 | 2023-11-24 | updatedupdatedx6k9ffL | updatedupdatedhB4ur8S | updatedupdatedgvCJguh | 25
Switch between list view and thumbnail view | updatedupdatedFDIfTGv | 2023-11-24 | updatedupdatedY1XYiLd | 2023-11-24 | updatedupdatedfKpuf93 | updatedupdatedMkAmZDD | updatedupdatedWCQL627 | 25
I can use the mouse to:
View the shortcut menu (right-click) | updatedupdatedkv2S0Sm | 2023-11-24 | updatedupdatedIv2qIzn | 2023-11-24 | updatedupdatedItoTcMq | updatedupdatedtX6BIFj | updatedupdatedt198yK9 | 25
Window the display (middle button) | updatedupdatedQuh8aEA | 2023-11-24 | updatedupdatedUGh9BHo | 2023-11-24 | updatedupdated7oOBWPk | updatedupdated7HITcjO | updatedupdatedsvUnxAB | 25
Zoom the display (middle and right button) | updatedupdatedYggt07m | 2023-11-24 | updatedupdatedrVoAZUS | 2023-11-24 | updatedupdated2IgeZZa | updatedupdatedwAiHlgl | updatedupdatedgoOUjqz | 25
Pan the display (left and middle button) | updatedupdatedS29pma2 | 2023-11-24 | updatedupdatedbsE2Hmk | 2023-11-24 | updatedupdatedFKTCPMw | updatedupdatedSkNnWBa | updatedupdatedwkEA9gg | 25
Adjusting patient ventilation control
I can view the patient ventilation control. | updatedupdatedtj2AUrb | 2023-11-24 | updatedupdatedxLhomSm | 2023-11-24 | updatedupdatedS7QC5yQ | updatedupdatedvRkGmd4 | updatedupdatedxsQHZuc | 25
I can adjust the patient ventilation as needed for patient comfort:
Using controls on the system and console. From the UIM. | updatedupdatedbVOEivy | 2023-11-24 | updatedupdateduuTEQWa | 2023-11-24 | updatedupdatedVRejAwJ | updatedupdatedeItQW0c | updatedupdatedr7GJ8Fh | 25
I recognize the recommended patient ventilation level is Level 5. | updatedupdatedPZulXQm | 2023-11-24 | updatedupdatedakSyWPR | 2023-11-24 | updatedupdatedw1CjDN0 | updatedupdatedlNN4QHe | updatedupdatedJKi85vY | 25
Patient
I can enter a new patient for scanning:
I can enter a new patient for scanning. | updatedupdatedVLbOuCn | 2023-11-24 | updatedupdatedHRXPRpc | 2023-11-24 | updatedupdatedevqRFIR | updatedupdated21XePdH | updatedupdated8X3MFGG | 25
I can select from the RIS, a patient for scanning. (If applicable) | updatedupdatedGjlCQrW | 2023-11-24 | updatedupdatedKTj2KHx | 2023-11-24 | updatedupdatede9kDMNM | updatedupdated2eGApDA | updatedupdatedzHOtmeA | 25
I recognize that the system will scan in Normal SAR mode by default when the Pregnant Yes check box is selected. | updatedupdatedisWa9TA | 2023-11-24 | updatedupdatedm4RFGPy | 2023-11-24 | updatedupdatedYmM60eM | updatedupdatedowGlwQw | updatedupdatedVSTB3oL | 25
I can use Scan Wise Implant to safely enter a new patient who has an MR Safe or MR Conditional implant. | updatedupdatedCvVCU9k | 2023-11-24 | updatedupdatedmXOjAOA | 2023-11-24 | updatedupdatedYIy03OT | updatedupdated3Vw1qs8 | updatedupdated2HeEoBu | 25
I can navigate the patient tab to:
View the current patient | updatedupdatedXVCVPU4 | 2023-11-24 | updatedupdatedshaxJhB | 2023-11-24 | updatedupdatedRcmYsf8 | updatedupdatedAJLkoH3 | updatedupdateddBTQDKV | 25
Review the previous patient | updatedupdatedtoqUeJm | 2023-11-24 | updatedupdatedgG1ghxB | 2023-11-24 | updatedupdatedhFDnxYB | updatedupdatedrC89Iu2 | updatedupdated2r8OuaX | 25
Preset protocol database
I recognize the types of Exam Cards and sequences contained in each Exam Card database
Philips preset procedures and Example Cards | updatedupdated9CppR8d | 2023-11-24 | updatedupdatedIfr1G3W | 2023-11-24 | updatedupdatedcmMMcq8 | updatedupdatedihbqi6B | updatedupdated1nSEyIo | 25
Hospital | updatedupdatedJZ7S3km | 2023-11-24 | updatedupdatedRUR1ddz | 2023-11-24 | updatedupdatedfUQaK4g | updatedupdatedwdv3RU8 | updatedupdatedhtPBvsJ | 25
Other | updatedupdatedsQ7oibN | 2023-11-24 | updatedupdatedjlQ8gO4 | 2023-11-24 | updatedupdatedaA9qzTj | updatedupdatedDfRuoGK | updatedupdatedvU20WPU | 25
I can display and navigate the Exam Card database to find an Exam Card or sequence:
I can view sequences in an Exam Card. | updatedupdateddZAnkZd | 2023-11-24 | updatedupdatedbGJcPP9 | 2023-11-24 | updatedupdated5L7bxQ0 | updatedupdatedOfc7WaM | updatedupdatedQ4mEuhO | 25
I can add the following to the Scan List:
Exam Card | updatedupdatedWTeDsDr | 2023-11-24 | updatedupdatedkRfsqeP | 2023-11-24 | updatedupdatedzr5xINI | updatedupdatedTpnYckA | updatedupdatedgdBIKcQ | 25
Example Card (Philips predefined Exam Card) | updatedupdatedKhzTLql | 2023-11-24 | updatedupdated7jEkk3z | 2023-11-24 | updatedupdatedwLo4xFW | updatedupdated6Cjlg9D | updatedupdated2jhIR9C | 25
Scan Protocols
Preset protocol database | updatedupdated | 2023-11-24 | updatedupdated | 2023-11-24 | updatedupdated | updatedupdated | updatedupdated | 25
I can save an Exam Card to the:
Hospital database | updatedupdatedf0LgZhn | 2023-11-24 | updatedupdatedO3cKEm6 | 2023-11-24 | updatedupdatedd3Rf5NS | updatedupdatedFbq3SEU | updatedupdatedJpsJa7B | 25
To another database | updatedupdatedaK9q4CN | 2023-11-24 | updatedupdatedOENVpGb | 2023-11-24 | updatedupdated6vG1vbq | updatedupdatedTPkNDRq | updatedupdated81FCcNr | 25
I can use a password to restrict access to the Hospital Exam Card database. | updatedupdatedX8YkUSV | 2023-11-24 | updatedupdated1SIjGq4 | 2023-11-24 | updatedupdatedOZWIpfU | updatedupdatedkjJsCz2 | updatedupdatedtomfnxH | 25
I can unlock the Hospital database to save an Exam Card (if needed). | updatedupdated1O5Bsoh | 2023-11-24 | updatedupdatedXqSxibS | 2023-11-24 | updatedupdatedZ3cSh8p | updatedupdatedVBorqZC | updatedupdateds0QENFP | 25
I can create a new subfolder in the Hospital and Other databases. | updatedupdatedmzePUcF | 2023-11-24 | updatedupdatedwfyljPq | 2023-11-24 | updatedupdatedrh2t8XB | updatedupdated9FVesQC | updatedupdatedVJ6NysM | 25
Scan List
I can view the Exam Card properties. | updatedupdatedsQuMRCb | 2023-11-24 | updatedupdatedKHquSsa | 2023-11-24 | updatedupdatedrrDlIrB | updatedupdatedBVwvd2B | updatedupdatedDPEfYgj | 25
I can modify the Scan List to:
Change the order of sequences | updatedupdatedYDAtdwb | 2023-11-24 | updatedupdatedbyadQ8D | 2023-11-24 | updatedupdatedv76bS0b | updatedupdatedQLZWpyP | updatedupdatedB8nKS7n | 25
Repeat a sequence | updatedupdatedk7X3VLu | 2023-11-24 | updatedupdatedpXyGQAY | 2023-11-24 | updatedupdatedg9KK8rF | updatedupdatedoLLSaga | updatedupdatednacL7Ad | 25
Copy a sequence | updatedupdated7Muwuwj | 2023-11-24 | updatedupdatedhXHucHz | 2023-11-24 | updatedupdatedRxD1pdJ | updatedupdatedaLTLotp | updatedupdatedaNEd9dR | 25
Delete a sequence | updatedupdatedo2Ty2ba | 2023-11-24 | updatedupdatedbaOpuvK | 2023-11-24 | updatedupdatedzYSXxvD | updatedupdatedqcDtBc5 | updatedupdatedWVJpabZ | 25
I can hover the icons and labels on the Exam Card to identify their meaning. | updatedupdatedvdMUzpx | 2023-11-24 | updatedupdatednpMH9Ev | 2023-11-24 | updatedupdatedQD23qsq | updatedupdatedmsV8ZIl | updatedupdatedk6rMCHw | 25
I can view the status icons of a sequence to determine if the sequence:
Needs planning | updatedupdatedOBZLdkz | 2023-11-24 | updatedupdatedHpjnDCq | 2023-11-24 | updatedupdated1PFV3oD | updatedupdatedaq0gdZF | updatedupdatedO8BySWd | 25
Is ready to run | updatedupdatedUDX720D | 2023-11-24 | updatedupdateduHBBff5 | 2023-11-24 | updatedupdatedYxnBWOt | updatedupdated8XwH8wU | updatedupdatedhpWa8Zw | 25
Is paused | updatedupdatedDMbYVil | 2023-11-24 | updatedupdatedSztGHnG | 2023-11-24 | updatedupdatedR5fCGos | updatedupdatedqzSzZ4R | updatedupdatedMSDFUEB | 25
Is scanning | updatedupdatedZDRiB7e | 2023-11-24 | updatedupdatedUn9tmcm | 2023-11-24 | updatedupdatedV0EmUTR | updatedupdatedWBPmkMm | updatedupdated4V08JrZ | 25
Is completed | updatedupdatedJdt3wi6 | 2023-11-24 | updatedupdatedLr0dYlI | 2023-11-24 | updatedupdatediutsIZg | updatedupdatedrdUE8ql | updatedupdated3wFzsyL | 25
I can identify high SAR sequences. | updatedupdatedXtw6JNB | 2023-11-24 | updatedupdatedRuR5tdu | 2023-11-24 | updatedupdatedyk5rWQM | updatedupdatedMyfRyKb | updatedupdatedM3HIoyt | 25
I can override normal SAR mode when my patient might be pregnant. | updatedupdatedTtoiDli | 2023-11-24 | updatedupdatedCRRwCkM | 2023-11-24 | updatedupdatedNzKeF1H | updatedupdatedMJzP4m3 | updatedupdatedQs43YhA | 25
I can view the SED indicator display to know when the SED level is low, medium, and high. | updatedupdatedMTZu6QW | 2023-11-24 | updatedupdatedUuiAdeA | 2023-11-24 | updatedupdatedH5NnZMs | updatedupdated3FzYshN | updatedupdatedz8Sdtgn | 25
Scan List I can:
Save an Exam Card | updatedupdatedsz8eZb6 | 2023-11-24 | updatedupdatediOKxEUe | 2023-11-24 | updatedupdatedfe04Xwk | updatedupdatedxWOymoz | updatedupdatedCwrvoKC | 25
Rename the Exam Card | updatedupdatedBnBYvdJ | 2023-11-24 | updatedupdated475q3aW | 2023-11-24 | updatedupdatedHv1P0l0 | updatedupdatedKUxBjZV | updatedupdatedt2o5Fe1 | 25
Copy the Exam Card | updatedupdated31dRo7h | 2023-11-24 | updatedupdatedzI7MjI0 | 2023-11-24 | updatedupdatedUxkug9F | updatedupdatedTSysurD | updatedupdatedz1zdWSE | 25
Delete an Exam Card | updatedupdatedxVATFd7 | 2023-11-24 | updatedupdatedUhgUQim | 2023-11-24 | updatedupdatedRTb4L98 | updatedupdatedPbUwCDL | updatedupdatedp2euWE8 | 25
Planning
Plan a sequence
I recognize that SmartSelect automatically selects the coils used in the examination. | updatedupdatedfQ1KRhi | 2023-11-24 | updatedupdatedoLuuTfC | 2023-11-24 | updatedupdatedYaXeryf | updatedupdatedl0iUdR9 | updatedupdateduojIDQI | 25
I recognize that scans with the same geometry name (GeoName) within an ExamCard have the same:
Number of stacks | updatedupdatedeJjA7Wq | 2023-11-24 | updatedupdatedwarZWbl | 2023-11-24 | updatedupdatedmEtUUT8 | updatedupdated8JU6BGx | updatedupdatedNJlmtN8 | 25
Off-center values for each stack | updatedupdatedALB2bdm | 2023-11-24 | updatedupdated1smHmGe | 2023-11-24 | updatedupdatedohJYqkI | updatedupdatedpN3sUyg | updatedupdatedBbvsdgf | 25
Angulations for each stack | updatedupdated2wmAnEc | 2023-11-24 | updatedupdatedymljrH5 | 2023-11-24 | updatedupdatedLjeN59x | updatedupdatedRfgPD88 | updatedupdatedLqz1vvK | 25
Orientation | updatedupdatedqmK4AXV | 2023-11-24 | updatedupdated86ZY0NN | 2023-11-24 | updatedupdatedGF8tB2W | updatedupdatedkV5H8K2 | updatedupdatedZmv4hNr | 25
I can use propagate coverage to plan scans with the same GeoName. | updatedupdated2qJJL6q | 2023-11-24 | updatedupdatedEU5107N | 2023-11-24 | updatedupdatedRZbcv9a | updatedupdatedoMvk3P2 | updatedupdatedBtziEn2 | 25
I can use Propagate Coverage to share FOV, foldover direction, and coverage | updatedupdateduIrlDqs | 2023-11-24 | updatedupdateduDjeFJR | 2023-11-24 | updatedupdated69nlV0v | updatedupdatedWK47eWw | updatedupdatedSSRHYGQ | 25
I recognize that I should not use Propagate Coverage in a DWI series. | updatedupdatedRF8CGxm | 2023-11-24 | updatedupdatednhFJzsr | 2023-11-24 | updatedupdatedI2WIGbJ | updatedupdated50zeUZs | updatedupdated39NzPjD | 25
I can assign the correct GeoName to a scan. | updatedupdated3JaJ8al | 2023-11-24 | updatedupdatedXRWcvOE | 2023-11-24 | updatedupdatedd1LjIUH | updatedupdated3spQGfV | updatedupdatedwQWS6d9 | 25
I can add, delete, and modify the GeoName of a sequence. | updatedupdatedAdVx3KY | 2023-11-24 | updatedupdatedsg4wex8 | 2023-11-24 | updatedupdated2LeC6Nz | updatedupdatedUE1WjNg | updatedupdatedpe51ola | 25
I can display and hide the Planscan overlay (volume or the stack(s) of slices, REST slab, shim box, navigator). | updatedupdatedcV8pOL0 | 2023-11-24 | updatedupdatedP1KroDY | 2023-11-24 | updatedupdatedH3zhqUz | updatedupdatedEx7PIAT | updatedupdatedxnv91vy | 25
I can use the Planscan toolbar and shortcut menu to plan the examination. | updatedupdatediR3mFXu | 2023-11-24 | updatedupdatedwUZlNOo | 2023-11-24 | updatedupdated6vyYdRo | updatedupdatedhAhft0z | updatedupdatedzdR07jk | 25
I can adjust the:
Slice gap. | updatedupdatedulaw59z | 2023-11-24 | updatedupdatednrXbobT | 2023-11-24 | updatedupdatedTxF6eYb | updatedupdatedNaYW6sp | updatedupdatedeAjltAP | 25
Number of slices ? | updatedupdatedbam97pU | 2023-11-24 | updatedupdatedmZjzUYn | 2023-11-24 | updatedupdatedbfxuPNO | updatedupdatedztWzfTZ | updatedupdatedaabkIcJ | 25
Field of view (FOV) | updatedupdatedEGr2GW1 | 2023-11-24 | updatedupdatedjKDliNG | 2023-11-24 | updatedupdatedys3XqMc | updatedupdatedcBeH2la | updatedupdatedaGk7OPf | 25
I can use flexible oversampling to ensure the entire anatomy is covered. | updatedupdated7IUPqrI | 2023-11-24 | updatedupdatedscz24zq | 2023-11-24 | updatedupdatedvfbZh2h | updatedupdatedgqTljb6 | updatedupdatednnD3S5m | 25
I can display and hide:
Box | updatedupdatedtjrRys7 | 2023-11-24 | updatedupdatedF92OXVV | 2023-11-24 | updatedupdatedOgrdTI0 | updatedupdatedjwswyGc | updatedupdated5PwDIcG | 25
3D view | updatedupdated3SYQf2c | 2023-11-24 | updatedupdatedqbvN2TY | 2023-11-24 | updatedupdatedDvvqU6l | updatedupdatedSBAcqaQ | updatedupdateduEbXmhN | 25
All midplanes | updatedupdatedn0ngoFb | 2023-11-24 | updatedupdatedXrobcRI | 2023-11-24 | updatedupdated2UFMeTu | updatedupdatedwPv7CrN | updatedupdatedsrQsunZ | 25
Stack | updatedupdatedSSGYam1 | 2023-11-24 | updatedupdatedskElrwv | 2023-11-24 | updatedupdatedIxfltKu | updatedupdatedtQoZYfz | updatedupdatedP5Fue04 | 25
Volume | updatedupdatedhgSMNsJ | 2023-11-24 | updatedupdatedM6thdNV | 2023-11-24 | updatedupdateds77Irlz | updatedupdatedJt8QP5y | updatedupdatedaApaibj | 25
Slab | updatedupdatedHSCETPB | 2023-11-24 | updatedupdatedC4UV1WL | 2023-11-24 | updatedupdatedPA8sn7c | updatedupdatedfyozxyL | updatedupdatedEE75Obv | 25
I can view the Dashboard to see the effects of the planned protocol on:
Scan time | updatedupdatedwjI6mno | 2023-11-24 | updatedupdatedd7Zz3cD | 2023-11-24 | updatedupdatedxu5AQzB | updatedupdatedMLAKdym | updatedupdatedUtzUFqq | 25
SAR | updatedupdatedCy6aH7X | 2023-11-24 | updatedupdatedC0ebX5t | 2023-11-24 | updatedupdatedWiy38hW | updatedupdated9kuUVzt | updatedupdated43p33BM | 25
SED | updatedupdatedyWdlRS9 | 2023-11-24 | updatedupdated8iJXGIi | 2023-11-24 | updatedupdated44pnpGi | updatedupdatedi103gYV | updatedupdatednxSmfpl | 25
Rel SNR | updatedupdatedacJydrV | 2023-11-24 | updatedupdatedRnpJCUG | 2023-11-24 | updatedupdatedrDsH6fl | updatedupdatedhnh0q43 | updatedupdatedfIREUUy | 25
PNS | updatedupdatedPW5yzg7 | 2023-11-24 | updatedupdatedoWStMqh | 2023-11-24 | updatedupdatedMXACE9j | updatedupdatedlb36xxk | updatedupdatedAVmdtWr | 25
Technical Room | updatedupdated | 2023-11-24 | updatedupdated | 2023-11-24 | updatedupdated | updatedupdated | updatedupdated | 25
TR | updatedupdatedqFdWCQL | 2023-11-24 | updatedupdatedDKeEiXC | 2023-11-24 | updatedupdatedOCmiMIP | updatedupdatedGZLo3xd | updatedupdatede7zTBQV | 25
I can view the SAR level for the scan. | updatedupdatedSj3cpQe | 2023-11-24 | updatedupdatedFhyG5PP | 2023-11-24 | updatedupdatedegbf7LK | updatedupdated3StKUfb | updatedupdatedpyj53BJ | 25
I can view the SED level for the examination. | updatedupdateddW4youO | 2023-11-24 | updatedupdatedGC8NjcA | 2023-11-24 | updatedupdatedbycGFBS | updatedupdatedpz5tVsH | updatedupdatedqsaeM90 | 25
I can use the buttons in the Dashboard to undo, redo, accept, reset, and cancel changes. | updatedupdatedd6ef9ra | 2023-11-24 | updatedupdatedwdzTzYD | 2023-11-24 | updatedupdatedt2m18fl | updatedupdatedC568Vw8 | updatedupdatedtNhFRon | 25
I can view and change planning settings on the Summary tab:
FOV | updatedupdatedPyRGi98 | 2023-11-24 | updatedupdatedwxKjzvb | 2023-11-24 | updatedupdated7dLXyE4 | updatedupdatedsHEg2tD | updatedupdatedn2zNuJ4 | 25
Voxel | updatedupdatedT7meYVQ | 2023-11-24 | updatedupdatedHEUvf8R | 2023-11-24 | updatedupdated0vKRL51 | updatedupdatedvGT5vbT | updatedupdateduNQBPuI | 25
Matrix | updatedupdatedZeQDdyD | 2023-11-24 | updatedupdatedUM02CX0 | 2023-11-24 | updatedupdatedej0dSLQ | updatedupdatedFnzMgxy | updatedupdatedbutI4F2 | 25
Slice thickness and gap | updatedupdatedN6LL6uc | 2023-11-24 | updatedupdatedQQPAXPZ | 2023-11-24 | updatedupdatedE6QqGpW | updatedupdated7x8pCaH | updatedupdated5vflaeX | 25
NSA | updatedupdated9D3kSef | 2023-11-24 | updatedupdatedvckG1Mw | 2023-11-24 | updatedupdated6oUtmju | updatedupdatedM3S55Ut | updatedupdatedkfqdMFk | 25
Fat Suppression (SPIR) | updatedupdatedOqw1KOb | 2023-11-24 | updatedupdatedOofWLb3 | 2023-11-24 | updatedupdatedK4Su1fS | updatedupdatedtlI2bmO | updatedupdatedwzGq7En | 25
I can view advanced parameter setting tabs. | updatedupdatedkRdf7Ez | 2023-11-24 | updatedupdatedbHG2xtz | 2023-11-24 | updatedupdatedydvLTKc | updatedupdatedLcdMerp | updatedupdatedXQLeW91 | 25
I can reset the sequence settings to their original state using the undo button. | updatedupdatedwr3Ng5U | 2023-11-24 | updatedupdatedSs4nQdE | 2023-11-24 | updatedupdatedMmkqMyU | updatedupdated1Hf84cK | updatedupdated716WxZx | 25
I can identify ExamCard items that use Propagate Coverage. | updatedupdatedHq62rxL | 2023-11-24 | updatedupdatedPZc60H0 | 2023-11-24 | updatedupdatedxM83rq8 | updatedupdatedwYRv1nL | updatedupdatediZLysYM | 25
I can view conflicts and access assistance on the Conflicts tab. | updatedupdatedEznzYYT | 2023-11-24 | updatedupdatedXLw2vhr | 2023-11-24 | updatedupdatedONk623d | updatedupdatedM4TRj3Y | updatedupdatediSYArrI | 25
I can enable AutoView for a sequence to view images during reconstruction. | updatedupdatedoFWMaAi | 2023-11-24 | updatedupdatedxPlRber | 2023-11-24 | updatedupdated7N0ssge | updatedupdatedJ6dYYxm | updatedupdated47iokDY | 25
I can identify sequences that have SmartLine (inline) postprocessing enabled. | updatedupdatedJ8Df8O0 | 2023-11-24 | updatedupdatedWGGIqrn | 2023-11-24 | updatedupdatedTJ5g6mM | updatedupdatedYb8U9Wg | updatedupdated8w6BSo4 | 25
I can view and modify the Info page to add site-specific notes regarding the ExamCard and scan. | updatedupdatedBWQBH7W | 2023-11-24 | updatedupdatedgToSTCM | 2023-11-24 | updatedupdatedGwIIyxH | updatedupdatedYcnZ36O | updatedupdatedKYRAXJQ | 25
Scan
I can manually start, pause, and restart a scan. | updatedupdatedg0sgMIB | 2023-11-24 | updatedupdatedMqcWqIY | 2023-11-24 | updatedupdatedqvS3Ble | updatedupdatedjkwm4om | updatedupdatedfk0WG0Z | 25
I recognize that pause scan and stop scan have different outcomes. | updatedupdatedocXUzyL | 2023-11-24 | updatedupdatedrRZStb4 | 2023-11-24 | updatedupdatedIpIi0LW | updatedupdatedAD9C86R | updatedupdated0Tt3mRg | 25
I can view in the Patient Status area:
Patient name | updatedupdated7ibyJNN | 2023-11-24 | updatedupdatedjQ3iiLI | 2023-11-24 | updatedupdatedpycnCpV | updatedupdatednxObN83 | updatedupdatedMSmHemo | 25
Physiology signal (if connected) | updatedupdatedIRtmhba | 2023-11-24 | updatedupdatedymBkbIC | 2023-11-24 | updatedupdatedQZAVjnY | updatedupdatedxE0AZSq | updatedupdatedWI9bR40 | 25
Scan progress bar | updatedupdatedWX2POeq | 2023-11-24 | updatedupdatedEA33tJ9 | 2023-11-24 | updatedupdatedjgHupZR | updatedupdatedlJPXEE6 | updatedupdatedeGiPdUh | 25
Exam card progress bar | updatedupdatedvyBI7Yj | 2023-11-24 | updatedupdatedXpFBNaY | 2023-11-24 | updatedupdatedJY5OlHZ | updatedupdatedYt4uUOR | updatedupdatedlrFjtlJ | 25
Message line | updatedupdated3BHXrxC | 2023-11-24 | updatedupdatedhN53ukc | 2023-11-24 | updatedupdated7SCQZT3 | updatedupdateduHZw2QN | updatedupdatedwZhFhh9 | 25
SED | updatedupdatedyWdlRS9 | 2023-11-24 | updatedupdated8iJXGIi | 2023-11-24 | updatedupdated44pnpGi | updatedupdatedi103gYV | updatedupdatednxSmfpl | 25
I can rescan failed scans. | updatedupdatedCP5GkCT | 2023-11-24 | updatedupdatediiIhKtf | 2023-11-24 | updatedupdatedqX7c4bE | updatedupdateddIUpAwU | updatedupdatedC0nTHiN | 25
Viewing Images
ImageView
I can use ImageView to view images. | updatedupdated0DXxMcr | 2023-11-24 | updatedupdatedBONHLPt | 2023-11-24 | updatedupdatedfZgffou | updatedupdatedHvzl5GZ | updatedupdatedUpkwpRj | 25
I can switch between the thumbnail and ScanList views. | updatedupdated4TCzllp | 2023-11-24 | updatedupdatedfizHaaI | 2023-11-24 | updatedupdated87BZAgl | updatedupdatednHQJ4WA | updatedupdatedCUnjmoj | 25
I can use the ImageView toolbar and the shortcut (right-click) menu to modify view settings.
Add and remove rows and columns | updatedupdated6bEohH8 | 2023-11-24 | updatedupdatedkG0Yya7 | 2023-11-24 | updatedupdated5pDAk02 | updatedupdated2Ecuep8 | updatedupdatedZgj2HEt | 25
Use standard layouts | updatedupdatedsk7wQEW | 2023-11-24 | updatedupdatedDJQoQpU | 2023-11-24 | updatedupdatedEfRiRBz | updatedupdatedBg4k2rQ | updatedupdatedArANNBv | 25
Play and pause a movie | updatedupdatedXDbFqOQ | 2023-11-24 | updatedupdatedLhZ0KCa | 2023-11-24 | updatedupdatedKrHJ2T1 | updatedupdatednfDskHb | updatedupdatedYRS2hIw | 25
Create text box | updatedupdatedUiEFYFX | 2023-11-24 | updatedupdatedxulCE2p | 2023-11-24 | updatedupdatedaM1eG6U | updatedupdatedugNo7xD | updatedupdatedAx3fTkr | 25
Measure the image | updatedupdated9h7YlYf | 2023-11-24 | updatedupdatedTnqV1Wz | 2023-11-24 | updatedupdatedyAVZNHm | updatedupdatedayeyZAt | updatedupdatedITT9TbD | 25
Select viewing display modes | updatedupdatedllwadil | 2023-11-24 | updatedupdated8ajBPoy | 2023-11-24 | updatedupdatedpX6CCX9 | updatedupdatedRY1aGW3 | updatedupdatedABhTIfq | 25
Change settings | updatedupdatedpsS9zTJ | 2023-11-24 | updatedupdatedM6cXhY0 | 2023-11-24 | updatedupdated8PnPlzq | updatedupdatedyFtpM1E | updatedupdatedg5GS34M | 25
Review
I can display Review environment. | updatedupdatedZiHmrt8 | 2023-11-24 | updatedupdatedWxQa1dO | 2023-11-24 | updatedupdated7HACguy | updatedupdatedkRG0APW | updatedupdatedZ55vBjo | 25
I can switch between List view and Thumbnail view. | updatedupdatedOaC1JJc | 2023-11-24 | updatedupdated1zY88lr | 2023-11-24 | updatedupdatedALq8HYX | updatedupdatedVfYX4XU | updatedupdatedu4YjDfh | 25
I can use the various methods to navigate the image viewports and change the way the viewports display images using options in the:
Menu bar | updatedupdatedI1bgocf | 2023-11-24 | updatedupdatedSbqXFhR | 2023-11-24 | updatedupdatedi2IJdWL | updatedupdatedD7wNxzG | updatedupdateddhGMUYR | 25
Panel controls | updatedupdatedF7k2S0p | 2023-11-24 | updatedupdatedmziaXoZ | 2023-11-24 | updatedupdatedtifMal8 | updatedupdatedYVfRAMt | updatedupdatedrfm6ful | 25
Short cut (right-click) menus | updatedupdatedcHSL2Mp | 2023-11-24 | updatedupdatedsR5n3hQ | 2023-11-24 | updatedupdatedWQcXcdx | updatedupdatedX6THkuI | updatedupdatedUuttHni | 25
Keyboard keys | updatedupdatedc2XQiG1 | 2023-11-24 | updatedupdatedD7m8Kaq | 2023-11-24 | updatedupdatedAgpf8WG | updatedupdated4PYseXd | updatedupdatedNTCelVL | 25
I can use the mouse to:
Scroll | updatedupdatedbBBmMKc | 2023-11-24 | updatedupdatedQ3jCLKh | 2023-11-24 | updatedupdatedZex85m3 | updatedupdatedGI7Q66C | updatedupdatedzfcKXlr | 25
Zoom the display (middle and right button) | updatedupdatedYggt07m | 2023-11-24 | updatedupdatedrVoAZUS | 2023-11-24 | updatedupdated2IgeZZa | updatedupdatedwAiHlgl | updatedupdatedgoOUjqz | 25
Panel controls | updatedupdatedF7k2S0p | 2023-11-24 | updatedupdatedmziaXoZ | 2023-11-24 | updatedupdatedtifMal8 | updatedupdatedYVfRAMt | updatedupdatedrfm6ful | 25
Change the window width and level | updatedupdatedS6JwDK5 | 2023-11-24 | updatedupdatedDIqKd05 | 2023-11-24 | updatedupdatedZWt54Zl | updatedupdatedey4VPPQ | updatedupdated77yDwzD | 25
Reset the window, zoom and pan | updatedupdatedbLLH6Hs | 2023-11-24 | updatedupdatedSthegaW | 2023-11-24 | updatedupdatedTqjdqrP | updatedupdated3HxsDHg | updatedupdatedgKTORbf | 25
I can use the Review toolbar and shortcut (right-click) menu to modify review settings.
Change the display to tiled or tabbed layout. | updatedupdatedldd7Cqc | 2023-11-24 | updatedupdatedqfpabL3 | 2023-11-24 | updatedupdated782EeKi | updatedupdated7MvEQiL | updatedupdatedIbSto7u | 25
Link and unlink selected imaging series. | updatedupdated27dluJf | 2023-11-24 | updatedupdatedJ3PK93J | 2023-11-24 | updatedupdatedfjZwhW0 | updatedupdatedLpUcWrU | updatedupdatedher9v74 | 25
Capture a screen image and save it as a DICOM file. | updatedupdatedc5G8H2C | 2023-11-24 | updatedupdatede7QJL2S | 2023-11-24 | updatedupdated7ERVDYp | updatedupdatedoKOvaVz | updatedupdatedLXXRCZN | 25
Enable cross reference as:
Stack display | updatedupdatedjxOKncu | 2023-11-24 | updatedupdatedPAfI763 | 2023-11-24 | updatedupdatedqcHSnKD | updatedupdatedzLedCvQ | updatedupdatedWg3hTfF | 25
Box view | updatedupdated7y7mBjC | 2023-11-24 | updatedupdated5rnFqOW | 2023-11-24 | updatedupdatedOxEtMs8 | updatedupdatedvZpXmMG | updatedupdatedRAfGeCf | 25
Slice mode | updatedupdatedgPG3PnA | 2023-11-24 | updatedupdatedOZUzZqU | 2023-11-24 | updatedupdatedscxuQbM | updatedupdatedKJhJ6mv | updatedupdatedvCZDT36 | 25
3D mode | updatedupdatedJ8yPhlX | 2023-11-24 | updatedupdatedAKgm0Mk | 2023-11-24 | updatedupdatedobSFk0F | updatedupdatedMd4R63Z | updatedupdatedi4xSbAB | 25
I can use the Package Manager to switch between examinations/views and to stop the execution of packages. | updatedupdatedyPpENln | 2023-11-24 | updatedupdatedbqeptjX | 2023-11-24 | updatedupdatedv4KYHof | updatedupdated80YLUJt | updatedupdatedaBrXjUS | 25
I can display image information. | updatedupdatedZnKuyrE | 2023-11-24 | updatedupdatedcSJoJKA | 2023-11-24 | updatedupdatedyrx166g | updatedupdated1cTQtIL | updatedupdatedIkCercI | 25
I can expand Series information. | updatedupdatedZQZ6euE | 2023-11-24 | updatedupdatedOlRwfdx | 2023-11-24 | updatedupdatedLGojqMn | updatedupdatedYiowNNv | updatedupdatedJncRXrd | 25
I can display and hide Review Planscan to show planning. | updatedupdatedF8uMYAc | 2023-11-24 | updatedupdatedzeo5qOE | 2023-11-24 | updatedupdatedOf0XO5v | updatedupdatedOiyO9Kd | updatedupdated9Y2Ybur | 25
I can annotate an image to show ROI, add labels, and lines. | updatedupdatednUcvtEr | 2023-11-24 | updatedupdated08rnJzY | 2023-11-24 | updatedupdated3pjqiok | updatedupdatedQqBNGSA | updatedupdatedNDuasHO | 25
I can use tools to measure in the image. | updatedupdatedaHEuYg1 | 2023-11-24 | updatedupdatedUfNAbAr | 2023-11-24 | updatedupdatedWP6QK6P | updatedupdatedWFpm3E4 | updatedupdatedMfhAm8C | 25
I can use print screen to capture an image. | updatedupdatediLhZTgs | 2023-11-24 | updatedupdatedfc4uicd | 2023-11-24 | updatedupdated6vip1eY | updatedupdatedhxBp7zH | updatedupdatedymtoz2l | 25
I can use the Movie Toolbox to play, pause, and restart a movie. | updatedupdatedHgYzfsj | 2023-11-24 | updatedupdatedmq2k5JO | 2023-11-24 | updatedupdatedeGbGZAa | updatedupdatedwIuCmCv | updatedupdatedsBC3Kum | 25
I can save the reformatted images to the database. | updatedupdatedUtzM0SI | 2023-11-24 | updatedupdatedMA8XfHH | 2023-11-24 | updatedupdatedkHxoJfY | updatedupdatedIbWcQ24 | updatedupdated9iguNfE | 25
Postprocessing
VolumeView
I can use VolumeView to select render modes (algorithms) to calculate projections and reformats of the source images. | updatedupdated2UYk3pE | 2023-11-24 | updatedupdated6dIv3oX | 2023-11-24 | updatedupdated6m7ieB7 | updatedupdateden83xp4 | updatedupdatedI0sUM7W | 25
I can choose the appropriate VolumeView render mode:
Maximum Intensity Projections (MIP) | updatedupdated3tV8AMN | 2023-11-24 | updatedupdated5fBnxNy | 2023-11-24 | updatedupdated6f3wbGa | updatedupdatedeWLvUOa | updatedupdatedb5JgXiJ | 25
Minimum Intensity Projections (MinIP) | updatedupdated21sDtOS | 2023-11-24 | updatedupdateddtpr1dM | 2023-11-24 | updatedupdatedeCGYDQM | updatedupdated28zb2qp | updatedupdatedLI2n2F3 | 25
Multiplanar Reformatting (MPR) rendering for 3D scans | updatedupdated9vA9ReT | 2023-11-24 | updatedupdatedVDqqDCi | 2023-11-24 | updatedupdated0vDLMic | updatedupdatedfU1tBXQ | updatedupdatedKRt36NX | 25
Surface Rendering (shaded and unshaded surface) | updatedupdatedxFS2Qwl | 2023-11-24 | updatedupdatedV2WfgWq | 2023-11-24 | updatedupdatedMXgeFdU | updatedupdatedg6BpVcI | updatedupdatedrZJHKmO | 25
I can use the tools in VolumeView to:
Navigate the view | updatedupdated5DD0V0q | 2023-11-24 | updatedupdatedd1oZjO4 | 2023-11-24 | updatedupdated8HicPz9 | updatedupdated43jrXlK | updatedupdatednQliVXo | 25
Navigate the reference images | updatedupdatedA1dWAQV | 2023-11-24 | updatedupdatedF4vfGVy | 2023-11-24 | updatedupdatedCHyGFSy | updatedupdatedRdO0S8u | updatedupdatedUSNGJUn | 25
Change the reference views and lines. | updatedupdatedEKapTuU | 2023-11-24 | updatedupdatedWjZtNCX | 2023-11-24 | updatedupdated2tfFN8b | updatedupdatedXeK5lI7 | updatedupdatedhceJlFy | 25
Change the layout of a view | updatedupdated1ACWT7P | 2023-11-24 | updatedupdatedHd3MlYi | 2023-11-24 | updatedupdatedAukRgun | updatedupdatedcQyVhdG | updatedupdatedLi8S7Bd | 25
Draw contours. | updatedupdatedP1vuig3 | 2023-11-24 | updatedupdatedvIYNaUo | 2023-11-24 | updatedupdatedKqD8CZ2 | updatedupdatedFbUkR5X | updatedupdatedVSSceBB | 25
Reset all settings | updatedupdatedo9xjtsO | 2023-11-24 | updatedupdatedmtzNFC9 | 2023-11-24 | updatedupdatedJLAvZfD | updatedupdatedgMnbtDx | updatedupdatedlhFWNVX | 25
I can use presets:
Orientation | updatedupdatedqmK4AXV | 2023-11-24 | updatedupdated86ZY0NN | 2023-11-24 | updatedupdatedGF8tB2W | updatedupdatedkV5H8K2 | updatedupdatedZmv4hNr | 25
Zoom the display (middle and right button) | updatedupdatedYggt07m | 2023-11-24 | updatedupdatedrVoAZUS | 2023-11-24 | updatedupdated2IgeZZa | updatedupdatedwAiHlgl | updatedupdatedgoOUjqz | 25
Slab thickness | updatedupdatedgIIufyG | 2023-11-24 | updatedupdatedIEIobyr | 2023-11-24 | updatedupdatedj1kckvV | updatedupdatedUsuy5Cs | updatedupdated5UGTvph | 25
PicturePlus
I can use PicturePlus to apply a filter to images to customize the appearance of the image for the radiologists preferences. | updatedupdatedZE01xXp | 2023-11-24 | updatedupdatedMy8jLjE | 2023-11-24 | updatedupdatedy8QMB49 | updatedupdatedoUvC1x0 | updatedupdatedeiwc3g8 | 25
I can apply a Picture Plus preset to the image. | updatedupdatedIYadORD | 2023-11-24 | updatedupdatednGRsFyR | 2023-11-24 | updatedupdatedoljkBLj | updatedupdated50xJ51m | updatedupdatedilvFpI9 | 25
I can use the mouse to adjust smoothing and edge enhancement. | updatedupdatedPQoPuvH | 2023-11-24 | updatedupdatedMFKVAZa | 2023-11-24 | updatedupdatedwcNAGiM | updatedupdatedDGDGjGD | updatedupdatedc9NlRRx | 25
I can create a custom preset to define smoothing and edge enhancement values. | updatedupdatedvKJLkV4 | 2023-11-24 | updatedupdateddcYbz5Y | 2023-11-24 | updatedupdatedjIidVvZ | updatedupdatedSxWT4xm | updatedupdatedlU6JFgm | 25
I can generate the modified series to save the new imaging series to the examination. | updatedupdatedkn8NGzz | 2023-11-24 | updatedupdatedEClaH6a | 2023-11-24 | updatedupdatedWIWFNjv | updatedupdatedhFD0YDG | updatedupdatedY9nCw3X | 25
I recognize a series with prefix “e” in the series name has been enhanced by PicturePlus. | updatedupdatedAsi7AoY | 2023-11-24 | updatedupdatedDhjJncV | 2023-11-24 | updatedupdatedt70qpaX | updatedupdatedp97scbq | updatedupdatedbAAuTDi | 25
MobiView
I can use the MobiView postprocessing package to fuse multi-station datasets. | updatedupdated5ZZppyy | 2023-11-24 | updatedupdatedm9G12k3 | 2023-11-24 | updatedupdatedVc8wsN6 | updatedupdatedD7r9na4 | updatedupdated6ebUsLy | 25
I recognize that images must be acquired as different stacks in Head-Feet direction in order to use the MobiView postprocessing package. | updatedupdatedJdDuJa2 | 2023-11-24 | updatedupdatedJ91gArt | 2023-11-24 | updatedupdatedHnAlh3c | updatedupdatedb7Nwtcf | updatedupdatedgc86aBe | 25
I recognize that it is a best practice to keep the source images as well as the fused image. | updatedupdatedmlrr5a8 | 2023-11-24 | updatedupdated0SKXOjY | 2023-11-24 | updatedupdated1KHGSU4 | updatedupdatedprKkorh | updatedupdated48Z0BSN | 25
I can check for artifacts before fusing images so that they are not mistakenly interpreted as pathologies. | updatedupdatedxANkuoQ | 2023-11-24 | updatedupdatedkbKI0JJ | 2023-11-24 | updatedupdatedTebGi6b | updatedupdatedgSQa0hT | updatedupdatedFU7yYdk | 25
Prior to fusing, I can select the best window option for the image series:
None | updatedupdatedyPAa1N1 | 2023-11-24 | updatedupdated5geJJpv | 2023-11-24 | updatedupdatedkznWVZF | updatedupdatedYSIQ7pp | updatedupdatedE8mOuO3 | 25
Automatic | updatedupdatedYTAriKs | 2023-11-24 | updatedupdatedf0Wlfog | 2023-11-24 | updatedupdatedE4E7Nut | updatedupdatedDxrFE08 | updatedupdatedcV0cGBn | 25
MIP | updatedupdatedS3llcxI | 2023-11-24 | updatedupdatedfVCGfcu | 2023-11-24 | updatedupdatedQg4HDTZ | updatedupdatedQootXmM | updatedupdatedylnFFsL | 25
I can select the appropriate fuse mode for the examination:
Fuse Hardcut | updatedupdated9XxlfY3 | 2023-11-24 | updatedupdatedGk9cq8h | 2023-11-24 | updatedupdated4UwGqgd | updatedupdatedflw00uT | updatedupdated9cFFUj1 | 25
Fuse Smooth | updatedupdatedhz8gbVK | 2023-11-24 | updatedupdatedEBPg8o6 | 2023-11-24 | updatedupdatedfi8IW2k | updatedupdatedSzarpIp | updatedupdatedQ0RwlyZ | 25
Merge series | updatedupdatedASoBGKX | 2023-11-24 | updatedupdatedrMQF7Ox | 2023-11-24 | updatedupdatedk7FvGZ6 | updatedupdatedk32S2fU | updatedupdatedrqDpt9L | 25
I can save the fused images to the patient database. | updatedupdatedbLcEQKu | 2023-11-24 | updatedupdatedOLgdwED | 2023-11-24 | updatedupdatedbYZurDa | updatedupdatedahsvEQa | updatedupdatedyy3Ghcn | 25
I can fuse a multi-station imaging series that includes multiple image types. | updatedupdatedprW2dLT | 2023-11-24 | updatedupdatedX34hHSX | 2023-11-24 | updatedupdatedRBqOjXB | updatedupdatedhA0FTYp | updatedupdatedjf8p8uH | 25
Administration
Saving examination data
I can save the examination to: | updatedupdatedHDcoF3A | 2023-11-24 | updatedupdatedZVF5INX | 2023-11-24 | updatedupdatedT3vdiFp | updatedupdatedifplq6s | updatedupdatedR3WqJxP | 25
Local patient database | updatedupdatedSEKjy0U | 2023-11-24 | updatedupdatedK2mfggq | 2023-11-24 | updatedupdated7peA2vK | updatedupdatedkNQA0yS | updatedupdatedsep5ifM | 25
Queue DVD | updatedupdatedVyEBo4F | 2023-11-24 | updatedupdated1hYhMWc | 2023-11-24 | updatedupdatedGA88SNM | updatedupdatedqpABOWx | updatedupdatedy5MFdhT | 25
DICOM network node | updatedupdatedunqRwuQ | 2023-11-24 | updatedupdatedyCKvef0 | 2023-11-24 | updatedupdated9LD8G52 | updatedupdatedqu4rULv | updatedupdatedxxXRQfU | 25
PACS | updatedupdatedwEkaGta | 2023-11-24 | updatedupdatedZhYCf6Y | 2023-11-24 | updatedupdatedONhWYvC | updatedupdatedBccHeFN | updatedupdated7Sv2Das | 25
External hard drive | updatedupdatedcWyXAYv | 2023-11-24 | updatedupdated9rD1H0K | 2023-11-24 | updatedupdatedo9rbn8g | updatedupdatedDjhQF2N | updatedupdatedPFxqbTm | 25
I can archive and delete examinations from the patient database. | updatedupdatedyyhQNPN | 2023-11-24 | updatedupdatedkMfwVgz | 2023-11-24 | updatedupdatedCtXD3ba | updatedupdated4LMIzJG | updatedupdated0ZQOaYl | 25
I can enable Autopush to DICOM node. | updatedupdatedbxfUEu1 | 2023-11-24 | updatedupdatedyyhHor7 | 2023-11-24 | updatedupdatedCzybqrO | updatedupdatedxwNTk0J | updatedupdatedp96waVw | 25
I can print:
The entire examination | updatedupdatedoNNh2j2 | 2023-11-24 | updatedupdatedjzOFFNA | 2023-11-24 | updatedupdated56qIitp | updatedupdatedQemE1RU | updatedupdateda1dOlem | 25
Selected images | updatedupdated2nERt9Q | 2023-11-24 | updatedupdated3AmiPCN | 2023-11-24 | updatedupdatedqWYZuwC | updatedupdatedd2M6cV1 | updatedupdatedf5yiCKO | 25
Selected series | updatedupdatedDDUAdvy | 2023-11-24 | updatedupdatedNv6HZf6 | 2023-11-24 | updatedupdatedxN12lue | updatedupdatedf9mKbz5 | updatedupdatedy7RaWwl | 25
I can use Split Exam to save the examination images as multiple scan instances. | updatedupdatedJsXjqPC | 2023-11-24 | updatedupdatedg3n1LtA | 2023-11-24 | updatedupdatedhFeXDsa | updatedupdatedQZbIO5P | updatedupdatedN3V1MpL | 25
Storing and retrieving data from a USB drive | updatedupdatedpb82R1z | 2023-11-24 | updatedupdatedYGVQljf | 2023-11-24 | updatedupdatedMQGwMzY | updatedupdatedzpZ3Ec9 | updatedupdatedIIueTvj | 25
I can enable access to a removable USB drive. | updatedupdatedTlLIQ8E | 2023-11-24 | updatedupdatedZ9gwAUu | 2023-11-24 | updatedupdatedoNWQHoe | updatedupdated7DCJpVw | updatedupdatedbj465PI | 25
I can import and export an ExamCard stored to a USB drive. | updatedupdatedUhZ9cAi | 2023-11-24 | updatedupdated7N6ujMz | 2023-11-24 | updatedupdatedHRwHzdY | updatedupdatedhaav08M | updatedupdatedwYIkDmf | 25
I can back-up the ExamCard database to a USB drive. | updatedupdatedkhibAz7 | 2023-11-24 | updatedupdatedBHMP6Mj | 2023-11-24 | updatedupdatedJBcLuHh | updatedupdatedpxU7vN2 | updatedupdatedOFGqq5U | 25
Data management
I can send and retrieve examination data from the data archive system (for example PACS). | updatedupdatediGWsTyK | 2023-11-24 | updatedupdatedYbZvf7N | 2023-11-24 | updatedupdatedNZQ3D2v | updatedupdatedDkKUATG | updatedupdatedCSi9IrU | 25
I can send data to the data archive system and remove it from the database on the MR system to maintain good system performance. | updatedupdatedPyOPs93 | 2023-11-24 | updatedupdatedd4KuECB | 2023-11-24 | updatedupdatedf3EPE7B | updatedupdatedx8DTaM3 | updatedupdatedxdhCeKC | 25
I can save an examination to external media. | updatedupdated9y8Bw9E | 2023-11-24 | updatedupdatedb1B7e2J | 2023-11-24 | updatedupdatedM4NMMD1 | updatedupdatedg4UMf5j | updatedupdateddCn9VD3 | 25
Examinations
Routine Brain
I can position the patient for a brain examination. | updatedupdatedHPAbcdn | 2023-11-24 | updatedupdatedzR0MZ7f | 2023-11-24 | updatedupdated3CLltbv | updatedupdatedir1ZpQs | updatedupdatednTzrUBR | 25
I recognize that some passive headsets may cause image artifacts. | updatedupdatedTJMSDz5 | 2023-11-24 | updatedupdated9MrZCT7 | 2023-11-24 | updatedupdatedinYoATb | updatedupdated8ah5X7f | updatedupdatedoPwTPj8 | 25
I can position the Head coil and accessories. | updatedupdatedeZ5MQ30 | 2023-11-24 | updatedupdatedADK6Ic0 | 2023-11-24 | updatedupdatedpBitZaH | updatedupdatedWD7Otjv | updatedupdatedwL51wmZ | 25
I can add a routine brain Exam Card to the Scan List. | updatedupdatednOpVPJ4 | 2023-11-24 | updatedupdatedUJFQZfU | 2023-11-24 | updatedupdatedqX0FGrS | updatedupdatedFvdXRZC | updatedupdatedrw8aptN | 25
I can plan the brain examination. | updatedupdatedPD2xNlF | 2023-11-24 | updatedupdated8NOzjg9 | 2023-11-24 | updatedupdated4LATkb9 | updatedupdatedOB9XEmU | updatedupdatedPj6ub7v | 25
I recognize that, when using SENSE, I must pay attention to the foldover direction and oversampling area to avoid foldover of anatomy outside the oversampling area. | updatedupdated4AXMNg2 | 2023-11-24 | updatedupdated4uvuaCy | 2023-11-24 | updatedupdatedTN23AGf | updatedupdatedEdBnPbN | updatedupdatedIQt1KE7 | 25
I can post-process the brain examination using the Diffusion package. | updatedupdatedCWQ0wkC | 2023-11-24 | updatedupdatedFVPXCqV | 2023-11-24 | updatedupdatedvrzHVmf | updatedupdateddkAlPm7 | updatedupdatedUNBDoHn | 25
Knee
See Knee Routine Workflow Guide | updatedupdated7mHFgMd | 2023-11-24 | updatedupdatedoJ8aRdJ | 2023-11-24 | updatedupdatedy25fdY0 | updatedupdatedDV8u6WU | updatedupdatedKU9vnt5 | 25
I can position the patient for a knee examination. | updatedupdatedm9Wvw2M | 2023-11-24 | updatedupdated7pxQjkb | 2023-11-24 | updatedupdatedncRy4jC | updatedupdatedF6GMKkz | updatedupdatedEAekriG | 25
I can position the knee coil and accessories to reduce motion and improve patient comfort. | updatedupdatedNzHKsWa | 2023-11-24 | updatedupdatedMwbcgeD | 2023-11-24 | updatedupdatedSONzBkG | updatedupdatedTSe0O5v | updatedupdatedg6c38cs | 25
I can add the knee Exam Card to the Scan List. | updatedupdatedHNmOsNf | 2023-11-24 | updatedupdatedPwU3VAC | 2023-11-24 | updatedupdatedD3VU1bO | updatedupdated18mUspC | updatedupdatedWkSXAcM | 25
I can plan the knee examination. | updatedupdatedZMTBX3l | 2023-11-24 | updatedupdatedFXEHpEP | 2023-11-24 | updatedupdatedD8x4s7I | updatedupdatedBPZzCJX | updatedupdated9ogEbKE | 25
I can post-process the examination images. | updatedupdateds9Z9Mmk | 2023-11-24 | updatedupdatedncFtkln | 2023-11-24 | updatedupdatedog9RGAX | updatedupdatedGnQbNCV | updatedupdatedkCMyAK1 | 25
Liver
I can position the patient for an abdomen examination. | updatedupdatedt1eA9DH | 2023-11-24 | updatedupdatedpzNpdnE | 2023-11-24 | updatedupdatedSScKQyA | updatedupdatedhaesOTD | updatedupdated0LAWqVY | 25
I can position the abdomen coil and accessories to reduce motion and improve patient comfort. | updatedupdatedxZc0qM1 | 2023-11-24 | updatedupdatedEVUepGZ | 2023-11-24 | updatedupdatedngVgKu4 | updatedupdatedpaCT7kf | updatedupdatedsHoahah | 25
I can position the respiratory sensor. | updatedupdatedO0IyuHw | 2023-11-24 | updatedupdatedTd9hTVp | 2023-11-24 | updatedupdatedMVzUIVw | updatedupdatedQpydMPn | updatedupdatedWHufH6O | 25
I can add the abdomen ExamCard to the ScanList. | updatedupdated1Gtu8V3 | 2023-11-24 | updatedupdatedAv9jJ3Y | 2023-11-24 | updatedupdatedzF5sl4z | updatedupdatedhngXNRB | updatedupdatedv2D8Min | 25
I can plan the abdomen examination. | updatedupdatedkL8t02N | 2023-11-24 | updatedupdatedvlBp00H | 2023-11-24 | updatedupdated83bijMJ | updatedupdatedglc9pd4 | updatedupdatedKD5el9T | 25
I can use breathhold and free breathing techniques to perform the examination. | updatedupdatedLIJ5jbA | 2023-11-24 | updatedupdated2gEIpjK | 2023-11-24 | updatedupdated6Jf9lm5 | updatedupdatedj1SD3Da | updatedupdated6RGFHmp | 25
I can use AutoVoice (if purchased) to communicate breathhold instructions to the patient. | updatedupdatedj1d8E41 | 2023-11-24 | updatedupdatedGYUxdq6 | 2023-11-24 | updatedupdatedOmcwF3b | updatedupdatedTxlpo4p | updatedupdateduvosj3o | 25
I can post-process the abdomen images. | updatedupdatedr0F299H | 2023-11-24 | updatedupdatedoacQLwW | 2023-11-24 | updatedupdatedKFnwXNC | updatedupdatedwmZ4Fq1 | updatedupdated19s1Chl | 25
Spine
Refer to the Spine Workflow guide | updatedupdatedSdrmCzv | 2023-11-24 | updatedupdatedOSpTg6e | 2023-11-24 | updatedupdatedLyUY1CN | updatedupdatedwmizWMi | updatedupdatedsusLlGb | 25
I can position the patient for a spine examination. | updatedupdated61zMyim | 2023-11-24 | updatedupdated7NaQQgM | 2023-11-24 | updatedupdatedbjq8tUa | updatedupdatedE0iV0xA | updatedupdatedYLvaxZT | 25
I can position the spine coil and accessories to reduce motion and improve patient comfort. | updatedupdatedPpVGubx | 2023-11-24 | updatedupdatedSOief4Q | 2023-11-24 | updatedupdatednYhixes | updatedupdatedB6gS40u | updatedupdatedbvFFWWa | 25
I can add the spine ExamCard to the ScanList. | updatedupdatedyCRrvzC | 2023-11-24 | updatedupdated3oSlDwU | 2023-11-24 | updatedupdatedovYdBfQ | updatedupdatedRCptDvc | updatedupdatedqaqZ204 | 25
I can plan the spine examination. | updatedupdatedhTQtkzV | 2023-11-24 | updatedupdatedk66AzRP | 2023-11-24 | updatedupdatednz78bBt | updatedupdatedNToeq7V | updatedupdatedRSdqP6e | 25
I can post-process the spine images:
Use MobiView to fuse images | updatedupdatedXdke8kN | 2023-11-24 | updatedupdatedhWSNrnB | 2023-11-24 | updatedupdatedUSco0sa | updatedupdatedCoFHdtK | updatedupdatedsbtcNhX | 25
Use PicturePlus to enhance images | updatedupdatedh84lApW | 2023-11-24 | updatedupdatedvOUnJi6 | 2023-11-24 | updatedupdated4kLLbKo | updatedupdatedQxcc2qR | updatedupdatedEJ9Bl39 | 25
Use VolumeView for MPR and MIP reconstruction | updatedupdatedbVflcvt | 2023-11-24 | updatedupdatedIdXNz7i | 2023-11-24 | updatedupdatedQ7rJWuS | updatedupdatedvK1QZvM | updatedupdatedBOssJ7m | 25
Ankle
I can position the patient for an ankle examination. | updatedupdatedSvg24wK | 2023-11-24 | updatedupdatedyIRMmo3 | 2023-11-24 | updatedupdatedlMbbn8E | updatedupdatedERpKT9Y | updatedupdatedkHnf8q8 | 25
I can position the ankle coil and accessories to reduce motion and improve patient comfort. | updatedupdatedeMAmttv | 2023-11-24 | updatedupdatedpboWbgh | 2023-11-24 | updatedupdatedUgWPJ9Q | updatedupdatedQp6YNbM | updatedupdated7S77sU9 | 25
I can add the ankle ExamCard to the ScanList. | updatedupdatedI66AuE8 | 2023-11-24 | updatedupdatedkqTMQkE | 2023-11-24 | updatedupdatedF0Dgndd | updatedupdated49BLjWZ | updatedupdatedjogiAzC | 25
I can plan the ankle examination. | updatedupdatedbbEVdak | 2023-11-24 | updatedupdatednPktaAC | 2023-11-24 | updatedupdatedXJjJ6a3 | updatedupdatedvixaadR | updatedupdatedGvUmAk7 | 25
Position Shim volume | updatedupdatedzvxHjuE | 2023-11-24 | updatedupdatedUwbQiQZ | 2023-11-24 | updatedupdatedzKpB9Io | updatedupdatedIev4v6S | updatedupdatedSAbLUQY | 25
I can post-process the spine images | updatedupdatedOcfFzKZ | 2023-11-24 | updatedupdatedRThmpFx | 2023-11-24 | updatedupdatedDsSj81e | updatedupdatedilHILtg | updatedupdatedciBoNal | 25