## Sheet0
Essential Information
Able to turn scanner on from complete shutdown | 2023-11-21 | 2023-11-21
Able to turn scanner on form stand-by-mode | 2023-11-21 | 2023-11-21
Able to turn scanner off by complete shutdown | 2023-11-21 | 2023-11-21
Able to turn scanner off into stand-by mode | 2023-11-21 | 2023-11-21
Able to turn on/off remote consoles | 2023-11-21 | 2023-11-21
Understand local data storage issues | 2023-11-21 | 2023-11-21
Know location of protocols on Quality system | 2023-11-21 | 2023-11-21
Able to use patient table | 2023-11-21 | 2023-11-21
Scanner Room
I can use the controls of the User Interface Module (UIM) and tabletop to:
I can manually move the tabletop out of the bore using the tabletop release button. | 2023-11-21 | 2023-11-21
I can safely use the laser light to center to the anatomy of interest for the examination. | 2023-11-21 | 2023-11-21
I can move the table to isocenter. | 2023-11-21 | 2023-11-21
I can use the markers on the tabletop to note the extent of table movement. | 2023-11-21 | 2023-11-21
I can state the weight limit for the tabletop. (250kg) | 2023-11-21 | 2023-11-21
I can locate the head set and nurse call connection sockets | 2023-11-21 | 2023-11-21
VCG
I can identify VCG components. | 2023-11-21 | 2023-11-21
I can position the ECG electrodes on the patient. | 2023-11-21 | 2023-11-21
I can position the wireless module on the patient. | 2023-11-21 | 2023-11-21
I recognize that the VCG is not used for patient monitoring. | 2023-11-21 | 2023-11-21
I can change and charge the battery on VCG module. | 2023-11-21 | 2023-11-21
I can change the wireless network channel used by the VCG. | 2023-11-21 | 2023-11-21
Respiratory sensor
I can identify the components of the respiratory sensor. | 2023-11-21 | 2023-11-21
I can position the respiratory sensor on the patient. | 2023-11-21 | 2023-11-21
I can change and charge the battery on respiratory sensor module. | 2023-11-21 | 2023-11-21
I can change the wireless network channel used by the respiratory sensor. | 2023-11-21 | 2023-11-21
Technical Room
I recognize that the MR system computer in the technical room controls the gradient amplifiers, magnet cooling system, RF transmitter, and receiver. | 2023-11-21 | 2023-11-21
I know how to contact a remote service engineer who can supervise a full system shutdown when it is required and advised by the remote service engineer. | 2023-11-21 | 2023-11-21
Operator Room
Helium Level and PIQT
I can locate the helium level display. | 2023-11-21 | 2023-11-21
I can respond to low helium levels message and notify. | 2023-11-21 | 2023-11-21
I can follow Periodic Image Quality Testing (PIQT) procedures to perform quality assurance testing. | 2023-11-21 | 2023-11-21
Communication with Patient
I can use the intercom system to:
I can use the intercom system to communicate with the patient. | 2023-11-21 | 2023-11-21
Stop and resume table movement in an emergency | 2023-11-21 | 2023-11-21
Adjust the music volume | 2023-11-21 | 2023-11-21
Adjust the talk and listen volume | 2023-11-21 | 2023-11-21
Turn the music on and off | 2023-11-21 | 2023-11-21
View the nurse call light ring | 2023-11-21 | 2023-11-21
I can visually monitor the patient during an examination | 2023-11-21 | 2023-11-21
I can pause and resume a scan so that I can enter the scan room during the examination. | 2023-11-21 | 2023-11-21
Online Help and instructions for use
I can display and navigate the online help. | 2023-11-21 | 2023-11-21
I can access parameter help via the F1 key. | 2023-11-21 | 2023-11-21
I can find and navigate the Instructions for Use. | 2023-11-21 | 2023-11-21
I can find additional information on the info page. | 2023-11-21 | 2023-11-21
I can display information about the coils for my system | 2023-11-21 | 2023-11-21
Operator Console
Navigating the interface and using the mouse functions
I can navigate the user interface to:
Enter a new patient | 2023-11-21 | 2023-11-21
View the Exam Card databases | 2023-11-21 | 2023-11-21
View the Scan List | 2023-11-21 | 2023-11-21
Review examination images | 2023-11-21 | 2023-11-21
Switch between list view and thumbnail view | 2023-11-21 | 2023-11-21
I can use the mouse to:
View the shortcut menu (right-click) | 2023-11-21 | 2023-11-21
Window the display (middle button) | 2023-11-21 | 2023-11-21
Zoom the display (middle and right button) | 2023-11-21 | 2023-11-21
Pan the display (left and middle button) | 2023-11-21 | 2023-11-21
Adjusting patient ventilation control
I can view the patient ventilation control. | 2023-11-21 | 2023-11-21
I can adjust the patient ventilation as needed for patient comfort:
Using controls on the system and console. From the UIM. | 2023-11-21 | 2023-11-21
I recognize the recommended patient ventilation level is Level 5. | 2023-11-21 | 2023-11-21
Patient
I can enter a new patient for scanning:
I can enter a new patient for scanning. | 2023-11-21 | 2023-11-21
I can select from the RIS, a patient for scanning. (If applicable) | 2023-11-21 | 2023-11-21
I recognize that the system will scan in Normal SAR mode by default when the Pregnant Yes check box is selected. | 2023-11-21 | 2023-11-21
I can use Scan Wise Implant to safely enter a new patient who has an MR Safe or MR Conditional implant. | 2023-11-21 | 2023-11-21
I can navigate the patient tab to:
View the current patient | 2023-11-21 | 2023-11-21
Review the previous patient | 2023-11-21 | 2023-11-21
Preset protocol database
I recognize the types of Exam Cards and sequences contained in each Exam Card database
Philips preset procedures and Example Cards | 2023-11-21 | 2023-11-21
Hospital | 2023-11-21 | 2023-11-21
Other | 2023-11-21 | 2023-11-21
I can display and navigate the Exam Card database to find an Exam Card or sequence:
I can view sequences in an Exam Card. | 2023-11-21 | 2023-11-21
I can add the following to the Scan List:
Exam Card | 2023-11-21 | 2023-11-21
Example Card (Philips predefined Exam Card) | 2023-11-21 | 2023-11-21
Scan Protocols
Preset protocol database | 2023-11-21 | 2023-11-21
I can save an Exam Card to the:
Hospital database | 2023-11-21 | 2023-11-21
To another database | 2023-11-21 | 2023-11-21
I can use a password to restrict access to the Hospital Exam Card database. | 2023-11-21 | 2023-11-21
I can unlock the Hospital database to save an Exam Card (if needed). | 2023-11-21 | 2023-11-21
I can create a new subfolder in the Hospital and Other databases. | 2023-11-21 | 2023-11-21
Scan List
I can view the Exam Card properties. | 2023-11-21 | 2023-11-21
I can modify the Scan List to:
Change the order of sequences | 2023-11-21 | 2023-11-21
Repeat a sequence | 2023-11-21 | 2023-11-21
Copy a sequence | 2023-11-21 | 2023-11-21
Delete a sequence | 2023-11-21 | 2023-11-21
I can hover the icons and labels on the Exam Card to identify their meaning. | 2023-11-21 | 2023-11-21
I can view the status icons of a sequence to determine if the sequence:
Needs planning | 2023-11-21 | 2023-11-21
Is ready to run | 2023-11-21 | 2023-11-21
Is paused | 2023-11-21 | 2023-11-21
Is scanning | 2023-11-21 | 2023-11-21
Is completed | 2023-11-21 | 2023-11-21
I can identify high SAR sequences. | 2023-11-21 | 2023-11-21
I can override normal SAR mode when my patient might be pregnant. | 2023-11-21 | 2023-11-21
I can view the SED indicator display to know when the SED level is low, medium, and high. | 2023-11-21 | 2023-11-21
Scan List I can:
Save an Exam Card | 2023-11-21 | 2023-11-21
Rename the Exam Card | 2023-11-21 | 2023-11-21
Copy the Exam Card | 2023-11-21 | 2023-11-21
Delete an Exam Card | 2023-11-21 | 2023-11-21
Planning
Plan a sequence
I recognize that SmartSelect automatically selects the coils used in the examination. | 2023-11-21 | 2023-11-21
I recognize that scans with the same geometry name (GeoName) within an ExamCard have the same:
Number of stacks | 2023-11-21 | 2023-11-21
Off-center values for each stack | 2023-11-21 | 2023-11-21
Angulations for each stack | 2023-11-21 | 2023-11-21
Orientation | 2023-11-21 | 2023-11-21
I can use propagate coverage to plan scans with the same GeoName. | 2023-11-21 | 2023-11-21
I can use Propagate Coverage to share FOV, foldover direction, and coverage | 2023-11-21 | 2023-11-21
I recognize that I should not use Propagate Coverage in a DWI series. | 2023-11-21 | 2023-11-21
I can assign the correct GeoName to a scan. | 2023-11-21 | 2023-11-21
I can add, delete, and modify the GeoName of a sequence. | 2023-11-21 | 2023-11-21
I can display and hide the Planscan overlay (volume or the stack(s) of slices, REST slab, shim box, navigator). | 2023-11-21 | 2023-11-21
I can use the Planscan toolbar and shortcut menu to plan the examination. | 2023-11-21 | 2023-11-21
I can adjust the:
Slice gap. | 2023-11-21 | 2023-11-21
Number of slices  | 2023-11-21 | 2023-11-21
Field of view (FOV) | 2023-11-21 | 2023-11-21
I can use flexible oversampling to ensure the entire anatomy is covered. | 2023-11-21 | 2023-11-21
I can display and hide:
Box | 2023-11-21 | 2023-11-21
3D view | 2023-11-21 | 2023-11-21
All midplanes | 2023-11-21 | 2023-11-21
Stack | 2023-11-21 | 2023-11-21
Volume | 2023-11-21 | 2023-11-21
Slab | 2023-11-21 | 2023-11-21
I can view the Dashboard to see the effects of the planned protocol on:
Scan time | 2023-11-21 | 2023-11-21
SAR | 2023-11-21 | 2023-11-21
SED | 2023-11-21 | 2023-11-21
Rel SNR | 2023-11-21 | 2023-11-21
PNS | 2023-11-21 | 2023-11-21
Technical Room | 2023-11-21 | 2023-11-21
TR | 2023-11-21 | 2023-11-21
I can view the SAR level for the scan. | 2023-11-21 | 2023-11-21
I can view the SED level for the examination. | 2023-11-21 | 2023-11-21
I can use the buttons in the Dashboard to undo, redo, accept, reset, and cancel changes. | 2023-11-21 | 2023-11-21
I can view and change planning settings on the Summary tab:
FOV | 2023-11-21 | 2023-11-21
Voxel | 2023-11-21 | 2023-11-21
Matrix | 2023-11-21 | 2023-11-21
Slice thickness and gap | 2023-11-21 | 2023-11-21
NSA | 2023-11-21 | 2023-11-21
Fat Suppression (SPIR) | 2023-11-21 | 2023-11-21
I can view advanced parameter setting tabs. | 2023-11-21 | 2023-11-21
I can reset the sequence settings to their original state using the undo button. | 2023-11-21 | 2023-11-21
I can identify ExamCard items that use Propagate Coverage. | 2023-11-21 | 2023-11-21
I can view conflicts and access assistance on the Conflicts tab. | 2023-11-21 | 2023-11-21
I can enable AutoView for a sequence to view images during reconstruction. | 2023-11-21 | 2023-11-21
I can identify sequences that have SmartLine (inline) postprocessing enabled. | 2023-11-21 | 2023-11-21
I can view and modify the Info page to add site-specific notes regarding the ExamCard and scan. | 2023-11-21 | 2023-11-21
Scan
I can manually start, pause, and restart a scan. | 2023-11-21 | 2023-11-21
I recognize that pause scan and stop scan have different outcomes. | 2023-11-21 | 2023-11-21
I can view in the Patient Status area:
Patient name | 2023-11-21 | 2023-11-21
Physiology signal (if connected) | 2023-11-21 | 2023-11-21
Scan progress bar | 2023-11-21 | 2023-11-21
Exam card progress bar | 2023-11-21 | 2023-11-21
Message line | 2023-11-21 | 2023-11-21
SED | 2023-11-21 | 2023-11-21
I can rescan failed scans. | 2023-11-21 | 2023-11-21
Viewing Images
ImageView
I can use ImageView to view images. | 2023-11-21 | 2023-11-21
I can switch between the thumbnail and ScanList views. | 2023-11-21 | 2023-11-21
I can use the ImageView toolbar and the shortcut (right-click) menu to modify view settings.
Add and remove rows and columns | 2023-11-21 | 2023-11-21
Use standard layouts | 2023-11-21 | 2023-11-21
Play and pause a movie | 2023-11-21 | 2023-11-21
Create text box | 2023-11-21 | 2023-11-21
Measure the image | 2023-11-21 | 2023-11-21
Select viewing display modes | 2023-11-21 | 2023-11-21
Change settings | 2023-11-21 | 2023-11-21
Review
I can display Review environment. | 2023-11-21 | 2023-11-21
I can switch between List view and Thumbnail view. | 2023-11-21 | 2023-11-21
I can use the various methods to navigate the image viewports and change the way the viewports display images using options in the:
Menu bar | 2023-11-21 | 2023-11-21
Panel controls | 2023-11-21 | 2023-11-21
Short cut (right-click) menus | 2023-11-21 | 2023-11-21
Keyboard keys | 2023-11-21 | 2023-11-21
I can use the mouse to:
Scroll | 2023-11-21 | 2023-11-21
Zoom the display (middle and right button) | 2023-11-21 | 2023-11-21
Panel controls | 2023-11-21 | 2023-11-21
Change the window width and level | 2023-11-21 | 2023-11-21
Reset the window, zoom and pan | 2023-11-21 | 2023-11-21
I can use the Review toolbar and shortcut (right-click) menu to modify review settings.
Change the display to tiled or tabbed layout. | 2023-11-21 | 2023-11-21
Link and unlink selected imaging series. | 2023-11-21 | 2023-11-21
Capture a screen image and save it as a DICOM file. | 2023-11-21 | 2023-11-21
Enable cross reference as:
Stack display | 2023-11-21 | 2023-11-21
Box view | 2023-11-21 | 2023-11-21
Slice mode | 2023-11-21 | 2023-11-21
3D mode | 2023-11-21 | 2023-11-21
I can use the Package Manager to switch between examinations/views and to stop the execution of packages. | 2023-11-21 | 2023-11-21
I can display image information. | 2023-11-21 | 2023-11-21
I can expand Series information. | 2023-11-21 | 2023-11-21
I can display and hide Review Planscan to show planning. | 2023-11-21 | 2023-11-21
I can annotate an image to show ROI, add labels, and lines. | 2023-11-21 | 2023-11-21
I can use tools to measure in the image. | 2023-11-21 | 2023-11-21
I can use print screen to capture an image. | 2023-11-21 | 2023-11-21
I can use the Movie Toolbox to play, pause, and restart a movie. | 2023-11-21 | 2023-11-21
I can save the reformatted images to the database. | 2023-11-21 | 2023-11-21
Postprocessing
VolumeView
I can use VolumeView to select render modes (algorithms) to calculate projections and reformats of the source images. | 2023-11-21 | 2023-11-21
I can choose the appropriate VolumeView render mode:
Maximum Intensity Projections (MIP) | 2023-11-21 | 2023-11-21
Minimum Intensity Projections (MinIP) | 2023-11-21 | 2023-11-21
Multiplanar Reformatting (MPR) rendering for 3D scans | 2023-11-21 | 2023-11-21
Surface Rendering (shaded and unshaded surface) | 2023-11-21 | 2023-11-21
I can use the tools in VolumeView to:
Navigate the view | 2023-11-21 | 2023-11-21
Navigate the reference images | 2023-11-21 | 2023-11-21
Change the reference views and lines. | 2023-11-21 | 2023-11-21
Change the layout of a view | 2023-11-21 | 2023-11-21
Draw contours. | 2023-11-21 | 2023-11-21
Reset all settings | 2023-11-21 | 2023-11-21
I can use presets:
Orientation | 2023-11-21 | 2023-11-21
Zoom the display (middle and right button) | 2023-11-21 | 2023-11-21
Slab thickness | 2023-11-21 | 2023-11-21
PicturePlus
I can use PicturePlus to apply a filter to images to customize the appearance of the image for the radiologists preferences. | 2023-11-21 | 2023-11-21
I can apply a Picture Plus preset to the image. | 2023-11-21 | 2023-11-21
I can use the mouse to adjust smoothing and edge enhancement. | 2023-11-21 | 2023-11-21
I can create a custom preset to define smoothing and edge enhancement values. | 2023-11-21 | 2023-11-21
I can generate the modified series to save the new imaging series to the examination. | 2023-11-21 | 2023-11-21
I recognize a series with prefix “e” in the series name has been enhanced by PicturePlus. | 2023-11-21 | 2023-11-21
MobiView
I can use the MobiView postprocessing package to fuse multi-station datasets. | 2023-11-21 | 2023-11-21
I recognize that images must be acquired as different stacks in Head-Feet direction in order to use the MobiView postprocessing package. | 2023-11-21 | 2023-11-21
I recognize that it is a best practice to keep the source images as well as the fused image. | 2023-11-21 | 2023-11-21
I can check for artifacts before fusing images so that they are not mistakenly interpreted as pathologies. | 2023-11-21 | 2023-11-21
Prior to fusing, I can select the best window option for the image series:
None | 2023-11-21 | 2023-11-21
Automatic | 2023-11-21 | 2023-11-21
MIP | 2023-11-21 | 2023-11-21
I can select the appropriate fuse mode for the examination:
Fuse Hardcut | 2023-11-21 | 2023-11-21
Fuse Smooth | 2023-11-21 | 2023-11-21
Merge series | 2023-11-21 | 2023-11-21
I can save the fused images to the patient database. | 2023-11-21 | 2023-11-21
I can fuse a multi-station imaging series that includes multiple image types. | 2023-11-21 | 2023-11-21
Administration
Saving examination data
I can save the examination to: | 2023-11-21 | 2023-11-21
Local patient database | 2023-11-21 | 2023-11-21
Queue DVD | 2023-11-21 | 2023-11-21
DICOM network node | 2023-11-21 | 2023-11-21
PACS | 2023-11-21 | 2023-11-21
External hard drive | 2023-11-21 | 2023-11-21
I can archive and delete examinations from the patient database. | 2023-11-21 | 2023-11-21
I can enable Autopush to DICOM node. | 2023-11-21 | 2023-11-21
I can print:
The entire examination | 2023-11-21 | 2023-11-21
Selected images | 2023-11-21 | 2023-11-21
Selected series | 2023-11-21 | 2023-11-21
I can use Split Exam to save the examination images as multiple scan instances. | 2023-11-21 | 2023-11-21
Storing and retrieving data from a USB drive | 2023-11-21 | 2023-11-21
I can enable access to a removable USB drive. | 2023-11-21 | 2023-11-21
I can import and export an ExamCard stored to a USB drive. | 2023-11-21 | 2023-11-21
I can back-up the ExamCard database to a USB drive. | 2023-11-21 | 2023-11-21
Data management
I can send and retrieve examination data from the data archive system (for example PACS). | 2023-11-21 | 2023-11-21
I can send data to the data archive system and remove it from the database on the MR system to maintain good system performance. | 2023-11-21 | 2023-11-21
I can save an examination to external media. | 2023-11-21 | 2023-11-21
Examinations
Routine Brain
I can position the patient for a brain examination. | 2023-11-21 | 2023-11-21
I recognize that some passive headsets may cause image artifacts. | 2023-11-21 | 2023-11-21
I can position the Head coil and accessories. | 2023-11-21 | 2023-11-21
I can add a routine brain Exam Card to the Scan List. | 2023-11-21 | 2023-11-21
I can plan the brain examination. | 2023-11-21 | 2023-11-21
I recognize that, when using SENSE, I must pay attention to the foldover direction and oversampling area to avoid foldover of anatomy outside the oversampling area. | 2023-11-21 | 2023-11-21
I can post-process the brain examination using the Diffusion package. | 2023-11-21 | 2023-11-21
Knee
See Knee Routine Workflow Guide | 2023-11-21 | 2023-11-21
I can position the patient for a knee examination. | 2023-11-21 | 2023-11-21
I can position the knee coil and accessories to reduce motion and improve patient comfort. | 2023-11-21 | 2023-11-21
I can add the knee Exam Card to the Scan List. | 2023-11-21 | 2023-11-21
I can plan the knee examination. | 2023-11-21 | 2023-11-21
I can post-process the examination images. | 2023-11-21 | 2023-11-21
Liver
I can position the patient for an abdomen examination. | 2023-11-21 | 2023-11-21
I can position the abdomen coil and accessories to reduce motion and improve patient comfort. | 2023-11-21 | 2023-11-21
I can position the respiratory sensor. | 2023-11-21 | 2023-11-21
I can add the abdomen ExamCard to the ScanList. | 2023-11-21 | 2023-11-21
I can plan the abdomen examination. | 2023-11-21 | 2023-11-21
I can use breathhold and free breathing techniques to perform the examination. | 2023-11-21 | 2023-11-21
I can use AutoVoice (if purchased) to communicate breathhold instructions to the patient. | 2023-11-21 | 2023-11-21
I can post-process the abdomen images. | 2023-11-21 | 2023-11-21
Spine
Refer to the Spine Workflow guide | 2023-11-21 | 2023-11-21
I can position the patient for a spine examination. | 2023-11-21 | 2023-11-21
I can position the spine coil and accessories to reduce motion and improve patient comfort. | 2023-11-21 | 2023-11-21
I can add the spine ExamCard to the ScanList. | 2023-11-21 | 2023-11-21
I can plan the spine examination. | 2023-11-21 | 2023-11-21
I can post-process the spine images:
Use MobiView to fuse images | 2023-11-21 | 2023-11-21
Use PicturePlus to enhance images | 2023-11-21 | 2023-11-21
Use VolumeView for MPR and MIP reconstruction | 2023-11-21 | 2023-11-21
Ankle
I can position the patient for an ankle examination. | 2023-11-21 | 2023-11-21
I can position the ankle coil and accessories to reduce motion and improve patient comfort. | 2023-11-21 | 2023-11-21
I can add the ankle ExamCard to the ScanList. | 2023-11-21 | 2023-11-21
I can plan the ankle examination. | 2023-11-21 | 2023-11-21
Position Shim volume | 2023-11-21 | 2023-11-21
I can post-process the spine images | 2023-11-21 | 2023-11-21